## Sheet1
Report date: | 14:40:47, 04/09/2024
Sample: | 1
File name:
Run date: | 14:37:49, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/275.0 | 87.27
2 | 205.0/465.0 | 124.3
3 | 205.0/485.0 | 115.4
4 | 210.0/270.0 | 65.93
5 | 210.0/480.0 | 116.7
6 | 215.0/255.0 | 87.43
7 | 215.0/265.0 | 83.42
8 | 215.0/290.0 | 108.4
9 | 215.0/300.0 | 116.7
10 | 215.0/395.0 | 122.3
11 | 220.0/475.0 | 150.3
12 | 220.0/490.0 | 105.1
13 | 225.0/260.0 | 68.89
14 | 225.0/375.0 | 209.3
15 | 225.0/405.0 | 126.4
16 | 230.0/325.0 | 509
17 | 230.0/340.0 | 528.9
18 | 230.0/380.0 | 223.7
19 | 230.0/410.0 | 110.5
20 | 235.0/255.0 | 112.2
21 | 235.0/275.0 | 71.09
22 | 235.0/420.0 | 117.3
23 | 235.0/435.0 | 123.6
24 | 240.0/265.0 | 86.03
25 | 240.0/425.0 | 119.8
26 | 240.0/440.0 | 98.98
27 | 245.0/400.0 | 107.2
28 | 245.0/410.0 | 111.9
29 | 250.0/385.0 | 160.1
30 | 250.0/420.0 | 102
31 | 250.0/445.0 | 104.1
32 | 255.0/280.0 | 131
33 | 255.0/415.0 | 106.6
34 | 255.0/460.0 | 107.9
35 | 260.0/285.0 | 141.4
36 | 260.0/440.0 | 98.82
37 | 260.0/490.0 | 74.63
38 | 270.0/450.0 | 114
39 | 270.0/470.0 | 103
40 | 270.0/480.0 | 115.7
41 | 275.0/460.0 | 109.1
42 | 280.0/330.0 | 3300
43 | 280.0/430.0 | 172.8
44 | 280.0/455.0 | 117.2
45 | 280.0/490.0 | 91.82
46 | 285.0/340.0 | 3396
47 | 285.0/465.0 | 133.6
48 | 285.0/485.0 | 93.31
49 | 285.0/495.0 | 87.63
50 | 295.0/430.0 | 153
51 | 295.0/480.0 | 75.65
52 | 300.0/255.0 | 34.29
53 | 300.0/475.0 | 60.49
54 | 305.0/260.0 | 29.55
55 | 305.0/270.0 | 38.52
56 | 305.0/470.0 | 64.12
57 | 310.0/430.0 | 76.79
58 | 310.0/465.0 | 62.54
59 | 315.0/355.0 | 210.8
60 | 315.0/380.0 | 74.89
61 | 315.0/400.0 | 72.37
62 | 315.0/450.0 | 64.26
63 | 315.0/480.0 | 49.8
64 | 320.0/360.0 | 264.9
65 | 320.0/395.0 | 71.61
66 | 320.0/405.0 | 70.85
67 | 320.0/415.0 | 75.08
68 | 320.0/445.0 | 58.5
69 | 320.0/490.0 | 50.29
70 | 325.0/365.0 | 236.8
71 | 325.0/435.0 | 77.12
72 | 325.0/470.0 | 50.8
73 | 330.0/285.0 | 26.32
74 | 330.0/370.0 | 217.9
75 | 330.0/415.0 | 69.85
76 | 335.0/270.0 | 18.08
77 | 335.0/380.0 | 195.3
78 | 335.0/460.0 | 63.86
79 | 335.0/475.0 | 50.15
80 | 340.0/255.0 | 17.35
81 | 340.0/280.0 | 18.44
82 | 340.0/385.0 | 188.3
83 | 340.0/450.0 | 62.59
84 | 345.0/265.0 | 18.57
85 | 345.0/390.0 | 186.7
86 | 345.0/420.0 | 69.02
87 | 345.0/430.0 | 72.42
88 | 345.0/455.0 | 62.45
89 | 350.0/275.0 | 15.89
90 | 350.0/290.0 | 18.51
91 | 350.0/395.0 | 167.4
92 | 350.0/445.0 | 67.51
93 | 355.0/285.0 | 17.45
94 | 355.0/295.0 | 18.69
95 | 355.0/310.0 | 21.37
96 | 355.0/405.0 | 162.6
97 | 355.0/440.0 | 64.37
98 | 355.0/475.0 | 48.37
99 | 360.0/270.0 | 15.4
100 | 360.0/280.0 | 12.97
101 | 360.0/290.0 | 16.7
102 | 360.0/410.0 | 156.2
103 | 360.0/435.0 | 58.21
104 | 360.0/465.0 | 53.83
105 | 360.0/485.0 | 42.24
106 | 365.0/255.0 | 20.4
107 | 365.0/275.0 | 14.5
108 | 365.0/300.0 | 16.87
109 | 365.0/315.0 | 19.44
110 | 365.0/415.0 | 143
111 | 365.0/495.0 | 34.4
112 | 370.0/265.0 | 16.18
113 | 370.0/290.0 | 14.8
114 | 370.0/425.0 | 130.8
115 | 375.0/255.0 | 21.02
116 | 375.0/285.0 | 13.99
117 | 375.0/300.0 | 13.86
118 | 375.0/430.0 | 109.9
119 | 375.0/450.0 | 44.99
120 | 380.0/265.0 | 16.53
121 | 380.0/435.0 | 89.2
122 | 385.0/270.0 | 16.65
123 | 385.0/285.0 | 13.42
124 | 385.0/445.0 | 82.43
125 | 390.0/280.0 | 16.76
126 | 390.0/295.0 | 12.06
127 | 390.0/310.0 | 11.78
128 | 390.0/325.0 | 14.07
129 | 390.0/450.0 | 77.75
130 | 390.0/495.0 | 22.92
131 | 395.0/340.0 | 15.39
132 | 395.0/455.0 | 60.53
133 | 400.0/255.0 | 16.21
134 | 400.0/280.0 | 14.73
135 | 400.0/465.0 | 53.26
136 | 405.0/270.0 | 13.04
137 | 405.0/315.0 | 11.16
138 | 405.0/325.0 | 11.08
139 | 405.0/340.0 | 11.3
140 | 405.0/470.0 | 49.98
141 | 410.0/290.0 | 12.11
142 | 410.0/480.0 | 41.22
143 | 415.0/295.0 | 11.19
144 | 415.0/460.0 | 20.66
145 | 415.0/485.0 | 33.51
146 | 420.0/300.0 | 12.42
147 | 420.0/310.0 | 11.88
148 | 420.0/490.0 | 32.37
149 | 425.0/280.0 | 10.39
150 | 425.0/315.0 | 11.34
151 | 425.0/345.0 | 10.24
152 | 425.0/465.0 | 18.29
153 | 430.0/275.0 | 10.37
154 | 430.0/470.0 | 18.7
155 | 430.0/485.0 | 16.31
156 | 435.0/325.0 | 11.03
157 | 435.0/390.0 | 13.02
158 | 440.0/270.0 | 9.605
159 | 440.0/295.0 | 10.22
160 | 440.0/340.0 | 9.513
161 | 440.0/360.0 | 9.63
162 | 440.0/375.0 | 9.07
163 | 440.0/490.0 | 14.83
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 63.58 | 50.71 | 30.36 | 53.04 | 67.77 | 59.19 | 80.08 | 73.01 | 57.24 | 3569 | 9990 | 2520 | 49.69 | 43.42 | 51.28 | 26.1 | 42.95 | 31.12 | 27.76 | 35.06 | 25.95 | 18.09 | 28.84 | 16.65 | 15.96 | 20.87 | 18.89 | 14.29 | 11.75 | 10.4 | 10.91 | 14.06 | 18.92 | 17.19 | 21.15 | 15.79 | 10.56 | 11.42 | 12.58 | 12.27 | 10.67 | 9.996 | 7.858 | 8.61 | 7.346 | 7.446 | 5.986 | 7.651 | 4.61 | 4.486 | 4.811
255 | 35.35 | 37.85 | 51.64 | 87.43 | 57.94 | 52.04 | 75.22 | 112.2 | 68.72 | 290.3 | 3039 | 9999.9 | 5194 | 202.5 | 51.75 | 39.04 | 40.51 | 31.76 | 26.99 | 33.06 | 34.29 | 27.53 | 19.22 | 19.37 | 17.38 | 16.06 | 17.54 | 12.4 | 17.35 | 9.239 | 13.89 | 11.31 | 14.61 | 20.4 | 17.97 | 21.02 | 11.83 | 14.79 | 10.25 | 12.64 | 16.21 | 12.43 | 9.006 | 8.327 | 8.5 | 7.32 | 6.186 | 7.237 | 5.548 | 4.86 | 3.602
260 | 39.49 | 34.32 | 54.88 | 51.37 | 65.91 | 68.89 | 44.73 | 70.18 | 82.7 | 71.42 | 254.8 | 3657 | 9999.9 | 7298 | 285.3 | 32.89 | 34.59 | 29.98 | 30.43 | 30.25 | 23.8 | 29.55 | 25.43 | 25.64 | 12.13 | 14.72 | 18.23 | 12.91 | 15.15 | 17.04 | 12.01 | 14.03 | 13.15 | 12.54 | 13.22 | 20.09 | 15.86 | 14.38 | 12.78 | 11.46 | 11.41 | 11.5 | 9.511 | 7.332 | 8.297 | 8.395 | 8.745 | 6.386 | 7.103 | 7.025 | 4.472
265 | 50.27 | 75.57 | 58.57 | 83.42 | 37.14 | 48.07 | 35.76 | 66.76 | 86.03 | 65.77 | 65.01 | 298 | 4874 | 9999.9 | 9722 | 308.3 | 38.37 | 41.33 | 39.35 | 40.12 | 28.04 | 21.29 | 24.1 | 26.6 | 13.4 | 17.57 | 16.21 | 17.63 | 17.03 | 18.57 | 10.4 | 11.08 | 11.68 | 11.52 | 16.18 | 13.06 | 16.53 | 15.65 | 9.953 | 8.858 | 9.342 | 12.54 | 10.63 | 10.64 | 10.09 | 9.408 | 9.474 | 6.082 | 7.67 | 6.831 | 4.862
270 | 38.8 | 49.06 | 65.93 | 54.41 | 52.36 | 59.8 | 56.49 | 67.52 | 53.81 | 68.63 | 87.12 | 87.35 | 361.7 | 6148 | 9999.9 | 9999.9 | 383.9 | 56.46 | 52.41 | 33.84 | 33.15 | 38.52 | 29.65 | 30.65 | 25.9 | 24.1 | 8.464 | 18.08 | 14.24 | 12.2 | 14.63 | 14.24 | 15.4 | 11.53 | 13.65 | 12.42 | 13.15 | 16.65 | 13.73 | 9.636 | 8.109 | 13.04 | 11.99 | 10.92 | 10.46 | 9.302 | 7.922 | 7.326 | 9.605 | 6.519 | 5.96
275 | 48.4 | 87.27 | 54.52 | 49.51 | 66.22 | 50.86 | 60.84 | 71.09 | 59.25 | 51.09 | 97.37 | 87.96 | 82.1 | 459.4 | 8940 | 9999.9 | 9999.9 | 419.2 | 49.75 | 64.51 | 33.25 | 36.25 | 32.18 | 19.72 | 25.32 | 15.24 | 18.49 | 17.7 | 12.82 | 11.01 | 15.89 | 12.88 | 9.897 | 14.5 | 12.82 | 8.058 | 11.85 | 14.8 | 13.91 | 12.31 | 11.17 | 11.14 | 7.781 | 9.934 | 8.979 | 10.09 | 10.37 | 7.794 | 6.815 | 6.752 | 6.776
280 | 51.86 | 58.51 | 54.37 | 56.87 | 62.65 | 73.56 | 92.03 | 69.94 | 50.05 | 62.45 | 99.28 | 131 | 95.13 | 91.23 | 625 | 9999.9 | 9999.9 | 9999.9 | 446.5 | 60.69 | 39.06 | 32.86 | 25.34 | 24.74 | 15.1 | 21.38 | 17.41 | 17.48 | 18.44 | 10.86 | 11.87 | 10.46 | 12.97 | 12.32 | 10.83 | 12.04 | 9.574 | 11.72 | 16.76 | 12.38 | 14.73 | 10.84 | 5.998 | 9.004 | 9.474 | 10.39 | 8.642 | 7.458 | 5.943 | 7.758 | 6.672
285 | 37.72 | 31.13 | 67.89 | 98.99 | 71.83 | 58.57 | 84.71 | 67.19 | 79.24 | 75.42 | 53.49 | 79.86 | 141.4 | 102.8 | 135 | 765.1 | 9999.9 | 9999.9 | 9999.9 | 485.1 | 59.76 | 32.68 | 40.06 | 23.15 | 21.91 | 21.2 | 26.32 | 16.33 | 15.39 | 14.11 | 11.12 | 17.45 | 10.92 | 12.2 | 10.8 | 13.99 | 11.38 | 13.42 | 8.69 | 11.02 | 11.51 | 10.95 | 11.77 | 8.002 | 7.937 | 10.19 | 9.152 | 9.091 | 8.341 | 7.607 | 6.099
290 | 50.97 | 45.66 | 57.7 | 108.4 | 48.35 | 123.7 | 131.6 | 89.02 | 89.44 | 61.3 | 73.46 | 71.25 | 109.1 | 245.8 | 265.1 | 297.2 | 950.1 | 9999.9 | 9999.9 | 9999.9 | 441.6 | 47.49 | 47.36 | 36.52 | 25.61 | 28.13 | 16.64 | 19.44 | 18.09 | 14.91 | 18.51 | 12.9 | 16.7 | 11.94 | 14.8 | 10.11 | 7.343 | 10.68 | 11.36 | 10.45 | 10.48 | 12.08 | 12.11 | 10.42 | 9.002 | 8.811 | 8.666 | 9.896 | 8.558 | 7.812 | 8.034
295 | 88.99 | 74.29 | 68.7 | 86.79 | 125.2 | 140.3 | 209.5 | 117.9 | 93.32 | 107.1 | 64.94 | 98.62 | 146.3 | 278.1 | 425.2 | 455.3 | 632.7 | 1138 | 9999.9 | 9999.9 | 9999.9 | 488.5 | 58.82 | 32.81 | 28.38 | 30.17 | 29.46 | 23.71 | 17.25 | 17.13 | 17.68 | 18.69 | 14.4 | 12.66 | 13.08 | 10.38 | 11.78 | 10.21 | 12.06 | 8.975 | 9.35 | 11.05 | 9.057 | 11.19 | 10.59 | 7.245 | 8.195 | 9.908 | 10.22 | 8.1 | 8.051
300 | 43.3 | 71.73 | 63.12 | 116.7 | 97.39 | 121.4 | 184.7 | 188 | 152.2 | 112.9 | 94.14 | 121.2 | 183.4 | 333.5 | 619.6 | 751.7 | 889.4 | 942.4 | 1267 | 9999.9 | 9999.9 | 9999.9 | 537.2 | 49.55 | 40.53 | 37.1 | 27.1 | 23.26 | 14.95 | 22.08 | 13.85 | 18.04 | 13.69 | 16.87 | 12.41 | 13.86 | 11.47 | 10.9 | 6.485 | 9.593 | 10.43 | 10.4 | 10 | 10.92 | 12.42 | 8.937 | 8.283 | 7.832 | 8.549 | 9.287 | 8.836
305 | 66.49 | 122.4 | 91.18 | 97.5 | 109.1 | 171.3 | 255.5 | 200 | 144.4 | 132.8 | 131.4 | 206.7 | 275 | 468 | 842.1 | 1171 | 1357 | 1375 | 1058 | 1241 | 9999.9 | 9999.9 | 9999.9 | 498.6 | 51.55 | 41.61 | 33.61 | 33.19 | 24.52 | 19.62 | 14.68 | 15.37 | 16.47 | 16.25 | 15.04 | 12.55 | 12.01 | 8.168 | 9.51 | 10.38 | 8.626 | 8.056 | 8.402 | 10.49 | 10.79 | 10.1 | 8.344 | 7.813 | 8.305 | 7.895 | 9.726
310 | 77.93 | 87.65 | 82 | 99.45 | 147.5 | 249.7 | 303 | 264.4 | 234.6 | 129.2 | 140 | 243.2 | 396.4 | 599.2 | 1099 | 1440 | 1981 | 2026 | 1472 | 955.7 | 1035 | 9999.9 | 9999.9 | 9999.9 | 490.5 | 55.66 | 52.56 | 32.52 | 28.36 | 25.12 | 17.5 | 21.37 | 19.03 | 14.92 | 14.27 | 14.9 | 12.97 | 9.581 | 11.78 | 10.79 | 8.694 | 9.794 | 6.005 | 7.639 | 11.88 | 9.988 | 9.104 | 8.535 | 8.431 | 7.945 | 9.082
315 | 71.29 | 71.29 | 73.9 | 138.5 | 197 | 319.3 | 441.8 | 286.5 | 230.2 | 171.8 | 209.9 | 302 | 450.8 | 822.7 | 1300 | 1783 | 2290 | 2512 | 1965 | 1258 | 612.9 | 850.3 | 9999.9 | 9999.9 | 9999.9 | 480.3 | 69.05 | 46.84 | 35.43 | 24.58 | 21.62 | 17.45 | 15.68 | 19.44 | 15.96 | 14.4 | 13.39 | 9.769 | 9.709 | 9.468 | 6.807 | 11.16 | 8.468 | 9.152 | 7.8 | 11.34 | 11.19 | 10.13 | 6.528 | 8.787 | 8.426
320 | 76.22 | 76.95 | 137.3 | 149.1 | 214.8 | 267.4 | 398.6 | 380.5 | 226.6 | 206.1 | 246 | 375.3 | 535.1 | 861.8 | 1487 | 2114 | 2645 | 2694 | 2431 | 1497 | 676.2 | 307.1 | 796.5 | 9999.9 | 9999.9 | 9999.9 | 421.9 | 65.41 | 49.8 | 27.28 | 27.4 | 25.59 | 23.91 | 18.07 | 14.95 | 15.54 | 13.34 | 12.72 | 10.7 | 9.491 | 8.124 | 7.955 | 7.109 | 8.956 | 8.008 | 7.384 | 8.188 | 9.859 | 9.867 | 7.606 | 7.349
325 | 59.9 | 81.74 | 89.55 | 142.7 | 223.2 | 280.9 | 509 | 426.3 | 280.8 | 213.3 | 235.2 | 329.1 | 606.6 | 950.3 | 1666 | 2398 | 2892 | 3239 | 2939 | 1940 | 766.1 | 319.8 | 178.4 | 751 | 9999.9 | 9999.9 | 9999.9 | 510 | 57.86 | 43.25 | 31.91 | 36.38 | 19.59 | 20.45 | 19.14 | 18.37 | 14.05 | 12.83 | 14.07 | 11.39 | 9.755 | 11.08 | 8.6 | 7.587 | 7.635 | 7.428 | 9.674 | 11.03 | 9.539 | 10.47 | 9.017
330 | 58.27 | 106.3 | 103.3 | 164.9 | 199.4 | 375.9 | 479.5 | 372.4 | 303.7 | 272.6 | 291.3 | 430.6 | 608.8 | 1061 | 1663 | 2213 | 3300 | 3178 | 2783 | 2006 | 904.2 | 346.6 | 154.1 | 132.1 | 755.9 | 9999.9 | 9999.9 | 9999.9 | 430.2 | 62.89 | 45.43 | 40.83 | 25.01 | 25.43 | 21.45 | 15.45 | 15.25 | 13.37 | 11.73 | 10.39 | 8.43 | 9.518 | 7.121 | 7.414 | 7.166 | 6.246 | 8.163 | 6.888 | 10.48 | 11.08 | 10.3
335 | 62.38 | 94.54 | 83.3 | 129.3 | 259.4 | 346.9 | 435.6 | 425.3 | 281.1 | 298.6 | 316.4 | 466 | 625.7 | 1093 | 1575 | 2156 | 3149 | 3371 | 2818 | 1904 | 1020 | 406.7 | 151.3 | 85.31 | 128.4 | 751.6 | 9999.9 | 9999.9 | 9999.9 | 419.7 | 58.64 | 50.98 | 33.82 | 32.98 | 19.54 | 20.65 | 15.71 | 13.94 | 14.34 | 12.49 | 8.535 | 8.432 | 8.955 | 8.037 | 7.99 | 6.738 | 8.952 | 7.793 | 6.957 | 9.086 | 10.56
340 | 61.87 | 93.87 | 102.5 | 120.9 | 223.9 | 365.7 | 528.9 | 369.5 | 276.4 | 225.4 | 246.1 | 396.7 | 535.7 | 1005 | 1533 | 2252 | 2936 | 3396 | 2941 | 1708 | 880.8 | 513.9 | 190.8 | 72.4 | 69.07 | 121.2 | 769.6 | 9999.9 | 9999.9 | 9999.9 | 456.3 | 75.08 | 51.58 | 41.59 | 24.71 | 20.27 | 21.69 | 14.12 | 14.71 | 15.39 | 8.768 | 11.3 | 7.906 | 8.579 | 7.087 | 9.303 | 8.707 | 7.343 | 9.513 | 7.192 | 7.804
345 | 55.53 | 89.64 | 138.9 | 141.6 | 191.7 | 374 | 461.9 | 420.6 | 224 | 237.8 | 259.7 | 336 | 568.4 | 836 | 1460 | 2090 | 2637 | 2802 | 2755 | 1516 | 739.6 | 432.3 | 300.1 | 84.82 | 64.55 | 67.24 | 109.9 | 744.2 | 9999.9 | 9999.9 | 9999.9 | 415.4 | 61.3 | 52.04 | 34.83 | 22.99 | 23.18 | 18.65 | 12.06 | 10.53 | 9.249 | 8.417 | 9.796 | 7.863 | 8.343 | 10.24 | 9.124 | 8.493 | 7.031 | 8.051 | 8.472
350 | 63.4 | 96.42 | 92.91 | 99.06 | 179 | 331.2 | 433.2 | 322.8 | 204 | 166.7 | 235.5 | 308.4 | 533.2 | 815.4 | 1285 | 1727 | 2435 | 2514 | 2442 | 1484 | 727.8 | 275.7 | 281.8 | 208.4 | 70.08 | 48.27 | 65.89 | 129.3 | 759.7 | 9999.9 | 9999.9 | 9999.9 | 412.6 | 66.2 | 54.01 | 33.4 | 22.98 | 19.99 | 12.48 | 12.44 | 11.96 | 12.57 | 9.004 | 10.35 | 8.952 | 9.856 | 7.018 | 7.987 | 7.498 | 9.326 | 6.509
355 | 58.21 | 101.6 | 120.9 | 116.7 | 216.1 | 251.7 | 371.6 | 277.7 | 208.4 | 183.7 | 236.9 | 305.6 | 443.4 | 784.2 | 1115 | 1479 | 2041 | 2262 | 2022 | 1291 | 613.3 | 265.7 | 129 | 210.8 | 173 | 49.97 | 52.17 | 64.85 | 124.5 | 744.2 | 9999.9 | 9999.9 | 9999.9 | 390.3 | 59 | 47.92 | 28.35 | 22.68 | 17.59 | 16.42 | 11.54 | 12.79 | 9.577 | 9.528 | 7.921 | 8.619 | 7.002 | 6.731 | 5.139 | 6.336 | 6.451
360 | 58.69 | 92.78 | 94.86 | 169 | 166 | 193.3 | 321.9 | 311.9 | 158.6 | 161.5 | 207.7 | 285.1 | 424.8 | 609.2 | 923.2 | 1391 | 1760 | 1841 | 1833 | 1093 | 490.9 | 196.6 | 100.5 | 102.5 | 264.9 | 114.7 | 55.73 | 62.17 | 69.5 | 118.2 | 760.2 | 9999.9 | 9999.9 | 9999.9 | 369 | 59.59 | 43.06 | 29.14 | 24.05 | 17.81 | 14.74 | 12.05 | 9.329 | 10.91 | 8.872 | 7.932 | 7.054 | 7.129 | 9.63 | 6.914 | 5.834
365 | 61.8 | 109.3 | 103.5 | 111.7 | 155.3 | 197.3 | 242.2 | 245.7 | 159.3 | 146.9 | 171 | 218.9 | 336.7 | 506.9 | 787.1 | 1168 | 1449 | 1591 | 1471 | 973 | 480.7 | 233.4 | 102.3 | 85.74 | 133.7 | 236.8 | 102.7 | 56.12 | 52.3 | 77.57 | 113 | 749.9 | 9999.9 | 9999.9 | 9999.9 | 349.6 | 57.61 | 39.02 | 32.17 | 17.86 | 15.06 | 14.85 | 9.554 | 10.6 | 8.744 | 9.052 | 7.833 | 8.744 | 7.328 | 6.908 | 7.256
370 | 89.68 | 99.13 | 107.2 | 133.2 | 150.9 | 173.5 | 210.9 | 241.6 | 174.9 | 132.5 | 129.7 | 188.5 | 292.3 | 462.7 | 737.4 | 945.5 | 1166 | 1398 | 1297 | 776.5 | 402.9 | 170 | 79.94 | 62.49 | 73.68 | 177 | 217.9 | 83.77 | 59.76 | 54.37 | 65.25 | 113.7 | 785.7 | 9999.9 | 9999.9 | 9999.9 | 311.4 | 58.17 | 39.58 | 21.84 | 17.81 | 13.9 | 13.31 | 10.35 | 10.26 | 8.959 | 7.133 | 5.409 | 7.997 | 7.742 | 5.736
375 | 81.18 | 82.54 | 99.62 | 83.15 | 156.1 | 209.3 | 201.7 | 158.2 | 145.3 | 113.9 | 130.4 | 223.9 | 285.6 | 424.4 | 538.2 | 762.8 | 1044 | 1059 | 1042 | 636.3 | 304.4 | 170.7 | 66.71 | 63.01 | 55.6 | 82.47 | 190.6 | 162.5 | 67.83 | 59.82 | 61.91 | 66.59 | 119.1 | 769.2 | 9999.9 | 9999.9 | 9999.9 | 290 | 55.35 | 35.03 | 24.11 | 17.43 | 14.41 | 11.39 | 13.14 | 9.286 | 8.932 | 7.863 | 9.07 | 6.075 | 6.064
380 | 30.62 | 82.44 | 94.51 | 76.44 | 117 | 186.8 | 223.7 | 177.4 | 136 | 117.7 | 121.8 | 183.3 | 241.4 | 348.9 | 423.6 | 709.6 | 798.4 | 896 | 824.8 | 550.4 | 244.4 | 131 | 66.97 | 74.89 | 74.04 | 62.66 | 91.47 | 195.3 | 127.3 | 57.83 | 49.61 | 59.1 | 66.92 | 110.6 | 774.7 | 9999.9 | 9999.9 | 9999.9 | 283.5 | 49.44 | 30.47 | 23.67 | 17.33 | 13.96 | 12.85 | 10.36 | 10.03 | 9.45 | 7.586 | 9.278 | 6.638
385 | 88.47 | 94.47 | 100.3 | 106.8 | 112.1 | 123.8 | 186.1 | 121.1 | 101.5 | 99.4 | 160.1 | 129.4 | 179.4 | 256.7 | 381.8 | 528.5 | 648.5 | 723.3 | 675.7 | 442.4 | 261.1 | 123.2 | 88.46 | 64.91 | 61.77 | 60.75 | 60.66 | 112.4 | 188.3 | 109.1 | 56.05 | 51.22 | 47.79 | 67.84 | 107.5 | 768.7 | 9999.9 | 9999.9 | 9999.9 | 255.3 | 45.56 | 33.29 | 24.71 | 16.73 | 14.1 | 12.38 | 9.314 | 8.912 | 7.926 | 8.642 | 6.438
390 | 59.89 | 42.01 | 62.83 | 104.7 | 84.84 | 122.3 | 185.6 | 139.4 | 147.2 | 95.81 | 98.97 | 120 | 176 | 215.7 | 300.1 | 416.9 | 523.7 | 591.1 | 502.6 | 376.5 | 191.9 | 99.36 | 60.93 | 60.41 | 56.29 | 66.64 | 70.67 | 75.06 | 136.4 | 186.7 | 73.7 | 58.34 | 47.1 | 53.7 | 54.69 | 100.4 | 747.5 | 9999.9 | 9999.9 | 9999.9 | 265.1 | 45.03 | 31.15 | 22.22 | 14.53 | 13.45 | 10.92 | 13.02 | 9.734 | 8.153 | 7.624
395 | 80.75 | 77.17 | 71.56 | 122.3 | 99.78 | 98.02 | 145.4 | 105.6 | 112.9 | 94.26 | 119.1 | 136.3 | 172.7 | 193.7 | 290 | 385.1 | 432.9 | 471.2 | 470.9 | 288.2 | 183.2 | 101.6 | 63.81 | 71.55 | 71.61 | 59.71 | 52.76 | 59.09 | 68.17 | 150.6 | 167.4 | 62.18 | 49.2 | 46.87 | 45.74 | 50.83 | 101.3 | 767.5 | 9999.9 | 9999.9 | 9999.9 | 212.3 | 44.15 | 28.17 | 20.77 | 18 | 12.54 | 11.37 | 10.62 | 8.428 | 7.448
400 | 91.1 | 71.9 | 92.99 | 105.6 | 77.77 | 107.3 | 128.7 | 117.4 | 87.25 | 107.2 | 90.96 | 127.3 | 96.73 | 176.9 | 221.4 | 363.5 | 374.5 | 393.5 | 409.8 | 281.7 | 153.6 | 95.96 | 54.89 | 72.37 | 57.31 | 53.97 | 66.59 | 65.94 | 73.53 | 84.91 | 160.7 | 112.3 | 57.15 | 43.51 | 41.59 | 46.96 | 46.91 | 97.48 | 732.7 | 9999.9 | 9999.9 | 9999.9 | 208.4 | 41.67 | 25.07 | 22.25 | 14.72 | 11.61 | 9.417 | 8.623 | 7.344
405 | 103.9 | 68.39 | 73.12 | 95.05 | 86.29 | 126.4 | 101.2 | 105.6 | 100.6 | 89.55 | 77.18 | 73.09 | 117.2 | 156.4 | 195.9 | 299 | 284.9 | 351.8 | 317.7 | 213.3 | 152.4 | 97.48 | 59.26 | 63.8 | 70.85 | 66.22 | 64.29 | 57.51 | 73.05 | 60.54 | 76.97 | 162.6 | 98.42 | 53.41 | 47.89 | 39.71 | 41.35 | 42.39 | 88.97 | 714.8 | 9999.9 | 9999.9 | 9999.9 | 214.4 | 34.07 | 28.36 | 19.86 | 15.67 | 11.55 | 8.543 | 8.622
410 | 94.5 | 69.51 | 74.73 | 105.5 | 70.66 | 89.82 | 110.5 | 93.31 | 78.8 | 111.9 | 64.85 | 98.53 | 112.7 | 149.3 | 183.3 | 194 | 250.7 | 275.9 | 291.8 | 170.6 | 127.5 | 74.69 | 71.14 | 54.6 | 60.48 | 56.1 | 61.43 | 64.96 | 68.11 | 54.85 | 68.15 | 103.2 | 156.2 | 70.87 | 46.27 | 46.37 | 39.95 | 32.02 | 37.14 | 87.14 | 707.1 | 9999.9 | 9999.9 | 9999.9 | 189.1 | 32.81 | 27.84 | 16.82 | 11.46 | 11.71 | 10.15
415 | 85.71 | 95.61 | 114.6 | 113.1 | 82.56 | 86.72 | 98.38 | 101.6 | 86.48 | 63.92 | 64.28 | 106.6 | 83.06 | 114 | 157.2 | 209.1 | 264 | 235.5 | 231.7 | 190.6 | 104.3 | 75.63 | 68.28 | 59.48 | 75.08 | 67.25 | 69.85 | 68.74 | 68.84 | 56.28 | 57.64 | 78.05 | 124.5 | 143 | 72.43 | 41.75 | 36.55 | 38.22 | 31.38 | 38.43 | 85.38 | 719.7 | 9999.9 | 9999.9 | 9999.9 | 192.2 | 33.36 | 25.86 | 15.09 | 12.69 | 9.942
420 | 67.15 | 65.23 | 175.4 | 97.86 | 103.5 | 95.3 | 104.3 | 117.3 | 82.28 | 80.68 | 102 | 89.53 | 96.58 | 136 | 116.8 | 177.2 | 177.6 | 231.6 | 204.1 | 135.2 | 89.76 | 66.98 | 55.57 | 71.35 | 72.41 | 60.85 | 59.03 | 60.11 | 63.79 | 69.02 | 64.53 | 63.05 | 75.88 | 128 | 122.2 | 59.06 | 38.63 | 36.99 | 29.45 | 34.13 | 34.24 | 79.97 | 715.7 | 9999.9 | 9999.9 | 9999.9 | 179.4 | 37.16 | 21.14 | 17.01 | 12.91
425 | 85.48 | 112.3 | 116.4 | 196.9 | 83.4 | 73.88 | 85.43 | 81.37 | 119.8 | 81.02 | 73.69 | 89.45 | 88.31 | 86.96 | 118 | 129.2 | 168.8 | 224.7 | 140.6 | 122 | 82.79 | 79.05 | 56.58 | 60.29 | 59.21 | 63.73 | 68.69 | 63.8 | 61.49 | 56.83 | 53.36 | 52.36 | 55.13 | 72.34 | 130.8 | 88.79 | 43.19 | 31.33 | 28.33 | 30.65 | 31.13 | 33.78 | 76.42 | 717.1 | 9999.9 | 9999.9 | 9999.9 | 165.8 | 29.14 | 24.88 | 15.76
430 | 47.54 | 79.32 | 98.42 | 258.8 | 184.4 | 77.38 | 86.2 | 101.5 | 91.1 | 86.45 | 67.33 | 87.92 | 76.72 | 92.91 | 93.7 | 134.7 | 172.8 | 149.8 | 133.8 | 153 | 89.17 | 61.7 | 76.79 | 53.64 | 63.72 | 63.12 | 67 | 62.12 | 60.33 | 72.42 | 58.98 | 57.5 | 52.5 | 55.02 | 75.92 | 109.9 | 65.92 | 25.4 | 27.04 | 27.15 | 25.66 | 24.92 | 27.64 | 80.79 | 707.4 | 9999.9 | 9999.9 | 9999.9 | 167.7 | 35.49 | 24.28
435 | 65.7 | 82.09 | 103.6 | 137.7 | 346.4 | 101.5 | 70.82 | 123.6 | 76.83 | 86.92 | 93.21 | 96.33 | 96.4 | 65.83 | 83.44 | 107.2 | 172.4 | 181.6 | 133.5 | 107.9 | 82.4 | 66.5 | 68.31 | 53.95 | 65 | 77.12 | 72.34 | 64.41 | 59.9 | 68.53 | 56.75 | 54.86 | 58.21 | 50.1 | 55.34 | 78.36 | 89.2 | 49.57 | 27.11 | 22.7 | 23.48 | 24.8 | 25.21 | 31.96 | 71.88 | 716.7 | 9999.9 | 9999.9 | 9999.9 | 156.7 | 29.4
440 | 73.23 | 76.94 | 104.8 | 83.96 | 421.6 | 235.6 | 87.88 | 86.62 | 98.98 | 92.65 | 59.9 | 76.6 | 98.82 | 85.83 | 85.29 | 95.01 | 157.8 | 117.6 | 134.8 | 91.87 | 85.82 | 63.16 | 59.21 | 56.12 | 49.52 | 53.28 | 68.54 | 54.31 | 59.09 | 67.37 | 60.61 | 64.37 | 52.22 | 53.07 | 44.56 | 46.36 | 80.35 | 79.78 | 33.56 | 25.76 | 20.31 | 21.48 | 21.64 | 20.24 | 25.75 | 75.89 | 711.5 | 9999.9 | 9999.9 | 9999.9 | 138.5
445 | 99.71 | 95.55 | 87.79 | 87.8 | 389.3 | 569.7 | 128.2 | 107.7 | 80.49 | 84.84 | 104.1 | 53.74 | 94.58 | 71.4 | 92.04 | 109.5 | 135.1 | 127.6 | 100.3 | 106.4 | 76.07 | 75.1 | 69.25 | 54.8 | 58.5 | 54.79 | 68.29 | 54.08 | 61.24 | 55.87 | 67.51 | 57.05 | 52.77 | 44.25 | 43.27 | 43.58 | 43.77 | 82.43 | 54.81 | 27.34 | 24.62 | 20.5 | 19.79 | 18.04 | 23.18 | 29.3 | 77.22 | 705.6 | 9999.9 | 9999.9 | 9999.9
450 | 110.4 | 107.7 | 60.49 | 116.2 | 113.2 | 701 | 317.4 | 82.76 | 64.82 | 69.61 | 84.54 | 55.45 | 74.62 | 80.31 | 114 | 97.74 | 101.4 | 109.2 | 89.54 | 76.51 | 66.96 | 68.02 | 54.8 | 64.26 | 51.8 | 56.82 | 58.08 | 56.3 | 62.59 | 55.41 | 52.33 | 55.84 | 54.52 | 43.32 | 38.28 | 44.99 | 35.05 | 46.86 | 77.75 | 33.95 | 20.25 | 22.04 | 19.27 | 18.35 | 17.57 | 21.5 | 25.93 | 74.2 | 719.5 | 9999.9 | 9999.9
455 | 52.74 | 92.69 | 82.38 | 97.1 | 89.17 | 451.2 | 782.7 | 124.6 | 98.14 | 72.17 | 53.35 | 104 | 76.99 | 74.16 | 102.3 | 98.35 | 117.2 | 100.4 | 94.8 | 82.77 | 71.06 | 53.73 | 55.45 | 52.13 | 48.57 | 49.49 | 48.65 | 63.71 | 45.95 | 62.45 | 47.4 | 53.87 | 41.26 | 44.6 | 43.79 | 40.29 | 35.66 | 32.08 | 54.09 | 60.53 | 32.23 | 19.09 | 21.45 | 15.86 | 18.5 | 20.35 | 20.19 | 25.8 | 74.54 | 721.3 | 9999.9
460 | 69.02 | 75.81 | 82.7 | 96.69 | 95.59 | 175.6 | 1229 | 469.7 | 88.66 | 94.25 | 74 | 107.9 | 80.32 | 71.39 | 98.82 | 109.1 | 101.8 | 108.1 | 95.16 | 68.43 | 65.95 | 51.02 | 56.18 | 56.66 | 47.15 | 51 | 45.35 | 63.86 | 60.32 | 58.42 | 52.63 | 47.26 | 51.18 | 48.53 | 44.12 | 35.21 | 34.26 | 30.35 | 31.31 | 58.31 | 50.65 | 24.89 | 18.14 | 20.66 | 16.71 | 17.19 | 16.99 | 22.29 | 29.93 | 75.19 | 699.4
465 | 73.37 | 124.3 | 99.57 | 89.5 | 123.8 | 112.6 | 845.4 | 1329 | 182.8 | 130.6 | 99.37 | 83.88 | 79.64 | 80.52 | 95.14 | 104.7 | 81.37 | 133.6 | 106.7 | 69.38 | 66.25 | 59.16 | 62.54 | 60.1 | 45.43 | 47.32 | 46.9 | 48.85 | 52.53 | 52.83 | 44.36 | 45.41 | 53.83 | 49.42 | 40.58 | 37.96 | 33.05 | 28.31 | 26.67 | 30.2 | 53.26 | 38.54 | 16.57 | 16.82 | 17.32 | 18.29 | 17.2 | 19.46 | 18.74 | 28.66 | 72.97
470 | 83.44 | 98.56 | 107.1 | 104.6 | 74.95 | 96.66 | 295.6 | 1824 | 776 | 117.9 | 106.3 | 66.38 | 95.21 | 92.31 | 103 | 101 | 94.57 | 111.4 | 91.78 | 51.53 | 52.73 | 64.12 | 49.33 | 51.37 | 46.14 | 50.8 | 37.24 | 43.99 | 42.24 | 48.86 | 46.15 | 45.15 | 50.06 | 45.83 | 35.49 | 32 | 30.04 | 24.09 | 25.72 | 22.67 | 35.22 | 49.98 | 29.26 | 20.09 | 16.9 | 16.76 | 18.7 | 18.11 | 15.91 | 21.3 | 23.54
475 | 70.01 | 74.85 | 106.7 | 90.44 | 150.3 | 114.2 | 71.23 | 1362 | 1912 | 91.73 | 110.5 | 90.46 | 50.26 | 73.49 | 68.6 | 72.65 | 89.48 | 82.57 | 62.92 | 52.98 | 60.49 | 49.24 | 50.9 | 37.09 | 42.04 | 47.56 | 49.32 | 50.15 | 46.31 | 44.24 | 45.87 | 48.37 | 37.47 | 36 | 34.47 | 29.9 | 31.81 | 21.95 | 21.14 | 19.16 | 20.98 | 36.96 | 38.69 | 21.11 | 15.87 | 16.59 | 15.11 | 15.58 | 14.62 | 16.41 | 17.16
480 | 67.75 | 57.28 | 116.7 | 94.86 | 48.54 | 71.18 | 60.97 | 370.3 | 2854 | 743 | 56.1 | 67.52 | 79.21 | 78.66 | 115.7 | 101.3 | 87.4 | 72.49 | 53 | 75.65 | 52.65 | 60.59 | 44.42 | 49.8 | 43.15 | 45.92 | 44.63 | 49.33 | 45.2 | 45.83 | 45.37 | 41.76 | 40.46 | 38.92 | 36.56 | 28.46 | 22.47 | 22.74 | 19.59 | 20 | 18.52 | 24.09 | 41.22 | 31.87 | 17.19 | 14.8 | 13.33 | 14.3 | 13.09 | 17.07 | 14.75
485 | 72.99 | 115.4 | 76.97 | 54.59 | 71.13 | 74.25 | 107.6 | 90.91 | 1739 | 2383 | 136.8 | 57.26 | 65.71 | 70.99 | 76.64 | 84.79 | 84.25 | 93.31 | 61.7 | 52.96 | 48 | 47.14 | 47.31 | 40.24 | 45.23 | 41.88 | 39.95 | 32.34 | 40.68 | 34.49 | 42.99 | 37.95 | 42.24 | 32.41 | 35.44 | 34.97 | 23.7 | 24.28 | 19.61 | 16.18 | 15.9 | 16.9 | 22.48 | 33.51 | 27.54 | 14.04 | 16.31 | 15.36 | 12.77 | 13.72 | 11.58
490 | 87.95 | 66.9 | 73.04 | 102.8 | 105.1 | 96.09 | 105.1 | 68.32 | 390.2 | 3789 | 876.8 | 49.68 | 74.63 | 66.22 | 67.66 | 82.59 | 91.82 | 72.81 | 63.36 | 63.77 | 48.32 | 46.25 | 36.39 | 44.03 | 50.29 | 33.94 | 35.66 | 40 | 41.28 | 34.73 | 43.33 | 31.87 | 31.85 | 33.96 | 34.48 | 31.53 | 22.93 | 24.28 | 19.5 | 19.98 | 19.47 | 15.98 | 13.83 | 21.16 | 32.37 | 20.08 | 13.22 | 12.14 | 14.83 | 13.72 | 13.61
495 | 82.79 | 59.55 | 78.41 | 70.49 | 82.78 | 94.26 | 95.7 | 74.15 | 96.52 | 2223 | 2608 | 139.3 | 58.57 | 68.6 | 85.72 | 80.93 | 73.23 | 87.63 | 71.6 | 66.43 | 58.82 | 47.03 | 41.8 | 36.2 | 38.47 | 46.9 | 36.86 | 38.36 | 38.91 | 38.84 | 29.56 | 26.22 | 29.74 | 34.4 | 30.39 | 25.9 | 21.15 | 21.62 | 22.92 | 18.53 | 17.5 | 15.7 | 13.76 | 14.66 | 28.52 | 28.19 | 21.33 | 13.56 | 14.19 | 10.57 | 14.23
500 | 68.13 | 69.76 | 92.9 | 73.18 | 86.08 | 73.72 | 76.82 | 75.17 | 77.13 | 728 | 3502 | 631.9 | 64.38 | 82.67 | 72.72 | 43.89 | 66.72 | 56.39 | 71.43 | 59.85 | 36.05 | 48.08 | 33.11 | 35.27 | 33.14 | 43.09 | 34.07 | 43.71 | 28.63 | 36.41 | 31.86 | 33.33 | 32.37 | 30.63 | 30.92 | 25.27 | 28.16 | 23.31 | 15.67 | 16.1 | 16.94 | 15.41 | 15.44 | 14.35 | 18.45 | 30.33 | 25.34 | 15.39 | 10.92 | 12.83 | 11.57