## Sheet1
Report date: | 14:53:08, 04/09/2024
Sample: | 1
File name:
Run date: | 14:50:10, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/265.0 | 77.08
2 | 205.0/300.0 | 123.3
3 | 205.0/390.0 | 94.22
4 | 205.0/455.0 | 147.8
5 | 210.0/305.0 | 124.5
6 | 210.0/385.0 | 124.1
7 | 210.0/395.0 | 165.5
8 | 210.0/465.0 | 148
9 | 210.0/485.0 | 106.6
10 | 215.0/265.0 | 76.44
11 | 215.0/280.0 | 77.75
12 | 215.0/430.0 | 252.4
13 | 215.0/460.0 | 131.5
14 | 215.0/490.0 | 112.5
15 | 220.0/285.0 | 84.5
16 | 220.0/390.0 | 130.1
17 | 225.0/260.0 | 79.68
18 | 225.0/275.0 | 75.83
19 | 225.0/400.0 | 132.3
20 | 230.0/265.0 | 70.58
21 | 230.0/280.0 | 98.71
22 | 230.0/335.0 | 532.6
23 | 230.0/345.0 | 502.8
24 | 230.0/380.0 | 239
25 | 230.0/410.0 | 152.7
26 | 235.0/270.0 | 73.52
27 | 235.0/320.0 | 450.7
28 | 235.0/365.0 | 288.5
29 | 235.0/405.0 | 112.5
30 | 235.0/415.0 | 127.8
31 | 240.0/275.0 | 84.45
32 | 240.0/395.0 | 140
33 | 240.0/420.0 | 129.1
34 | 240.0/430.0 | 122.7
35 | 245.0/310.0 | 203.3
36 | 245.0/385.0 | 131.4
37 | 245.0/410.0 | 110.7
38 | 245.0/425.0 | 109
39 | 245.0/445.0 | 115.9
40 | 250.0/400.0 | 153.8
41 | 250.0/420.0 | 105.1
42 | 250.0/430.0 | 110.2
43 | 250.0/460.0 | 109.2
44 | 260.0/285.0 | 195.6
45 | 260.0/445.0 | 104
46 | 265.0/450.0 | 113.4
47 | 265.0/485.0 | 94.33
48 | 270.0/455.0 | 112.5
49 | 270.0/465.0 | 112.8
50 | 275.0/445.0 | 132.5
51 | 275.0/475.0 | 116.8
52 | 275.0/490.0 | 118.8
53 | 280.0/255.0 | 55.36
54 | 280.0/455.0 | 143.7
55 | 285.0/330.0 | 3409
56 | 285.0/470.0 | 119.8
57 | 285.0/485.0 | 94.66
58 | 290.0/425.0 | 209.3
59 | 290.0/455.0 | 138.9
60 | 290.0/495.0 | 79.56
61 | 295.0/265.0 | 52.65
62 | 295.0/480.0 | 88.76
63 | 300.0/260.0 | 43.38
64 | 300.0/270.0 | 44.55
65 | 305.0/450.0 | 76.66
66 | 310.0/435.0 | 77.17
67 | 310.0/465.0 | 69.21
68 | 310.0/475.0 | 68.75
69 | 315.0/355.0 | 255.1
70 | 315.0/415.0 | 75.49
71 | 315.0/445.0 | 75.79
72 | 315.0/485.0 | 57.85
73 | 320.0/255.0 | 35.28
74 | 320.0/275.0 | 33.37
75 | 320.0/360.0 | 219.2
76 | 320.0/395.0 | 79.29
77 | 320.0/430.0 | 77.22
78 | 320.0/470.0 | 61.03
79 | 325.0/365.0 | 231.8
80 | 325.0/385.0 | 82.89
81 | 325.0/400.0 | 79.39
82 | 325.0/435.0 | 70.99
83 | 325.0/445.0 | 67.52
84 | 325.0/455.0 | 68.75
85 | 325.0/490.0 | 48.69
86 | 330.0/280.0 | 24.13
87 | 330.0/370.0 | 215.9
88 | 330.0/415.0 | 75.24
89 | 330.0/425.0 | 64.86
90 | 330.0/450.0 | 72.4
91 | 330.0/470.0 | 63.39
92 | 335.0/275.0 | 19.08
93 | 335.0/290.0 | 27.33
94 | 335.0/380.0 | 219.5
95 | 335.0/455.0 | 74.41
96 | 340.0/295.0 | 25.56
97 | 340.0/385.0 | 200.7
98 | 340.0/405.0 | 74.74
99 | 340.0/445.0 | 71.26
100 | 345.0/265.0 | 20.82
101 | 345.0/290.0 | 25.8
102 | 345.0/390.0 | 190.2
103 | 345.0/425.0 | 80.9
104 | 345.0/440.0 | 83.96
105 | 350.0/280.0 | 22.02
106 | 350.0/305.0 | 26.32
107 | 350.0/400.0 | 180
108 | 350.0/455.0 | 62.98
109 | 350.0/465.0 | 60.84
110 | 350.0/490.0 | 46.94
111 | 355.0/275.0 | 18.98
112 | 355.0/300.0 | 24.68
113 | 355.0/405.0 | 155.4
114 | 355.0/460.0 | 61.94
115 | 355.0/485.0 | 44.22
116 | 360.0/410.0 | 156.3
117 | 360.0/445.0 | 61.46
118 | 360.0/470.0 | 59.03
119 | 365.0/280.0 | 20.54
120 | 365.0/300.0 | 21.6
121 | 365.0/325.0 | 33.69
122 | 365.0/415.0 | 140.2
123 | 365.0/465.0 | 55.14
124 | 370.0/255.0 | 25.96
125 | 370.0/310.0 | 21.7
126 | 370.0/425.0 | 135.3
127 | 375.0/260.0 | 22.19
128 | 375.0/285.0 | 18.62
129 | 375.0/315.0 | 21.46
130 | 375.0/430.0 | 124.5
131 | 375.0/475.0 | 45.4
132 | 375.0/490.0 | 34.86
133 | 380.0/295.0 | 13.57
134 | 380.0/435.0 | 97.56
135 | 380.0/480.0 | 38.5
136 | 385.0/265.0 | 22.67
137 | 385.0/305.0 | 18.57
138 | 385.0/440.0 | 89.91
139 | 390.0/275.0 | 18.64
140 | 390.0/320.0 | 17.23
141 | 390.0/340.0 | 18.14
142 | 390.0/450.0 | 75.75
143 | 390.0/470.0 | 32.13
144 | 395.0/455.0 | 65.34
145 | 400.0/285.0 | 19.04
146 | 400.0/305.0 | 12.15
147 | 400.0/325.0 | 12.04
148 | 400.0/350.0 | 16.02
149 | 405.0/260.0 | 15.22
150 | 405.0/290.0 | 16.64
151 | 405.0/315.0 | 12.99
152 | 405.0/335.0 | 11.75
153 | 405.0/470.0 | 55.28
154 | 410.0/365.0 | 17.69
155 | 410.0/450.0 | 24.58
156 | 410.0/475.0 | 45.85
157 | 415.0/270.0 | 16.95
158 | 415.0/295.0 | 15.21
159 | 415.0/330.0 | 12.79
160 | 415.0/485.0 | 41.17
161 | 420.0/305.0 | 13.9
162 | 420.0/365.0 | 13.71
163 | 420.0/490.0 | 34.97
164 | 425.0/265.0 | 10.6
165 | 425.0/280.0 | 13.14
166 | 425.0/310.0 | 13.09
167 | 425.0/470.0 | 22.18
168 | 430.0/275.0 | 13.04
169 | 430.0/285.0 | 11.38
170 | 430.0/350.0 | 9.022
171 | 435.0/290.0 | 11.44
172 | 435.0/365.0 | 10.34
173 | 440.0/270.0 | 10.91
174 | 440.0/320.0 | 13.61
175 | 440.0/330.0 | 12.42
176 | 440.0/390.0 | 11.18
177 | 440.0/490.0 | 16.98
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 67.25 | 87.09 | 44.52 | 63.8 | 56.04 | 51.83 | 72.25 | 79.86 | 106.9 | 3576 | 9325 | 2696 | 71.67 | 54.34 | 43.56 | 37.29 | 37.87 | 45.56 | 42.81 | 34.07 | 32.6 | 23.64 | 20.4 | 23.2 | 21.92 | 18.75 | 19.82 | 17.18 | 13.33 | 15.13 | 16.02 | 14.14 | 22.13 | 20.92 | 22.53 | 22.17 | 15.17 | 18.61 | 17.13 | 14.4 | 15.03 | 11.89 | 11.67 | 9.179 | 10.55 | 9.182 | 5.74 | 7.761 | 7.753 | 4.973 | 3.717
255 | 75.06 | 48.2 | 74.99 | 59.42 | 55.82 | 69.15 | 52.92 | 63.69 | 56.84 | 287.9 | 2806 | 9999.9 | 5439 | 198.6 | 52.38 | 47.76 | 55.36 | 46.32 | 27.37 | 33.95 | 33.3 | 25.02 | 27.55 | 26.37 | 35.28 | 19.66 | 16.9 | 18.7 | 18.08 | 13.55 | 15.56 | 25.79 | 12.1 | 21.05 | 25.96 | 22.15 | 13.1 | 13.59 | 15.3 | 12.72 | 14.33 | 12.43 | 9.428 | 9.896 | 9.718 | 9.478 | 7.32 | 7.895 | 7.434 | 6.293 | 4.679
260 | 48.04 | 54.39 | 60.25 | 58.2 | 51 | 79.68 | 51.29 | 63.92 | 95.89 | 74.62 | 242.7 | 3476 | 9999.9 | 6766 | 214.4 | 49.89 | 50.98 | 51.34 | 24.68 | 29.35 | 43.38 | 33.14 | 25.7 | 18.51 | 21.33 | 22.65 | 20.85 | 18.74 | 16.93 | 20.26 | 19.18 | 17.67 | 18.56 | 15.53 | 21.64 | 22.19 | 19.51 | 18.59 | 14.05 | 13.25 | 13.59 | 15.22 | 10.12 | 11.73 | 6.859 | 10.32 | 8.878 | 9.206 | 8.457 | 5.926 | 5.481
265 | 62.13 | 77.08 | 44.91 | 76.44 | 59.16 | 47.22 | 70.58 | 52.39 | 83.27 | 92.97 | 101.7 | 264.1 | 4677 | 9999.9 | 9104 | 345.1 | 45.42 | 53.47 | 46.25 | 52.65 | 38.65 | 37.81 | 32.7 | 22.28 | 20.01 | 25.65 | 17.07 | 20.4 | 20.32 | 20.82 | 14.67 | 13.46 | 13.14 | 15.9 | 18.04 | 15.31 | 16.41 | 22.67 | 13.25 | 12.81 | 11.52 | 14.75 | 13.61 | 9.761 | 7.535 | 10.6 | 10.08 | 7.476 | 8.67 | 7.383 | 7.983
270 | 72.02 | 37.74 | 49.08 | 60.83 | 55.14 | 54.87 | 67.68 | 73.52 | 60.33 | 92.68 | 107.9 | 82.81 | 368.7 | 6418 | 9999.9 | 9999.9 | 381.6 | 68.67 | 50.36 | 37.31 | 44.55 | 31.89 | 32.55 | 23.38 | 27.01 | 25.51 | 20.81 | 16.58 | 16.02 | 15.41 | 9.258 | 16.75 | 13.05 | 13.82 | 17.58 | 16.42 | 16.4 | 19.19 | 17.06 | 11.4 | 10.42 | 10.78 | 13.91 | 16.95 | 10.68 | 7.506 | 12.1 | 8.741 | 10.91 | 8.207 | 8.672
275 | 77.19 | 54.32 | 49.65 | 54.5 | 49.37 | 75.83 | 68.84 | 51.25 | 84.45 | 67.27 | 81.74 | 77.51 | 90.67 | 478.6 | 8578 | 9999.9 | 9999.9 | 424.2 | 49.22 | 47.35 | 37.75 | 28.18 | 40.9 | 24.76 | 33.37 | 25.89 | 17.76 | 19.08 | 18.04 | 20.34 | 16.38 | 18.98 | 10.96 | 11.24 | 13.93 | 11.52 | 9.535 | 14.95 | 18.64 | 13.08 | 11.26 | 9.949 | 10.88 | 9.637 | 12.88 | 12.47 | 13.04 | 8.467 | 8.389 | 8.057 | 8.019
280 | 72.32 | 69.33 | 51.01 | 77.75 | 60.68 | 33.23 | 98.71 | 56.34 | 33.03 | 52.29 | 67.99 | 117.9 | 120.6 | 101.1 | 621.8 | 9999.9 | 9999.9 | 9999.9 | 471.2 | 63.38 | 50.2 | 30.07 | 45.7 | 28.57 | 23.22 | 22.71 | 24.13 | 14.45 | 20.84 | 20.5 | 22.02 | 15.08 | 14.92 | 20.54 | 11.73 | 13.47 | 13.11 | 12.02 | 17.75 | 15.6 | 18.42 | 12.53 | 11.43 | 10.98 | 10.8 | 13.14 | 9.627 | 10.39 | 9.519 | 9.535 | 7.195
285 | 79.28 | 54.65 | 60.62 | 54.91 | 84.5 | 80.06 | 73.83 | 74.48 | 70.73 | 67.83 | 89.35 | 89.6 | 195.6 | 116.3 | 146.2 | 766.1 | 9999.9 | 9999.9 | 9999.9 | 598.5 | 51.56 | 52.12 | 44.3 | 28.76 | 29.93 | 27 | 20.65 | 15.91 | 14.87 | 25.08 | 18.4 | 18.48 | 15.27 | 12.1 | 15.07 | 18.62 | 13.8 | 12.05 | 12.36 | 13.85 | 19.04 | 15.47 | 7.41 | 10.32 | 9.752 | 11.01 | 11.38 | 7.875 | 7.95 | 9.137 | 8.266
290 | 106.2 | 91.8 | 85.48 | 52.29 | 73.88 | 81.19 | 126.3 | 96.89 | 92.81 | 74.38 | 62.81 | 96.36 | 145.7 | 202.2 | 216.1 | 289.2 | 956.5 | 9999.9 | 9999.9 | 9999.9 | 529.5 | 58.44 | 62.15 | 42.84 | 29.95 | 27.84 | 23.55 | 27.33 | 22.67 | 25.8 | 19.82 | 17.56 | 16.78 | 14.41 | 14.46 | 13.61 | 11.64 | 12.39 | 10.8 | 10.24 | 12.69 | 16.64 | 10.31 | 11.34 | 9.55 | 10.26 | 10.97 | 11.44 | 11.12 | 9.621 | 8.165
295 | 70.8 | 55.43 | 66.21 | 72.83 | 66.69 | 148.5 | 172.9 | 166.4 | 111.6 | 74.21 | 74.48 | 112.6 | 122.1 | 258.4 | 406.1 | 448.4 | 607.9 | 1157 | 9999.9 | 9999.9 | 9999.9 | 554.2 | 72.9 | 50.5 | 39.94 | 38.03 | 22.51 | 25.46 | 25.56 | 17.07 | 19.66 | 18.53 | 17.83 | 18.79 | 16.29 | 11.59 | 13.57 | 10.5 | 10.74 | 10.49 | 10.14 | 13.38 | 14.72 | 15.21 | 11.13 | 11.94 | 9.942 | 9.125 | 10.89 | 10.69 | 8.66
300 | 50.47 | 123.3 | 81.43 | 84.05 | 108.2 | 172.4 | 209.1 | 215 | 151.9 | 118.9 | 138.1 | 150.1 | 186.9 | 351.5 | 597.8 | 929 | 829.4 | 963 | 1301 | 9999.9 | 9999.9 | 9999.9 | 559.4 | 73.71 | 54.27 | 45.62 | 37.76 | 26.84 | 24.18 | 19.46 | 20.84 | 24.68 | 16.14 | 21.6 | 16.09 | 14.49 | 10.45 | 16.16 | 10.77 | 12.1 | 8.905 | 11.1 | 12.18 | 11.69 | 12.03 | 10.92 | 9.668 | 9.405 | 10.59 | 10.88 | 9.494
305 | 47.74 | 77.56 | 124.5 | 106.7 | 117.2 | 180.3 | 296.2 | 247.3 | 187.1 | 170.9 | 139.2 | 226.1 | 302.8 | 543.6 | 833.4 | 1225 | 1446 | 1429 | 1059 | 1243 | 9999.9 | 9999.9 | 9999.9 | 539 | 73.6 | 54.44 | 34.51 | 26.36 | 23.21 | 21.08 | 26.32 | 18.43 | 17.78 | 14.95 | 18.05 | 16.05 | 15.57 | 18.57 | 11.27 | 10.1 | 12.15 | 10.69 | 10.36 | 9.357 | 13.9 | 12.33 | 10.34 | 9.406 | 8.482 | 11.16 | 10.71
310 | 93.83 | 64.34 | 78.95 | 119.4 | 177.9 | 255.7 | 365.6 | 278.6 | 169.7 | 203.3 | 180.3 | 258 | 393.9 | 659.6 | 1028 | 1415 | 1966 | 2043 | 1787 | 955.2 | 1067 | 9999.9 | 9999.9 | 9999.9 | 564.9 | 81.56 | 54.6 | 37.53 | 30.35 | 27.29 | 21.38 | 17.92 | 21.18 | 19.57 | 21.7 | 18.26 | 16.6 | 12.76 | 14.45 | 10.43 | 10.74 | 10.51 | 8.349 | 9.966 | 10.46 | 13.09 | 11.51 | 12.55 | 9.267 | 8.732 | 11.46
315 | 67.95 | 79.07 | 104.2 | 118 | 200.3 | 277.4 | 414.3 | 387.6 | 238.6 | 191.7 | 194.3 | 308.1 | 511.3 | 762.7 | 1254 | 1774 | 2318 | 2769 | 2246 | 1290 | 631 | 904.2 | 9999.9 | 9999.9 | 9999.9 | 543.4 | 72.47 | 47.15 | 43.5 | 25.19 | 28.82 | 25.79 | 21.46 | 22.78 | 18.83 | 21.46 | 14.53 | 13.66 | 10.57 | 12.43 | 11.65 | 12.99 | 8.313 | 10.95 | 10.37 | 10.21 | 11.45 | 11.65 | 8.002 | 8.303 | 8.293
320 | 78.88 | 117.1 | 165.5 | 193 | 251.7 | 345.3 | 435 | 450.7 | 223.6 | 209.5 | 232.1 | 397.4 | 522 | 941.5 | 1403 | 2085 | 2582 | 3127 | 2724 | 1523 | 703.9 | 341.4 | 810.5 | 9999.9 | 9999.9 | 9999.9 | 494.2 | 73.06 | 55.55 | 38.52 | 26.37 | 21.89 | 27.13 | 23.15 | 17.03 | 17.16 | 13.14 | 13.1 | 17.23 | 10.91 | 10.1 | 10.97 | 9.93 | 7.444 | 9.858 | 8.801 | 11.15 | 13.43 | 13.61 | 9.52 | 6.846
325 | 76.86 | 105.9 | 130 | 155.5 | 211.6 | 363 | 451.4 | 409.3 | 274.9 | 275.4 | 250.7 | 363.5 | 612.4 | 945.5 | 1721 | 2348 | 2831 | 3154 | 3046 | 1936 | 834.5 | 340.3 | 187.5 | 760.2 | 9999.9 | 9999.9 | 9999.9 | 568 | 68.83 | 56.17 | 38.16 | 29.32 | 31.96 | 33.69 | 20.64 | 16.64 | 13.99 | 10.91 | 14.98 | 9.627 | 12.04 | 9.452 | 7.879 | 9.087 | 7.568 | 7.894 | 9.562 | 10.12 | 10.43 | 11.07 | 10.27
330 | 82.3 | 120.3 | 144.9 | 148.6 | 206 | 430.7 | 484.9 | 428.7 | 317.2 | 232.1 | 285.4 | 380.4 | 612.5 | 948.9 | 1874 | 2374 | 2924 | 3409 | 3030 | 2117 | 1020 | 325.2 | 162.6 | 135.5 | 764.2 | 9999.9 | 9999.9 | 9999.9 | 516.7 | 64.08 | 62.16 | 45.87 | 31.3 | 24.39 | 27.68 | 19.23 | 17.36 | 14.93 | 10.9 | 7.085 | 9.993 | 10.54 | 10.7 | 12.79 | 8.797 | 9.633 | 9.821 | 10.18 | 12.42 | 11.46 | 10.86
335 | 70.75 | 74.51 | 121.6 | 157.4 | 187.2 | 412.4 | 532.6 | 406.3 | 303.7 | 240 | 273.6 | 404.5 | 636.1 | 947.7 | 1797 | 2264 | 2879 | 3331 | 3063 | 2003 | 1113 | 387.8 | 129 | 83.98 | 121 | 781.1 | 9999.9 | 9999.9 | 9999.9 | 502.3 | 66.4 | 54.22 | 38.34 | 31 | 26.48 | 24.35 | 18.54 | 16.72 | 11.62 | 11.12 | 8.871 | 11.75 | 10.95 | 10.08 | 9.928 | 7.832 | 9.111 | 7.923 | 9.811 | 9.702 | 13.88
340 | 80.98 | 120.6 | 82.05 | 171.3 | 191.4 | 404.5 | 453 | 412.6 | 258.2 | 224.1 | 283.7 | 353 | 609 | 1004 | 1553 | 2178 | 3092 | 3162 | 2921 | 1811 | 928.8 | 516.3 | 173.7 | 78.93 | 77.51 | 126.6 | 770.2 | 9999.9 | 9999.9 | 9999.9 | 500.7 | 70.26 | 57.45 | 39.08 | 28.56 | 24.18 | 16.82 | 16.81 | 18.14 | 11.25 | 12.95 | 11.73 | 11.6 | 8.413 | 9.771 | 9.465 | 7.302 | 9.307 | 9.907 | 9.031 | 9.13
345 | 105.2 | 95.03 | 139 | 171.2 | 160.9 | 408.1 | 502.8 | 357.3 | 297.3 | 231.2 | 282.6 | 376.1 | 573.7 | 889.6 | 1541 | 2097 | 2828 | 2995 | 2792 | 1667 | 766.6 | 436.8 | 349.2 | 111.2 | 63.65 | 74.41 | 134.9 | 761 | 9999.9 | 9999.9 | 9999.9 | 456.4 | 76.42 | 49.51 | 38.57 | 31.03 | 20.52 | 20.38 | 16.69 | 13.79 | 14.81 | 10.03 | 10.06 | 10.4 | 9.931 | 7.956 | 8.224 | 8.824 | 9.616 | 7.535 | 9.377
350 | 120.3 | 70.1 | 96.95 | 153.1 | 169.3 | 280.7 | 491.5 | 362.4 | 216.9 | 214.1 | 241.5 | 320.8 | 528.1 | 810.8 | 1325 | 1892 | 2449 | 2742 | 2349 | 1635 | 720.1 | 289 | 268.8 | 220.9 | 75.3 | 74.25 | 73.67 | 130 | 780.7 | 9999.9 | 9999.9 | 9999.9 | 446 | 78.71 | 46.5 | 34.01 | 24.94 | 25.02 | 19.33 | 14.67 | 16.02 | 14.93 | 9.818 | 11.12 | 9.557 | 7.547 | 9.022 | 7.236 | 8.701 | 7.641 | 9.143
355 | 80.94 | 99.48 | 112.3 | 96.81 | 171.8 | 238.9 | 379.9 | 310.1 | 193.8 | 189.4 | 239.4 | 297.7 | 435.8 | 744.4 | 1105 | 1676 | 1995 | 2475 | 2147 | 1351 | 628.4 | 254.8 | 168.9 | 255.1 | 152 | 79.64 | 60.08 | 79.55 | 130.6 | 759.4 | 9999.9 | 9999.9 | 9999.9 | 467.3 | 77.29 | 49.7 | 34.49 | 24.57 | 22.43 | 14.15 | 15.97 | 12.09 | 12.91 | 11.83 | 10.56 | 11.82 | 7.726 | 8.48 | 7.9 | 9.449 | 8.804
360 | 92.14 | 99.01 | 113.9 | 99.49 | 172.3 | 261.4 | 314.7 | 252.2 | 202 | 200.6 | 202.3 | 249.1 | 393.6 | 678 | 947.8 | 1385 | 1785 | 1990 | 1819 | 1183 | 577.4 | 244.5 | 102.2 | 105.2 | 219.2 | 138.8 | 71.09 | 59.92 | 68.28 | 126.1 | 756.2 | 9999.9 | 9999.9 | 9999.9 | 417.7 | 68.91 | 47.04 | 29.17 | 25.15 | 24.76 | 14.41 | 15.12 | 14.53 | 12.89 | 11.77 | 12.87 | 6.192 | 8.233 | 8.565 | 8.992 | 7.465
365 | 83.94 | 108 | 93.51 | 161.5 | 185.6 | 203.5 | 246 | 288.5 | 190.6 | 148.5 | 159.6 | 222.5 | 337.4 | 534.3 | 846.9 | 1240 | 1557 | 1625 | 1465 | 1019 | 471.1 | 198.7 | 106.3 | 73.96 | 132.9 | 231.8 | 104.7 | 68.39 | 65.54 | 71.79 | 126.2 | 786 | 9999.9 | 9999.9 | 9999.9 | 399.3 | 74.22 | 45.53 | 31.38 | 18.91 | 19.16 | 15.72 | 17.69 | 9.875 | 13.71 | 12.23 | 9.041 | 10.34 | 8.746 | 9.314 | 9.277
370 | 80.41 | 81.29 | 86.17 | 141.6 | 98.12 | 208.1 | 222.5 | 245.5 | 158.1 | 163.6 | 121.6 | 203 | 299.8 | 453.7 | 681.3 | 967.3 | 1176 | 1390 | 1157 | 859.7 | 431.7 | 176.1 | 112.4 | 55.22 | 61.37 | 160 | 215.9 | 77.39 | 75.15 | 61.34 | 70.55 | 124.1 | 782 | 9999.9 | 9999.9 | 9999.9 | 348.5 | 60.62 | 41.73 | 30.01 | 19.92 | 21.69 | 16.07 | 13.96 | 9.502 | 11.23 | 7.884 | 8.71 | 6.617 | 8.913 | 7.431
375 | 126.5 | 60.29 | 75.6 | 111.9 | 101.2 | 203 | 200.5 | 210.4 | 144.2 | 128.4 | 141.7 | 186.9 | 265.3 | 374.2 | 663.8 | 845.4 | 1027 | 1252 | 1046 | 750.1 | 358.4 | 174.4 | 92.68 | 74.22 | 67.62 | 81.29 | 176.6 | 192.8 | 76.24 | 60.8 | 67.53 | 75.4 | 117.4 | 771.2 | 9999.9 | 9999.9 | 9999.9 | 320.9 | 57.8 | 40.79 | 25.27 | 21.81 | 13.76 | 13.87 | 12.75 | 11.68 | 8.583 | 8.584 | 8.629 | 7.831 | 9.323
380 | 87.75 | 103.2 | 85.87 | 117.4 | 133.2 | 190.3 | 239 | 171.4 | 114.8 | 95.38 | 115.6 | 172.7 | 285.9 | 295.1 | 493.2 | 746.8 | 794 | 1060 | 826.1 | 555.9 | 321.1 | 149.5 | 86.77 | 67.29 | 68.88 | 75.96 | 111.1 | 219.5 | 132.9 | 70.78 | 67.62 | 58.56 | 67.52 | 121.1 | 776.4 | 9999.9 | 9999.9 | 9999.9 | 334.3 | 53.02 | 39.68 | 28.91 | 18.01 | 18.1 | 15.79 | 12.17 | 13.38 | 8.894 | 9.296 | 8.899 | 8.352
385 | 54.13 | 82.4 | 124.1 | 106.7 | 113.4 | 167.6 | 191.3 | 141.4 | 122.4 | 131.4 | 128.5 | 124.7 | 257.8 | 302.4 | 381.2 | 561.8 | 742.3 | 795.4 | 732.2 | 425.3 | 254.7 | 138.2 | 90.19 | 74.71 | 66.51 | 82.89 | 57.39 | 107.6 | 200.7 | 110.1 | 64.82 | 57.1 | 61.34 | 67.29 | 110.5 | 782 | 9999.9 | 9999.9 | 9999.9 | 271 | 48.62 | 39.1 | 23.65 | 17.63 | 16.4 | 11.95 | 12.13 | 10.92 | 8.621 | 10.68 | 9.034
390 | 56.65 | 94.22 | 81.23 | 101.7 | 130.1 | 97.37 | 161.4 | 130.4 | 116.7 | 108.1 | 112.4 | 121.2 | 162.9 | 236.7 | 319 | 406.8 | 578.8 | 632.1 | 606.3 | 377.4 | 199.3 | 120.8 | 78.4 | 72.44 | 60.53 | 65.51 | 69.74 | 67.91 | 139.5 | 190.2 | 96.65 | 56.9 | 51.73 | 56.83 | 61.62 | 111.8 | 760.3 | 9999.9 | 9999.9 | 9999.9 | 294.5 | 52.36 | 38.51 | 25.66 | 17.75 | 14.79 | 13.4 | 9.531 | 11.18 | 11.01 | 7.808
395 | 98.16 | 93.88 | 165.5 | 105.7 | 103.6 | 116 | 126 | 133.2 | 140 | 118.1 | 99.81 | 103.9 | 194.5 | 186.2 | 297.8 | 386.5 | 448.5 | 510.1 | 469.2 | 384.8 | 204.7 | 116.7 | 73.87 | 62.39 | 79.29 | 77.67 | 62.37 | 71.11 | 85.38 | 147.6 | 152.4 | 75.78 | 57.45 | 54.42 | 58.65 | 57.63 | 105.9 | 763.2 | 9999.9 | 9999.9 | 9999.9 | 235.5 | 45.34 | 33.47 | 24.36 | 15.35 | 15.1 | 13.36 | 9.167 | 9.583 | 9.324
400 | 107.9 | 75.28 | 71.33 | 95.85 | 80.3 | 132.3 | 118.1 | 92.58 | 112 | 95.91 | 153.8 | 105.6 | 144.1 | 161.4 | 236.4 | 309.3 | 415.2 | 465.9 | 388.3 | 272.5 | 160.8 | 99.43 | 92.61 | 76.62 | 77.2 | 79.39 | 73.95 | 64.67 | 64.64 | 87.4 | 180 | 136.6 | 71.91 | 44.49 | 50.99 | 47.72 | 55.55 | 96.29 | 739.7 | 9999.9 | 9999.9 | 9999.9 | 214.2 | 47.39 | 29.6 | 23.83 | 15.96 | 14.42 | 9.288 | 10.9 | 8.466
405 | 59.4 | 101.8 | 104.5 | 82.26 | 111.4 | 120.7 | 90.37 | 112.5 | 80.99 | 105.4 | 102.3 | 102.3 | 104.3 | 170.5 | 213.5 | 267.6 | 330.9 | 320.2 | 313.8 | 216.1 | 143.1 | 110.3 | 99.88 | 72.16 | 69.14 | 70.91 | 63.2 | 70.19 | 74.74 | 65.87 | 98.14 | 155.4 | 102.2 | 53.56 | 43.32 | 41.75 | 42.53 | 45.73 | 97.41 | 719.9 | 9999.9 | 9999.9 | 9999.9 | 237.9 | 41.12 | 29.25 | 18.03 | 14.44 | 15.59 | 10.32 | 9.31
410 | 75.74 | 124.4 | 112.6 | 79.76 | 102.8 | 115.6 | 152.7 | 94.69 | 79.48 | 110.7 | 108.6 | 96.72 | 92.65 | 159.1 | 195.9 | 254.9 | 264.6 | 254.2 | 257 | 209.3 | 114.8 | 86.99 | 67.59 | 71.67 | 64.7 | 68.38 | 62.64 | 63.74 | 71.74 | 67 | 60.1 | 108.9 | 156.3 | 93.72 | 46.25 | 43.98 | 43.15 | 45.95 | 48.36 | 89.5 | 724.3 | 9999.9 | 9999.9 | 9999.9 | 217.3 | 36.78 | 30.16 | 18.88 | 16.97 | 12.87 | 11.72
415 | 67.52 | 95.42 | 165.1 | 97.85 | 100.5 | 89.64 | 122.3 | 127.8 | 111.4 | 76.91 | 83.55 | 76.45 | 115.3 | 131.8 | 164.7 | 191.3 | 209.7 | 267.8 | 229.3 | 176 | 131.9 | 79.11 | 65.19 | 75.49 | 60.56 | 67.24 | 75.24 | 60.34 | 67.11 | 62.64 | 68.1 | 74.03 | 131.4 | 140.2 | 76.09 | 45.37 | 45.6 | 40.74 | 38.35 | 43.9 | 88.27 | 729 | 9999.9 | 9999.9 | 9999.9 | 204.8 | 38.03 | 31.14 | 17.04 | 15.03 | 10.82
420 | 94.83 | 109.3 | 198.2 | 136.6 | 94.24 | 92.02 | 92.21 | 109.8 | 129.1 | 87.55 | 105.1 | 97.44 | 112.7 | 137.6 | 143.4 | 175.1 | 174.6 | 238.2 | 175 | 151 | 115.8 | 72.74 | 66.84 | 56.35 | 67.87 | 67.24 | 54.81 | 57.91 | 66.56 | 65.58 | 58.76 | 63.4 | 74.09 | 125.5 | 133.3 | 63.12 | 51.84 | 42.75 | 34.19 | 32.4 | 39.99 | 84.73 | 728.8 | 9999.9 | 9999.9 | 9999.9 | 202.4 | 39.72 | 27.43 | 18.21 | 15.7
425 | 97.56 | 101.8 | 103.7 | 237.3 | 111.2 | 89.76 | 86.49 | 104 | 105.5 | 109 | 90.34 | 94.29 | 74.28 | 125.2 | 125.1 | 148.8 | 181.1 | 205.3 | 209.3 | 156.8 | 97.8 | 75.27 | 62.7 | 61.35 | 70.2 | 59.42 | 64.86 | 59.66 | 73.03 | 80.9 | 62.07 | 56.44 | 62.21 | 78.42 | 135.3 | 92.7 | 52.05 | 36.93 | 36.4 | 31.82 | 29.84 | 38.67 | 80.73 | 717.1 | 9999.9 | 9999.9 | 9999.9 | 182.5 | 38.56 | 25.27 | 17.93
430 | 64.09 | 63.8 | 127.8 | 252.4 | 161.9 | 105.6 | 104.7 | 101.8 | 122.7 | 101.2 | 110.2 | 106.7 | 89.55 | 135.4 | 114.7 | 136.7 | 126.9 | 162.1 | 151.4 | 131.2 | 83.32 | 60.73 | 70.27 | 60.34 | 77.22 | 58.11 | 52.41 | 65.77 | 71.44 | 70.01 | 56.22 | 60.29 | 62.3 | 61.45 | 88.11 | 124.5 | 70.55 | 41.29 | 32.42 | 26.37 | 27.92 | 27.52 | 34.04 | 76.61 | 715 | 9999.9 | 9999.9 | 9999.9 | 194.3 | 34.43 | 23.86
435 | 98.2 | 80.5 | 105.2 | 177.7 | 348.5 | 80.92 | 88.54 | 76.56 | 90.91 | 60.57 | 105.3 | 94.07 | 90.68 | 81.49 | 105.1 | 120.1 | 156.5 | 149 | 170 | 116.3 | 92.92 | 59.64 | 77.17 | 66.75 | 62.17 | 70.99 | 67.63 | 66.44 | 63.13 | 67.79 | 64.15 | 63.62 | 64.13 | 44.85 | 55.97 | 93.45 | 97.56 | 50.9 | 33.35 | 27.24 | 25.34 | 28.25 | 29.81 | 32.98 | 75.73 | 721.7 | 9999.9 | 9999.9 | 9999.9 | 177 | 33.77
440 | 95.61 | 81.02 | 105.5 | 98.45 | 447.4 | 224 | 89.44 | 106.5 | 101.7 | 115.6 | 90.78 | 66.24 | 88.17 | 93.08 | 99.99 | 118.7 | 137.1 | 127.4 | 128.6 | 89.76 | 101.4 | 74.81 | 67.06 | 63.36 | 53.57 | 64.37 | 54.96 | 62.64 | 64.43 | 83.96 | 71.57 | 59.64 | 56.22 | 50.72 | 49.4 | 58.93 | 89.78 | 89.91 | 36.06 | 27.09 | 28.11 | 24.76 | 25.7 | 28.19 | 30.24 | 79.91 | 721.4 | 9999.9 | 9999.9 | 9999.9 | 150.7
445 | 95.94 | 101.3 | 130.7 | 118.1 | 227.6 | 481.8 | 125.8 | 95.35 | 114.1 | 115.9 | 96.69 | 88.44 | 104 | 79.4 | 125.2 | 132.5 | 103.3 | 131.3 | 143.2 | 92.23 | 72.9 | 52.34 | 55.78 | 75.79 | 59.89 | 67.52 | 55.4 | 57.61 | 71.26 | 63.24 | 52.73 | 56.12 | 61.46 | 52.89 | 49.18 | 51.88 | 51.77 | 88.9 | 61.82 | 26.54 | 23.95 | 25.39 | 22.11 | 24.96 | 21.41 | 29.01 | 78.23 | 706.6 | 9999.9 | 9999.9 | 9999.9
450 | 111 | 83.62 | 70.84 | 77.61 | 146.2 | 626 | 357.7 | 72.91 | 106.3 | 91.61 | 82.5 | 82.18 | 76.38 | 113.4 | 102.2 | 105.2 | 104.1 | 127.5 | 92.38 | 94.68 | 56.03 | 76.66 | 58.63 | 67.16 | 55.76 | 66.1 | 72.4 | 60.04 | 60.38 | 65.3 | 60.8 | 60.77 | 57.13 | 57.02 | 47.66 | 42.41 | 41.57 | 59.45 | 75.75 | 44.63 | 24.1 | 22.47 | 24.58 | 22.63 | 20.68 | 23.95 | 31.08 | 75.49 | 722.7 | 9999.9 | 9999.9
455 | 100.4 | 147.8 | 88.4 | 99.06 | 118.7 | 469.6 | 830.8 | 179.5 | 95.73 | 103.5 | 104.5 | 94.93 | 74.72 | 94.42 | 112.5 | 91.09 | 143.7 | 113.7 | 138.9 | 95.97 | 76.3 | 58.07 | 55.13 | 62.97 | 49.08 | 68.75 | 53.78 | 74.41 | 65.19 | 56.72 | 62.98 | 57.42 | 51.62 | 46.24 | 45.18 | 45.84 | 31.95 | 37.56 | 64.75 | 65.34 | 34.66 | 20.53 | 18.3 | 23.34 | 18.52 | 22.95 | 24.65 | 28.58 | 79.34 | 735.6 | 9999.9
460 | 108.1 | 96.12 | 106 | 131.5 | 113 | 160 | 1143 | 560 | 98.37 | 61.82 | 109.2 | 102.5 | 85.46 | 76.99 | 108.9 | 113.2 | 134.6 | 106.4 | 107.1 | 88.01 | 69.3 | 72.13 | 63.11 | 61.11 | 54.05 | 61.42 | 53.17 | 50.7 | 62.31 | 52.89 | 57.33 | 61.94 | 54.97 | 48.62 | 49.56 | 38.01 | 33.55 | 33.81 | 38.59 | 57.13 | 51.82 | 26.46 | 25.2 | 21.45 | 20.09 | 22.85 | 25.75 | 23.44 | 31.39 | 79.89 | 709.2
465 | 120.2 | 147.8 | 148 | 78.41 | 130.9 | 94.67 | 809.5 | 1276 | 125.9 | 117.3 | 104.9 | 109.7 | 67.72 | 85.84 | 112.8 | 104 | 99.28 | 107.5 | 85.71 | 78.08 | 70.15 | 53.64 | 69.21 | 61.75 | 53.82 | 58.79 | 61.84 | 52.28 | 53.23 | 55.89 | 60.84 | 53.13 | 51.34 | 55.14 | 46 | 43.5 | 33.14 | 30.12 | 27.16 | 35.5 | 50.28 | 40.87 | 25.99 | 19.87 | 16.96 | 19.94 | 22.84 | 21.58 | 24.56 | 32.58 | 75.11
470 | 116.5 | 107.7 | 124.9 | 77.02 | 113.5 | 91.71 | 219.3 | 1930 | 661.8 | 117.6 | 109.7 | 91.53 | 56.47 | 88.65 | 101.9 | 92.2 | 75.6 | 119.8 | 109.4 | 82.25 | 84.55 | 59.74 | 46.46 | 55.28 | 61.03 | 53.74 | 63.39 | 44.47 | 48.58 | 50.78 | 52.05 | 49.88 | 59.03 | 40.08 | 46.39 | 39.15 | 30.21 | 29.63 | 32.13 | 22.57 | 35.17 | 55.28 | 31.75 | 22.14 | 19.12 | 22.18 | 20.2 | 19.11 | 20.92 | 24.17 | 28.83
475 | 96.2 | 101.1 | 102.7 | 99.48 | 79.68 | 106.6 | 125.2 | 1239 | 1876 | 126.2 | 73.08 | 76.73 | 81.54 | 86.29 | 85.61 | 116.8 | 94.85 | 73.97 | 94.51 | 82.85 | 60.29 | 62.08 | 68.75 | 52.62 | 58.79 | 43.56 | 57.58 | 47.18 | 48.41 | 51.2 | 50.23 | 40.8 | 45.25 | 43.13 | 42.55 | 45.4 | 35.63 | 29.67 | 30.81 | 16.99 | 21.98 | 40 | 45.85 | 24.93 | 21.97 | 19.29 | 18.55 | 18.62 | 17.64 | 17.25 | 20.33
480 | 110.8 | 58.87 | 91.95 | 85.99 | 65.01 | 110.4 | 95.55 | 266.7 | 2936 | 777.9 | 74.52 | 72.22 | 59.63 | 89.53 | 86.84 | 90.96 | 87.55 | 84.02 | 63.6 | 88.76 | 67.15 | 42.87 | 54.99 | 42.83 | 52.86 | 42.79 | 49.45 | 42.05 | 47.22 | 46.4 | 49.23 | 39.39 | 46.01 | 43.78 | 36.28 | 33.43 | 38.5 | 27.32 | 23.49 | 22.22 | 16.72 | 21.31 | 37.09 | 35.61 | 21.53 | 16.92 | 15.71 | 15.53 | 16.14 | 13.54 | 16.38
485 | 86.11 | 93.76 | 106.6 | 84.87 | 91.05 | 98.19 | 73.39 | 101.7 | 1561 | 2116 | 174 | 66.68 | 85.1 | 94.33 | 79.96 | 78.76 | 90.96 | 94.66 | 74.65 | 57.52 | 59.25 | 46.77 | 41.47 | 57.85 | 43.23 | 38.83 | 43.64 | 35.92 | 43.35 | 43.13 | 39.95 | 44.22 | 44.01 | 40.09 | 36.86 | 33.75 | 27.85 | 29.26 | 22.59 | 20.11 | 18.82 | 22.81 | 26.92 | 41.17 | 28.77 | 18.39 | 16.06 | 15.7 | 14.44 | 15.34 | 14.48
490 | 66.9 | 74.11 | 90.25 | 112.5 | 102.6 | 98.72 | 94.32 | 86.36 | 394.9 | 3025 | 841.3 | 69.93 | 63.33 | 82.62 | 82.79 | 118.8 | 92.74 | 76.15 | 75.97 | 59.43 | 60.52 | 54.51 | 47.96 | 36.94 | 43.55 | 48.69 | 47.18 | 40.38 | 42.53 | 46.04 | 46.94 | 37.42 | 37.31 | 38.06 | 30.89 | 34.86 | 26.3 | 26.46 | 25.35 | 22.04 | 19.53 | 18.63 | 18.98 | 34.15 | 34.97 | 24.94 | 16.19 | 13.31 | 16.98 | 15.01 | 14.25
495 | 73.56 | 89.07 | 101.6 | 112.5 | 118 | 71.09 | 58.16 | 101.2 | 107 | 2107 | 2314 | 126.5 | 58.33 | 67.74 | 69.9 | 80.52 | 66.23 | 73.23 | 79.56 | 65.22 | 79.09 | 49.2 | 52.36 | 47.88 | 40.81 | 43.43 | 38.14 | 39.03 | 38.45 | 34.23 | 37.34 | 35.96 | 35.56 | 35.1 | 33.84 | 29.68 | 25.71 | 26.03 | 23.27 | 17.64 | 15.53 | 17.11 | 15.62 | 17.36 | 34.61 | 33.05 | 19.4 | 13.67 | 15.75 | 14.97 | 16.21
500 | 62.82 | 79.75 | 102.2 | 60.35 | 107.6 | 105.8 | 80.99 | 99.6 | 93.47 | 613.6 | 2822 | 535.3 | 75.48 | 82.99 | 94.01 | 75.91 | 89.51 | 80.45 | 62.97 | 81.85 | 51.1 | 52.67 | 55.8 | 37 | 51.37 | 41.85 | 33.83 | 36.64 | 38.5 | 36.48 | 38.98 | 29.94 | 32.51 | 30.92 | 30.02 | 32.12 | 22.57 | 28.11 | 17.61 | 21 | 18.9 | 18.33 | 14.22 | 16.55 | 20.59 | 31.61 | 28.81 | 17.44 | 13.45 | 15.03 | 12.88