## Sheet1
Report date: | 15:06:08, 04/09/2024
Sample: | 1
File name:
Run date: | 15:03:14, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/255.0 | 100.6
2 | 205.0/275.0 | 91.61
3 | 205.0/300.0 | 128.2
4 | 205.0/320.0 | 121.7
5 | 205.0/380.0 | 116
6 | 205.0/450.0 | 120.6
7 | 205.0/465.0 | 123.5
8 | 205.0/485.0 | 140.9
9 | 210.0/295.0 | 121.9
10 | 210.0/305.0 | 143.3
11 | 210.0/455.0 | 134.6
12 | 210.0/475.0 | 107.9
13 | 215.0/375.0 | 143.9
14 | 215.0/430.0 | 258.3
15 | 215.0/460.0 | 145.9
16 | 220.0/260.0 | 114.2
17 | 220.0/390.0 | 165.5
18 | 225.0/285.0 | 94.51
19 | 225.0/375.0 | 204.5
20 | 225.0/405.0 | 149.2
21 | 225.0/490.0 | 151.1
22 | 230.0/265.0 | 91.74
23 | 230.0/275.0 | 79.77
24 | 230.0/330.0 | 505.1
25 | 230.0/340.0 | 481.2
26 | 230.0/355.0 | 402.7
27 | 230.0/395.0 | 185.6
28 | 235.0/280.0 | 98.5
29 | 235.0/320.0 | 443.3
30 | 235.0/370.0 | 239.4
31 | 235.0/390.0 | 179.5
32 | 240.0/425.0 | 108.8
33 | 240.0/445.0 | 141.6
34 | 245.0/270.0 | 115.5
35 | 245.0/280.0 | 87.66
36 | 245.0/290.0 | 102.1
37 | 245.0/370.0 | 178.7
38 | 245.0/415.0 | 130.5
39 | 245.0/455.0 | 113.6
40 | 250.0/275.0 | 136.4
41 | 250.0/400.0 | 127.8
42 | 250.0/420.0 | 110.1
43 | 250.0/460.0 | 111.1
44 | 255.0/280.0 | 123.8
45 | 260.0/285.0 | 186.7
46 | 260.0/435.0 | 112.3
47 | 260.0/450.0 | 96.03
48 | 260.0/465.0 | 112.2
49 | 265.0/460.0 | 125.4
50 | 270.0/445.0 | 135.1
51 | 270.0/465.0 | 121.8
52 | 275.0/475.0 | 104.7
53 | 275.0/490.0 | 102.1
54 | 280.0/455.0 | 145.1
55 | 280.0/470.0 | 137.6
56 | 285.0/260.0 | 53.39
57 | 285.0/335.0 | 3054
58 | 285.0/475.0 | 106.1
59 | 290.0/420.0 | 205.3
60 | 290.0/465.0 | 101
61 | 290.0/480.0 | 85.99
62 | 295.0/460.0 | 91.98
63 | 295.0/475.0 | 91.17
64 | 295.0/490.0 | 81.22
65 | 300.0/255.0 | 40.52
66 | 305.0/465.0 | 90.04
67 | 310.0/265.0 | 41.99
68 | 310.0/440.0 | 70.33
69 | 310.0/490.0 | 59.56
70 | 315.0/355.0 | 232.4
71 | 315.0/470.0 | 73.93
72 | 320.0/270.0 | 33.18
73 | 320.0/360.0 | 231.8
74 | 320.0/395.0 | 74.06
75 | 320.0/410.0 | 80.67
76 | 325.0/260.0 | 27.68
77 | 325.0/365.0 | 235.1
78 | 325.0/400.0 | 78.47
79 | 325.0/420.0 | 72.82
80 | 325.0/450.0 | 76.74
81 | 325.0/480.0 | 55.48
82 | 330.0/370.0 | 218.7
83 | 330.0/405.0 | 76.08
84 | 335.0/275.0 | 26.79
85 | 335.0/380.0 | 196.5
86 | 335.0/415.0 | 76.88
87 | 335.0/430.0 | 72.75
88 | 335.0/465.0 | 64.34
89 | 340.0/295.0 | 27.49
90 | 340.0/385.0 | 199.2
91 | 340.0/405.0 | 75.54
92 | 340.0/445.0 | 67.71
93 | 345.0/265.0 | 21.66
94 | 345.0/290.0 | 25.49
95 | 345.0/390.0 | 199.7
96 | 345.0/460.0 | 60.17
97 | 345.0/490.0 | 48.56
98 | 350.0/255.0 | 22
99 | 350.0/280.0 | 23.84
100 | 350.0/305.0 | 28.27
101 | 350.0/425.0 | 73.1
102 | 350.0/440.0 | 64.15
103 | 350.0/450.0 | 65.15
104 | 350.0/465.0 | 62.12
105 | 355.0/275.0 | 20.18
106 | 355.0/405.0 | 172.1
107 | 355.0/445.0 | 62.69
108 | 355.0/455.0 | 61.11
109 | 360.0/270.0 | 18.66
110 | 360.0/285.0 | 21.7
111 | 360.0/410.0 | 169
112 | 360.0/465.0 | 59.77
113 | 360.0/495.0 | 41.91
114 | 365.0/280.0 | 18.86
115 | 365.0/290.0 | 18.51
116 | 365.0/310.0 | 24.03
117 | 365.0/420.0 | 149.8
118 | 365.0/440.0 | 59.19
119 | 365.0/470.0 | 51.49
120 | 370.0/475.0 | 47.39
121 | 375.0/260.0 | 24.08
122 | 375.0/295.0 | 19.65
123 | 375.0/430.0 | 125.2
124 | 380.0/285.0 | 19.21
125 | 380.0/320.0 | 21.19
126 | 380.0/435.0 | 100.9
127 | 380.0/465.0 | 41.05
128 | 380.0/490.0 | 35.89
129 | 385.0/275.0 | 17.74
130 | 385.0/310.0 | 16.13
131 | 385.0/325.0 | 19.08
132 | 385.0/445.0 | 92.28
133 | 390.0/450.0 | 80.52
134 | 390.0/485.0 | 27.84
135 | 395.0/295.0 | 13.18
136 | 395.0/455.0 | 66.04
137 | 400.0/285.0 | 16.07
138 | 400.0/315.0 | 11.87
139 | 400.0/335.0 | 15.36
140 | 400.0/440.0 | 27.72
141 | 400.0/465.0 | 63.2
142 | 405.0/255.0 | 15.08
143 | 405.0/345.0 | 16.68
144 | 405.0/470.0 | 59.59
145 | 410.0/265.0 | 15.73
146 | 410.0/275.0 | 13.07
147 | 410.0/295.0 | 17.18
148 | 410.0/330.0 | 11.68
149 | 410.0/475.0 | 44.3
150 | 415.0/370.0 | 14.87
151 | 415.0/455.0 | 23.21
152 | 415.0/485.0 | 37.34
153 | 420.0/305.0 | 13.5
154 | 420.0/360.0 | 14.45
155 | 420.0/490.0 | 33.09
156 | 425.0/280.0 | 12.24
157 | 425.0/315.0 | 12.82
158 | 430.0/290.0 | 10.99
159 | 430.0/365.0 | 12.12
160 | 435.0/285.0 | 11.26
161 | 435.0/295.0 | 11.47
162 | 435.0/340.0 | 9.977
163 | 435.0/350.0 | 9.446
164 | 435.0/480.0 | 18.47
165 | 440.0/270.0 | 11.44
166 | 440.0/360.0 | 10.56
167 | 440.0/375.0 | 9.856
168 | 445.0/300.0 | 11.92
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 78.41 | 72.38 | 74.37 | 79.83 | 71.2 | 90.25 | 105.6 | 92.78 | 110.7 | 3126 | 9182 | 2459 | 69.66 | 75.68 | 64.16 | 48.68 | 58.45 | 50.92 | 41.49 | 31.48 | 28.09 | 33.07 | 20.6 | 24.55 | 29.14 | 21.2 | 24.96 | 22.9 | 19.43 | 24.53 | 17.7 | 20.03 | 20.15 | 19.07 | 19.07 | 16.93 | 17.4 | 15.35 | 17.39 | 19.16 | 14.8 | 10.24 | 11.38 | 9.645 | 7.686 | 10.02 | 7.52 | 5.867 | 6.873 | 4.115 | 4.376
255 | 74.07 | 100.6 | 93.36 | 66.59 | 106.2 | 45.42 | 81.28 | 77.6 | 119 | 263.8 | 2883 | 9999.9 | 5449 | 210.2 | 57.28 | 65.39 | 46.05 | 50.47 | 45.22 | 24.57 | 40.52 | 36.94 | 24.05 | 22.12 | 28.87 | 19.94 | 22.04 | 22.57 | 21.67 | 16.13 | 22 | 20.74 | 17.94 | 20.11 | 20.39 | 23.35 | 20.81 | 17.84 | 16.78 | 14.97 | 13.12 | 15.08 | 8.407 | 10.32 | 8.928 | 8.585 | 8.43 | 8.139 | 5.158 | 7.656 | 4.813
260 | 50.62 | 85.39 | 77.3 | 68.75 | 114.2 | 72.3 | 69.05 | 86.47 | 95.8 | 72.94 | 275.2 | 3551 | 9999.9 | 7148 | 241.4 | 58.82 | 41.55 | 53.39 | 31.4 | 36.21 | 40.15 | 29.51 | 34.57 | 34.31 | 16.06 | 27.68 | 17.87 | 19.75 | 16.27 | 18.68 | 17.57 | 15.47 | 16.08 | 18.24 | 20.72 | 24.08 | 21.87 | 15.37 | 14.65 | 11.78 | 14.58 | 13.27 | 12.26 | 11.56 | 9.442 | 8.22 | 8.168 | 8.261 | 6.837 | 6.562 | 4.943
265 | 86.23 | 78.6 | 62.39 | 65.8 | 80.13 | 50.66 | 91.74 | 46.87 | 95.95 | 114.1 | 102.1 | 282.4 | 4204 | 9999.9 | 9999.9 | 274.8 | 61.15 | 44.63 | 46.97 | 26.57 | 39.48 | 33.55 | 41.99 | 21.4 | 32.4 | 26.48 | 23.15 | 21.95 | 18.9 | 21.66 | 13.2 | 16.53 | 15.52 | 12.49 | 19.34 | 20.87 | 18.3 | 15.61 | 11.99 | 14.39 | 10.27 | 14.66 | 15.73 | 12.36 | 10.56 | 9.296 | 9.128 | 8.034 | 6.942 | 7.71 | 7.239
270 | 79.48 | 58.07 | 46.6 | 66.14 | 78.93 | 68.32 | 63.77 | 61.4 | 59.56 | 115.5 | 89.01 | 103.4 | 326.6 | 5932 | 9999.9 | 9999.9 | 400.5 | 63.36 | 47.15 | 51.06 | 44.8 | 39.27 | 23.81 | 25.92 | 33.18 | 19.66 | 23.26 | 22.58 | 17.39 | 19.04 | 16.05 | 13.67 | 18.66 | 15.82 | 14.41 | 18.6 | 14.14 | 16.67 | 16.47 | 13.94 | 14.3 | 10.88 | 10.68 | 11.65 | 10.72 | 10.95 | 9.305 | 9.247 | 11.44 | 6.317 | 7.49
275 | 59.1 | 91.61 | 86.18 | 71.78 | 57.43 | 73.87 | 79.77 | 71.78 | 87.37 | 76.02 | 136.4 | 93.03 | 81.34 | 446.5 | 8655 | 9999.9 | 9999.9 | 419.9 | 63.49 | 55.55 | 59.18 | 46.12 | 37.62 | 31.52 | 32.29 | 27.19 | 24.99 | 26.79 | 22.41 | 22.29 | 16.46 | 20.18 | 16.9 | 14.29 | 12.31 | 16.76 | 15.1 | 17.74 | 16.19 | 15.31 | 12.69 | 11.59 | 13.07 | 11.41 | 9.3 | 10.69 | 9.817 | 9.526 | 8.423 | 7.042 | 8.286
280 | 59.81 | 77.55 | 60.59 | 75.2 | 48.71 | 74.67 | 66.35 | 98.5 | 77.86 | 87.66 | 77.8 | 123.8 | 82.27 | 96.33 | 619.5 | 9999.9 | 9999.9 | 9999.9 | 474.8 | 49.39 | 57.58 | 38.98 | 37.29 | 21.11 | 32.63 | 28.11 | 23.14 | 26.39 | 18.46 | 21.41 | 23.84 | 15.84 | 16.13 | 18.86 | 15.88 | 14.39 | 13.34 | 11.12 | 14.26 | 12.87 | 12.48 | 10.19 | 9.984 | 11.11 | 11.51 | 12.24 | 9.92 | 9.451 | 7.238 | 8.397 | 8.245
285 | 95.44 | 76.74 | 72.22 | 81.04 | 89.49 | 94.51 | 91.98 | 83 | 86.43 | 75.73 | 78.59 | 88.5 | 186.7 | 125.5 | 155.5 | 755.8 | 9999.9 | 9999.9 | 9999.9 | 518 | 64.86 | 53.31 | 44.16 | 40.35 | 25.33 | 26.87 | 20.78 | 20.34 | 24.23 | 23.17 | 17.68 | 18.28 | 21.7 | 13.12 | 16.86 | 17.34 | 19.21 | 15.56 | 13.21 | 15.51 | 16.07 | 14.87 | 10.9 | 10.06 | 10.77 | 10.81 | 10.16 | 11.26 | 8.143 | 9.438 | 7.193
290 | 51.38 | 76.74 | 82.93 | 92.5 | 102 | 80.61 | 93.98 | 112.4 | 78.92 | 102.1 | 68.38 | 116.4 | 140.6 | 225.1 | 169.5 | 324.4 | 906.4 | 9999.9 | 9999.9 | 9999.9 | 584.7 | 60.85 | 47.42 | 51.72 | 34.2 | 39.03 | 28.64 | 21.92 | 22.83 | 25.49 | 15.25 | 13.06 | 14.63 | 18.51 | 15.89 | 18.79 | 10.72 | 15.35 | 13.23 | 11.19 | 14.7 | 12.82 | 15.82 | 11.29 | 9.164 | 7.903 | 10.99 | 10.13 | 8.17 | 9.084 | 7.248
295 | 56.22 | 88.76 | 121.9 | 96.49 | 96.52 | 126.2 | 141.2 | 153 | 151.3 | 77.34 | 97.58 | 105.3 | 151.8 | 265.8 | 355.5 | 448.6 | 559.2 | 1184 | 9999.9 | 9999.9 | 9999.9 | 524.2 | 75.87 | 42.56 | 39.9 | 36.71 | 29.93 | 22.18 | 27.49 | 21 | 19.18 | 14.76 | 18.96 | 18.34 | 17.44 | 19.65 | 16.16 | 10.46 | 12.31 | 13.18 | 13.16 | 11.2 | 17.18 | 11.62 | 10.57 | 8.686 | 8.945 | 11.47 | 10.35 | 8.41 | 7.999
300 | 84.82 | 128.2 | 77.86 | 111.4 | 150.2 | 170.2 | 216.3 | 175.5 | 144.3 | 130.2 | 106 | 158.7 | 192.9 | 296.8 | 641.5 | 735.3 | 837.9 | 904.4 | 1190 | 9999.9 | 9999.9 | 9999.9 | 582.9 | 70.11 | 51.59 | 34.68 | 29.03 | 28.09 | 24.08 | 20.03 | 19.52 | 18.72 | 19.3 | 17.29 | 16.91 | 17.43 | 14.25 | 12.05 | 11.08 | 9.599 | 12.56 | 10.57 | 10.51 | 11.76 | 11.55 | 9.542 | 9.036 | 9.273 | 10.68 | 11.92 | 6.63
305 | 86.95 | 75.71 | 143.3 | 105.6 | 132 | 173.2 | 301.1 | 231.1 | 187.9 | 161.4 | 165.8 | 210.1 | 263.1 | 480.2 | 728.7 | 1102 | 1341 | 1231 | 933.6 | 1230 | 9999.9 | 9999.9 | 9999.9 | 509.9 | 64.04 | 49.46 | 46.83 | 31.87 | 25.44 | 23.28 | 28.27 | 16.26 | 22.4 | 22.95 | 21.96 | 16.09 | 18.8 | 11.49 | 13.6 | 8.849 | 10.03 | 9.417 | 10.23 | 12.05 | 13.5 | 11.86 | 9.664 | 8.8 | 9.468 | 9.398 | 9.849
310 | 87.58 | 112.7 | 99.44 | 114.7 | 148.4 | 255 | 314 | 222.6 | 211.5 | 153.3 | 184 | 241.9 | 371.4 | 610.9 | 838.5 | 1342 | 1637 | 1689 | 1378 | 858.2 | 1013 | 9999.9 | 9999.9 | 9999.9 | 506.6 | 65.12 | 56.59 | 38.26 | 26.17 | 24.94 | 23.04 | 20.48 | 18.03 | 24.03 | 23.48 | 21.11 | 12.75 | 16.13 | 13.34 | 8.904 | 7.855 | 10.31 | 9.643 | 10.23 | 10.8 | 12.29 | 10.05 | 10.73 | 7.664 | 10.35 | 10.39
315 | 83.86 | 107.5 | 134.1 | 133.5 | 195.7 | 345.7 | 361.4 | 341.6 | 231.9 | 170 | 216.9 | 289.3 | 445.4 | 656.6 | 979 | 1606 | 2028 | 2258 | 1972 | 1202 | 523.8 | 875.9 | 9999.9 | 9999.9 | 9999.9 | 536.2 | 69.22 | 43.35 | 37.62 | 28.26 | 27.25 | 21.96 | 24 | 17.41 | 22.53 | 17.85 | 19.06 | 14.25 | 12.09 | 9.838 | 11.87 | 10.92 | 9.429 | 8.627 | 10.59 | 12.82 | 11.21 | 11.51 | 10.07 | 9.464 | 7.818
320 | 115.3 | 121.7 | 78.08 | 126.3 | 208.8 | 307.8 | 427 | 443.3 | 326.8 | 202.7 | 192.9 | 311.1 | 492.1 | 892.9 | 1206 | 1749 | 2180 | 2489 | 2639 | 1355 | 642.2 | 294.1 | 782.5 | 9999.9 | 9999.9 | 9999.9 | 497.2 | 67.72 | 53.96 | 39.11 | 25 | 26.28 | 22.51 | 23.02 | 21.64 | 17.01 | 21.19 | 14.98 | 10.26 | 11.39 | 11.6 | 9.548 | 9.47 | 8.578 | 8.843 | 7.035 | 9.754 | 10.83 | 10.9 | 10.11 | 7.863
325 | 100.9 | 89.69 | 113 | 123.8 | 220.4 | 386.1 | 452.8 | 422.1 | 285.9 | 219.3 | 212.3 | 292.3 | 551.6 | 928 | 1412 | 2010 | 2815 | 2974 | 2522 | 1798 | 742.5 | 312.1 | 188.1 | 755.4 | 9999.9 | 9999.9 | 9999.9 | 470.3 | 64.61 | 52.1 | 42.35 | 28.34 | 27.06 | 20.83 | 23.34 | 18.46 | 17.15 | 19.08 | 14.02 | 10.48 | 10.53 | 10.12 | 10.32 | 11 | 8.968 | 9.643 | 9.867 | 9.73 | 10.33 | 10.74 | 10.63
330 | 83.57 | 83.38 | 99.32 | 143.2 | 176.4 | 377.2 | 505.1 | 345.1 | 325 | 226.1 | 244.6 | 403 | 586.3 | 1062 | 1436 | 2172 | 2814 | 2957 | 2684 | 2003 | 873 | 269.7 | 142.5 | 127.3 | 746.9 | 9999.9 | 9999.9 | 9999.9 | 472.2 | 64.86 | 49.59 | 35.87 | 35.77 | 28.39 | 22.82 | 20.77 | 17.87 | 11.96 | 12.79 | 11.52 | 11.12 | 9.144 | 11.68 | 10.38 | 10.82 | 11.2 | 7.499 | 8.874 | 11.5 | 9.501 | 11.58
335 | 106.8 | 102 | 135.4 | 137.1 | 190.9 | 302.8 | 422.8 | 444 | 265 | 226.6 | 284.6 | 412.5 | 667.8 | 1004 | 1466 | 2189 | 2727 | 3054 | 2672 | 1807 | 1000 | 316.3 | 135 | 93.71 | 132.1 | 750.3 | 9999.9 | 9999.9 | 9999.9 | 470.5 | 60.01 | 39.97 | 49.24 | 31.46 | 25.18 | 25.45 | 19.92 | 15.25 | 13.52 | 12.5 | 15.36 | 14.67 | 11 | 9.459 | 10.17 | 9.012 | 7.364 | 8.707 | 7.311 | 11.73 | 11.14
340 | 102.6 | 85.78 | 139 | 174.6 | 216.5 | 307.2 | 481.2 | 447.7 | 309.6 | 188.4 | 284.6 | 327.8 | 486.3 | 884.2 | 1384 | 2111 | 2689 | 2905 | 2579 | 1643 | 868.2 | 510.6 | 181.9 | 71.99 | 77.02 | 114.2 | 750.5 | 9999.9 | 9999.9 | 9999.9 | 461.6 | 64.02 | 43.15 | 32.66 | 28.68 | 22.59 | 18.24 | 21.15 | 12.45 | 10.39 | 13.01 | 12.95 | 10.62 | 9.603 | 9.902 | 7.503 | 7.532 | 9.977 | 9.269 | 8.864 | 10.43
345 | 78.45 | 115.8 | 148.2 | 136.9 | 256.7 | 344.1 | 359.2 | 381.3 | 271.5 | 203.7 | 235.8 | 354.9 | 558.7 | 861.5 | 1269 | 1827 | 2377 | 2649 | 2473 | 1589 | 749.6 | 417.7 | 280 | 109.1 | 56.59 | 73.36 | 126.2 | 758.5 | 9999.9 | 9999.9 | 9999.9 | 442.5 | 63.33 | 47.61 | 39.78 | 20.08 | 23.42 | 23.47 | 20.54 | 14.24 | 10.94 | 16.68 | 10.15 | 10.37 | 9.884 | 9.492 | 10.04 | 8.087 | 7.216 | 9.961 | 7.347
350 | 95.8 | 80.64 | 122.7 | 124 | 171.3 | 253.6 | 371.9 | 288.6 | 250.6 | 239.1 | 198.7 | 354 | 432.7 | 730.8 | 1186 | 1601 | 2142 | 2372 | 2104 | 1300 | 633.3 | 247.7 | 267.4 | 175.2 | 75.79 | 73.86 | 67.02 | 110 | 749.2 | 9999.9 | 9999.9 | 9999.9 | 402.9 | 70.24 | 47.18 | 35.93 | 23.12 | 22.28 | 15.53 | 15.63 | 13.42 | 15.03 | 12.23 | 8.743 | 9.11 | 7.358 | 9.138 | 9.446 | 7.271 | 8.347 | 6.128
355 | 122.3 | 111.7 | 121.1 | 139.2 | 178.5 | 241.6 | 402.7 | 249.9 | 255 | 214.5 | 216.2 | 251.8 | 418.7 | 655.1 | 1120 | 1374 | 1790 | 2088 | 1884 | 1207 | 541.9 | 268.9 | 137.6 | 232.4 | 154.1 | 67.3 | 66.67 | 72.19 | 118.6 | 762.5 | 9999.9 | 9999.9 | 9999.9 | 426.7 | 66.74 | 45.71 | 34.35 | 30.22 | 19.15 | 18.74 | 13.94 | 14.34 | 13.85 | 6.964 | 8.603 | 6.997 | 8.222 | 8.556 | 9.069 | 8.422 | 6.841
360 | 88.55 | 96.09 | 118.4 | 189.8 | 165.1 | 255.1 | 285.6 | 247.7 | 184.9 | 170.5 | 191.1 | 265.3 | 432.9 | 556.3 | 920.3 | 1235 | 1658 | 1781 | 1595 | 1011 | 523.9 | 223.6 | 110.2 | 111 | 231.8 | 134.3 | 66.19 | 59.46 | 66.56 | 121.8 | 739.2 | 9999.9 | 9999.9 | 9999.9 | 365.8 | 59.28 | 44.52 | 29.36 | 24.96 | 17.6 | 15.64 | 15.28 | 12.4 | 11.72 | 14.45 | 10.41 | 9.041 | 7.687 | 10.56 | 8.097 | 7.936
365 | 62.21 | 110.3 | 106 | 114.7 | 162.6 | 205.5 | 270.9 | 219.5 | 218.4 | 145.2 | 130.2 | 249.2 | 368.8 | 490.1 | 782.3 | 917.6 | 1488 | 1435 | 1386 | 922.5 | 438.5 | 197.3 | 93.9 | 79.64 | 125.9 | 235.1 | 104.4 | 69.19 | 50.12 | 67.53 | 127.6 | 737 | 9999.9 | 9999.9 | 9999.9 | 366.4 | 65.74 | 41.04 | 23.93 | 17.46 | 18.57 | 15.53 | 16.22 | 14.23 | 13.08 | 7.41 | 12.12 | 7.344 | 9.89 | 8.89 | 7.162
370 | 111.4 | 79.71 | 102.5 | 135.1 | 137.9 | 186.4 | 220.9 | 239.4 | 162.1 | 178.7 | 158.9 | 230.8 | 305.2 | 445.5 | 678.7 | 890.3 | 1142 | 1203 | 1217 | 793.9 | 372 | 192.6 | 80.13 | 76.94 | 72.07 | 160.3 | 218.7 | 85.61 | 58.07 | 64.97 | 64.29 | 119.9 | 765.3 | 9999.9 | 9999.9 | 9999.9 | 300.6 | 53.35 | 39.74 | 26.04 | 17.87 | 18.55 | 13.59 | 14.87 | 12.88 | 10.83 | 10.63 | 7.767 | 6.835 | 8.095 | 4.716
375 | 85.05 | 83.81 | 101.5 | 143.9 | 118.5 | 204.5 | 176.4 | 194.7 | 144.4 | 171.1 | 170 | 156.7 | 292.9 | 366.1 | 553 | 753.4 | 1019 | 1038 | 989.4 | 630.4 | 326.1 | 139.5 | 86.47 | 70.88 | 74.64 | 83.96 | 187.2 | 178.7 | 75.3 | 56.42 | 50.71 | 71.78 | 110.8 | 765.1 | 9999.9 | 9999.9 | 9999.9 | 308 | 47.49 | 35.27 | 24.67 | 22.09 | 17.09 | 12.56 | 9.904 | 12.85 | 11.9 | 7.47 | 9.856 | 8.916 | 7.49
380 | 69.68 | 116 | 63.28 | 103.5 | 117.4 | 166.2 | 186.8 | 207.8 | 124.6 | 103.6 | 129.8 | 182.4 | 209.6 | 325.8 | 485.4 | 631 | 789 | 871.8 | 720.8 | 548.6 | 266.6 | 123.1 | 87.34 | 78.75 | 60.24 | 72.09 | 83.74 | 196.5 | 132.4 | 68.15 | 64.3 | 54.95 | 65.06 | 111.8 | 751.2 | 9999.9 | 9999.9 | 9999.9 | 291.8 | 49.54 | 36.29 | 21.82 | 22.35 | 16.22 | 13.39 | 12.12 | 10.73 | 9.122 | 7.41 | 8.97 | 8.519
385 | 128.6 | 109.6 | 115.4 | 127.8 | 158.8 | 160.4 | 161.4 | 139.5 | 118.1 | 130.7 | 136.6 | 128 | 207.4 | 267.9 | 352.4 | 468.4 | 673.2 | 616.3 | 669.3 | 446.1 | 267.4 | 111.4 | 84.86 | 67.8 | 64.35 | 62.38 | 78.99 | 109.5 | 199.2 | 104.2 | 59.86 | 43.79 | 51.87 | 67.61 | 115.3 | 745.9 | 9999.9 | 9999.9 | 9999.9 | 242 | 46.67 | 29.43 | 26.46 | 18.03 | 10.95 | 14.48 | 12.42 | 10.71 | 10.46 | 8.522 | 7.169
390 | 64.79 | 118.4 | 96.94 | 144.3 | 165.5 | 162.7 | 97.4 | 179.5 | 161.5 | 157.3 | 119.6 | 102.9 | 144.3 | 213.9 | 293.5 | 428.4 | 550.5 | 506.4 | 586.5 | 377.1 | 205.2 | 104.2 | 73.86 | 77.3 | 71.73 | 68.59 | 54.95 | 65.46 | 131.1 | 199.7 | 81.8 | 48.35 | 53.52 | 44.69 | 56.47 | 103.1 | 736.1 | 9999.9 | 9999.9 | 9999.9 | 254.6 | 41.97 | 32.79 | 18.15 | 18.39 | 14.87 | 11.88 | 9.564 | 10.7 | 9.164 | 8.34
395 | 122.4 | 120 | 103.1 | 80.8 | 126.8 | 125.7 | 185.6 | 140.4 | 124.5 | 102 | 100.6 | 101.1 | 165.1 | 195.6 | 200.9 | 386.3 | 450.3 | 433.4 | 420 | 309.3 | 191.9 | 100 | 79.58 | 60.29 | 74.06 | 64.27 | 63.22 | 70.2 | 82.98 | 156.8 | 153.5 | 66.33 | 46.61 | 54.67 | 53.76 | 54.38 | 106.1 | 742.6 | 9999.9 | 9999.9 | 9999.9 | 211.9 | 38.83 | 31.43 | 21.27 | 17.83 | 13.23 | 14.01 | 12.94 | 10.54 | 8.933
400 | 82.62 | 96.64 | 87.03 | 80.8 | 95.01 | 132.5 | 132.4 | 153.6 | 98.38 | 120 | 127.8 | 116.3 | 136.6 | 199.9 | 247.3 | 281.2 | 377.7 | 339.2 | 374.4 | 257.8 | 150.4 | 86.79 | 69.01 | 73.78 | 70.59 | 78.47 | 66.34 | 58.72 | 60.65 | 76.24 | 152.6 | 126.2 | 56.38 | 51.62 | 50.58 | 48.55 | 43.11 | 97.82 | 725.7 | 9999.9 | 9999.9 | 9999.9 | 201.3 | 35.77 | 22.69 | 19.08 | 17.36 | 14.09 | 11.65 | 12.11 | 10.63
405 | 81.18 | 103.1 | 88.65 | 62.18 | 100.8 | 149.2 | 113.1 | 120 | 99.7 | 88.72 | 110 | 102.5 | 118.7 | 161.1 | 201.7 | 233.8 | 297.6 | 311.8 | 276.3 | 235 | 136.6 | 100.9 | 80.54 | 77.32 | 75.19 | 66 | 76.08 | 70.49 | 75.54 | 64.47 | 82.44 | 172.1 | 108.8 | 58.71 | 50.27 | 51.06 | 43.49 | 50.72 | 89.47 | 693.5 | 9999.9 | 9999.9 | 9999.9 | 213.1 | 40.65 | 25.44 | 18.21 | 15.8 | 14.42 | 8.867 | 10.56
410 | 105.5 | 127.5 | 91.3 | 94.82 | 87.81 | 121.9 | 122.5 | 101.3 | 100.6 | 88.31 | 94.41 | 109.5 | 100.8 | 152.1 | 188.2 | 184.4 | 238.4 | 274.5 | 224.2 | 169.2 | 116.8 | 80.27 | 73.14 | 52.88 | 80.67 | 61.31 | 66.12 | 53.47 | 70.65 | 66.75 | 62.52 | 97.37 | 169 | 82.87 | 47.44 | 45.81 | 39.82 | 46.45 | 42.35 | 81.32 | 706.1 | 9999.9 | 9999.9 | 9999.9 | 184.3 | 38.16 | 25.66 | 18.48 | 14.05 | 11.18 | 11.96
415 | 90.13 | 113.4 | 115.6 | 108.9 | 85.61 | 118.6 | 98.37 | 101.9 | 129.1 | 130.5 | 85.79 | 99.68 | 109.7 | 110.3 | 163.6 | 186.9 | 211.2 | 221.6 | 186 | 157.7 | 90.93 | 78.91 | 66.82 | 55.59 | 74.09 | 62.22 | 60.46 | 76.88 | 70.11 | 64.18 | 55.84 | 63.68 | 138 | 143.8 | 72.58 | 45.5 | 45.61 | 42.5 | 33.26 | 40.12 | 82.57 | 703.2 | 9999.9 | 9999.9 | 9999.9 | 171.2 | 37.47 | 22.42 | 16.25 | 13.05 | 12.71
420 | 65.75 | 89.32 | 146.5 | 133.6 | 108.3 | 115.7 | 84.9 | 97.1 | 88.86 | 89.87 | 110.1 | 91.29 | 101.4 | 127 | 140.9 | 154.5 | 170.8 | 161.9 | 205.3 | 147.5 | 118.6 | 92 | 74.24 | 62.47 | 55.56 | 72.82 | 72.33 | 66.72 | 62.02 | 64.89 | 64.4 | 63.22 | 69.89 | 149.8 | 133.5 | 59.27 | 46.48 | 38.53 | 29.11 | 29.15 | 36.26 | 82.13 | 702.6 | 9999.9 | 9999.9 | 9999.9 | 169.8 | 36.4 | 22.8 | 19.44 | 13.43
425 | 86.17 | 102.2 | 146.4 | 177.9 | 106.7 | 92.53 | 102 | 104.5 | 108.8 | 97.41 | 79.29 | 74.11 | 80.98 | 133.7 | 120 | 161.6 | 186.7 | 155.6 | 186 | 128.4 | 102.9 | 87.33 | 72.01 | 77.51 | 65.37 | 67.42 | 60.36 | 60.9 | 64.13 | 63.59 | 73.1 | 62.62 | 65.31 | 82.22 | 130.9 | 86.56 | 48.92 | 37.5 | 30.44 | 30.03 | 26.17 | 34.08 | 79.12 | 705 | 9999.9 | 9999.9 | 9999.9 | 150.1 | 35 | 23.63 | 15.87
430 | 93.76 | 107.6 | 89.13 | 258.3 | 148.4 | 125.3 | 115.2 | 98.8 | 83.98 | 97.19 | 95.95 | 86.91 | 91.26 | 101.4 | 116.4 | 161.1 | 152.3 | 141.2 | 159 | 110.3 | 89.47 | 85.19 | 65.1 | 68.34 | 50.92 | 63.13 | 63.13 | 72.75 | 68.29 | 69.75 | 56.19 | 56.78 | 60.93 | 64.81 | 88.38 | 125.2 | 64.41 | 41.96 | 30.29 | 23.33 | 25.98 | 25.31 | 35.68 | 74.85 | 701 | 9999.9 | 9999.9 | 9999.9 | 157.6 | 28.43 | 24.02
435 | 133.4 | 89.86 | 115.5 | 157.5 | 298.9 | 87.85 | 103 | 104.3 | 109.5 | 83.81 | 88.24 | 78.41 | 112.3 | 95.81 | 118.1 | 145 | 153 | 122.9 | 137.1 | 112 | 99.88 | 73.61 | 68.28 | 67.38 | 51.55 | 69.68 | 70.42 | 71.78 | 58.5 | 56.74 | 53.21 | 55.52 | 55.84 | 48.58 | 57.5 | 92.35 | 100.9 | 56.65 | 31.55 | 25.96 | 26.5 | 26.21 | 29.17 | 30.8 | 78.71 | 698.7 | 9999.9 | 9999.9 | 9999.9 | 159 | 32.76
440 | 67.89 | 78.88 | 114.6 | 140.3 | 362.8 | 266.6 | 122.5 | 67.43 | 131.1 | 113.4 | 105.8 | 107.7 | 97.18 | 106.1 | 128.8 | 121.7 | 142.9 | 126.7 | 127.7 | 119.2 | 84.89 | 65.82 | 70.33 | 68.26 | 63.67 | 61.88 | 62.8 | 71.27 | 59.85 | 60.97 | 64.15 | 60.74 | 50.92 | 59.19 | 50.27 | 50.81 | 87.2 | 85.68 | 36.02 | 24.24 | 27.72 | 22.58 | 22.75 | 25.45 | 29.34 | 75.62 | 697.1 | 9999.9 | 9999.9 | 9999.9 | 138.3
445 | 97.84 | 107.9 | 95.64 | 131.3 | 272.6 | 476.1 | 172.4 | 91.13 | 141.6 | 118 | 88.61 | 80.83 | 83.22 | 89.45 | 135.1 | 88.37 | 142.8 | 106.6 | 127.9 | 111.4 | 95.72 | 75.19 | 54.22 | 61.78 | 59.71 | 57.28 | 57.31 | 62.01 | 67.71 | 66.05 | 58.37 | 62.69 | 56.6 | 44.72 | 55.61 | 56.02 | 50.83 | 92.28 | 63.07 | 28.34 | 22.56 | 19.88 | 20.44 | 22.5 | 22.73 | 27.85 | 73.93 | 693.5 | 9999.9 | 9999.9 | 9999.9
450 | 92.14 | 120.6 | 71.53 | 93.67 | 123.1 | 690.9 | 292.6 | 106.6 | 100.6 | 92.36 | 80.12 | 87.98 | 96.03 | 82.41 | 104.7 | 114.1 | 124.7 | 108.8 | 128.1 | 93.3 | 72.74 | 70.73 | 70.93 | 70.4 | 60.24 | 76.74 | 57.09 | 52.27 | 60.26 | 63.8 | 65.15 | 51.84 | 52.24 | 52.46 | 52.63 | 45.16 | 45.61 | 54.78 | 80.52 | 41.74 | 27.88 | 19.84 | 19.27 | 18.36 | 19.52 | 21.36 | 28.24 | 72.29 | 699.2 | 9999.9 | 9999.9
455 | 74.77 | 112.6 | 134.6 | 106.4 | 108.8 | 464.9 | 708.8 | 129.6 | 101.6 | 113.6 | 91.77 | 93.47 | 90.56 | 89.2 | 90.18 | 86.85 | 145.1 | 126 | 113 | 82.43 | 77.3 | 70.57 | 50.83 | 59.62 | 62.64 | 64.43 | 63.11 | 46.13 | 59.22 | 53.91 | 55.07 | 61.11 | 51.55 | 48.99 | 49.89 | 42.19 | 38.75 | 40.07 | 64.22 | 66.04 | 38.39 | 19.2 | 21.55 | 23.21 | 21.84 | 22.6 | 24.75 | 25.8 | 72.39 | 702.2 | 9999.9
460 | 77.2 | 99.04 | 110.5 | 145.9 | 91.69 | 128.6 | 1068 | 421.7 | 93.08 | 92.68 | 111.1 | 86.49 | 76.6 | 125.4 | 86.75 | 83.94 | 103 | 108.4 | 77.07 | 91.98 | 70.19 | 60.09 | 54.29 | 59.16 | 53.23 | 57.15 | 62.29 | 58.33 | 58.01 | 60.17 | 53.15 | 43.66 | 54.52 | 52.69 | 43.37 | 39.63 | 30.76 | 35.87 | 37.62 | 58.94 | 51.16 | 25.06 | 17.19 | 19.5 | 16.16 | 19.69 | 20.12 | 20.18 | 24.13 | 71.73 | 698.8
465 | 60.82 | 123.5 | 104.6 | 118.8 | 95.09 | 146.5 | 692.2 | 1166 | 209.6 | 104.3 | 96.32 | 97.41 | 112.2 | 103.9 | 121.8 | 109.7 | 115.9 | 76.33 | 101 | 82.51 | 64.82 | 90.04 | 59.66 | 53.23 | 66.34 | 49.14 | 54.51 | 64.34 | 61.28 | 49.54 | 62.12 | 51.35 | 59.77 | 48.53 | 42.56 | 39.15 | 41.05 | 39.91 | 30.03 | 31.25 | 63.2 | 41.46 | 19.59 | 16.72 | 16.39 | 16 | 17.39 | 20.17 | 21.73 | 27.42 | 71.89
470 | 85.13 | 99.81 | 97.08 | 80.97 | 113.8 | 102.8 | 281.7 | 1925 | 698.1 | 108.1 | 136.8 | 92.39 | 107.8 | 96.69 | 90.32 | 91.04 | 137.6 | 87.27 | 95.61 | 74.94 | 72.95 | 69.49 | 61.52 | 73.93 | 71.53 | 49.72 | 51.72 | 48.65 | 58.4 | 48.97 | 55.81 | 52.68 | 48.7 | 51.49 | 43.15 | 42.67 | 37.39 | 28.91 | 31.45 | 29.34 | 34.9 | 59.59 | 32.68 | 22.14 | 18.42 | 18.87 | 18.36 | 18.88 | 18.1 | 22 | 25.93
475 | 101.3 | 97.43 | 107.9 | 100.6 | 93.46 | 76.53 | 130 | 1325 | 1832 | 199.8 | 99.4 | 91.57 | 95.17 | 73.34 | 81.3 | 104.7 | 96.74 | 106.1 | 75.76 | 91.17 | 55.3 | 61.22 | 48.68 | 51.16 | 54.93 | 47.53 | 40 | 42.13 | 40.68 | 45.34 | 52.69 | 47.86 | 50.94 | 43.56 | 47.39 | 39.02 | 28.01 | 28.34 | 25.58 | 21.9 | 24.79 | 35.19 | 44.3 | 28.68 | 20.16 | 19.13 | 15.73 | 14.22 | 15.69 | 15.5 | 18.75
480 | 112.4 | 101.1 | 87.19 | 95.49 | 76.72 | 88.62 | 92.47 | 249.3 | 2737 | 828.3 | 99.66 | 85.84 | 84.57 | 71.15 | 90.49 | 81.8 | 100.1 | 68.72 | 85.99 | 74.06 | 60.07 | 61.89 | 50.11 | 47.81 | 51.5 | 55.48 | 40.56 | 45.47 | 44.98 | 45.45 | 51.62 | 45.85 | 43.89 | 43.57 | 37.47 | 30.8 | 30.39 | 26.55 | 25.57 | 18.77 | 16.95 | 24.33 | 42.26 | 35.35 | 18.11 | 15.95 | 17.17 | 18.47 | 13.14 | 15.19 | 14.94
485 | 129 | 140.9 | 86.03 | 94.12 | 121.8 | 135.6 | 66.87 | 102.4 | 1552 | 2220 | 194.7 | 85.92 | 63.22 | 75.83 | 75.69 | 97.33 | 87 | 86.34 | 80.87 | 69.58 | 63.22 | 58.62 | 45.99 | 45.04 | 49.37 | 47.54 | 48.07 | 41.54 | 41.91 | 41.35 | 40.86 | 36.41 | 35.48 | 37.25 | 33.72 | 35.11 | 29.16 | 25.44 | 27.84 | 22.3 | 23.22 | 22.24 | 22.49 | 37.34 | 30.33 | 15.16 | 15.45 | 16.98 | 12.39 | 14.9 | 14.56
490 | 94.1 | 134.4 | 96.44 | 92.82 | 113.3 | 151.1 | 98.11 | 68.46 | 358.7 | 2822 | 863 | 58.17 | 67.41 | 88.65 | 97.01 | 102.1 | 85.3 | 81.03 | 72.68 | 81.22 | 68.04 | 54.1 | 59.56 | 55.84 | 45.46 | 44.95 | 34.56 | 45 | 36.61 | 48.56 | 44.1 | 40.79 | 40.98 | 38.16 | 31.41 | 27.75 | 35.89 | 22.91 | 23.15 | 20.17 | 17.48 | 18.39 | 17.52 | 24.48 | 33.09 | 22.3 | 14.06 | 13.99 | 14.73 | 15.91 | 11.11
495 | 110.7 | 69.85 | 98.69 | 73.37 | 67.2 | 86.97 | 106.2 | 101.1 | 117.4 | 1876 | 2165 | 133.5 | 78.44 | 66.98 | 96.31 | 88.88 | 62.89 | 98.89 | 68.87 | 65 | 62.75 | 52.55 | 48.58 | 48.85 | 37.95 | 36.8 | 46.93 | 46.91 | 36.83 | 46.85 | 28.11 | 37.03 | 41.91 | 32.19 | 35.39 | 38.13 | 24.94 | 27.19 | 26.78 | 20.57 | 17.86 | 17.39 | 15.63 | 14.38 | 30.41 | 30.43 | 17.29 | 14.16 | 13.26 | 16.72 | 14.26
500 | 60.36 | 107.7 | 84.93 | 81.62 | 95.51 | 108.4 | 104.6 | 94.22 | 79.37 | 607.3 | 3175 | 583.7 | 76.32 | 62.42 | 78.69 | 76.65 | 80.46 | 84.98 | 75.39 | 62.6 | 68.54 | 49.73 | 48.29 | 55.77 | 43.89 | 36.86 | 48.26 | 50.18 | 33.13 | 37.58 | 32.8 | 40.63 | 33.78 | 29.29 | 30.48 | 26.01 | 23.67 | 28.91 | 21.07 | 20.84 | 18.43 | 17.62 | 17.89 | 14.33 | 21.16 | 31.38 | 29.21 | 17.14 | 13.03 | 12.53 | 12.37