## Sheet1
Report date: | 15:10:11, 04/09/2024
Sample: | 1
File name:
Run date: | 15:07:11, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/275.0 | 106.5
2 | 205.0/300.0 | 127.4
3 | 205.0/475.0 | 122.3
4 | 205.0/495.0 | 129.8
5 | 210.0/290.0 | 124.8
6 | 210.0/380.0 | 128.9
7 | 210.0/395.0 | 130.7
8 | 210.0/420.0 | 217.4
9 | 210.0/470.0 | 141.1
10 | 210.0/490.0 | 140.4
11 | 215.0/255.0 | 101.5
12 | 215.0/390.0 | 140
13 | 215.0/400.0 | 126.2
14 | 215.0/480.0 | 117.2
15 | 220.0/270.0 | 85.28
16 | 220.0/285.0 | 117.5
17 | 220.0/475.0 | 124.8
18 | 225.0/275.0 | 101
19 | 225.0/425.0 | 129
20 | 225.0/485.0 | 132.2
21 | 230.0/255.0 | 149.5
22 | 230.0/325.0 | 484.7
23 | 230.0/340.0 | 495.9
24 | 230.0/380.0 | 244.4
25 | 230.0/405.0 | 153.4
26 | 235.0/400.0 | 148.2
27 | 240.0/410.0 | 128.3
28 | 240.0/435.0 | 145.3
29 | 245.0/265.0 | 123
30 | 245.0/395.0 | 142.5
31 | 245.0/420.0 | 108
32 | 250.0/275.0 | 103.9
33 | 250.0/400.0 | 125.9
34 | 250.0/410.0 | 121.4
35 | 250.0/450.0 | 133.2
36 | 255.0/280.0 | 162.3
37 | 255.0/395.0 | 141
38 | 255.0/420.0 | 125.3
39 | 255.0/435.0 | 101.4
40 | 255.0/455.0 | 121.9
41 | 255.0/480.0 | 128.1
42 | 260.0/285.0 | 176.9
43 | 260.0/475.0 | 127.9
44 | 265.0/440.0 | 114.5
45 | 265.0/465.0 | 113.8
46 | 265.0/490.0 | 93.24
47 | 270.0/480.0 | 89.79
48 | 275.0/450.0 | 123.7
49 | 275.0/470.0 | 125.3
50 | 280.0/455.0 | 131.9
51 | 285.0/335.0 | 3097
52 | 285.0/440.0 | 165.2
53 | 285.0/480.0 | 96.39
54 | 305.0/255.0 | 44.97
55 | 305.0/475.0 | 65.8
56 | 305.0/485.0 | 61.34
57 | 310.0/260.0 | 35.52
58 | 310.0/275.0 | 38.2
59 | 310.0/465.0 | 65.15
60 | 315.0/265.0 | 37.28
61 | 315.0/280.0 | 38.17
62 | 315.0/355.0 | 248.4
63 | 315.0/450.0 | 63
64 | 315.0/470.0 | 63.34
65 | 320.0/360.0 | 251.6
66 | 320.0/410.0 | 84.09
67 | 325.0/260.0 | 30.27
68 | 325.0/285.0 | 34.29
69 | 325.0/365.0 | 223.7
70 | 325.0/395.0 | 70.79
71 | 325.0/430.0 | 66.58
72 | 325.0/480.0 | 53.39
73 | 330.0/275.0 | 38.08
74 | 330.0/370.0 | 196.7
75 | 330.0/405.0 | 71.21
76 | 330.0/425.0 | 75.17
77 | 330.0/460.0 | 65.25
78 | 330.0/475.0 | 56.98
79 | 330.0/485.0 | 47.23
80 | 335.0/285.0 | 25.37
81 | 335.0/380.0 | 202.7
82 | 335.0/420.0 | 67.52
83 | 335.0/435.0 | 73.13
84 | 335.0/490.0 | 46.67
85 | 340.0/385.0 | 207.7
86 | 340.0/425.0 | 71.55
87 | 340.0/470.0 | 50.74
88 | 345.0/260.0 | 24.75
89 | 345.0/285.0 | 25.94
90 | 345.0/390.0 | 174.4
91 | 345.0/415.0 | 76.62
92 | 345.0/450.0 | 62.59
93 | 345.0/465.0 | 50.91
94 | 345.0/475.0 | 49.01
95 | 350.0/295.0 | 24.97
96 | 350.0/305.0 | 28.9
97 | 350.0/400.0 | 156.2
98 | 350.0/485.0 | 41.01
99 | 355.0/290.0 | 22.21
100 | 355.0/405.0 | 156.3
101 | 355.0/430.0 | 63.6
102 | 355.0/440.0 | 58.78
103 | 355.0/460.0 | 53.12
104 | 355.0/470.0 | 51.21
105 | 355.0/480.0 | 46.53
106 | 360.0/280.0 | 22.76
107 | 360.0/305.0 | 22.19
108 | 360.0/410.0 | 141.7
109 | 365.0/275.0 | 22.88
110 | 365.0/295.0 | 20.45
111 | 365.0/415.0 | 142
112 | 365.0/445.0 | 58.44
113 | 365.0/465.0 | 51.23
114 | 365.0/495.0 | 33.38
115 | 370.0/255.0 | 25.46
116 | 370.0/270.0 | 20.1
117 | 370.0/425.0 | 121.4
118 | 375.0/260.0 | 21.54
119 | 375.0/300.0 | 20.87
120 | 375.0/320.0 | 24.02
121 | 375.0/335.0 | 26.84
122 | 375.0/430.0 | 115.8
123 | 375.0/450.0 | 49.04
124 | 375.0/470.0 | 41.74
125 | 380.0/265.0 | 22.87
126 | 380.0/325.0 | 21.12
127 | 380.0/435.0 | 101.1
128 | 380.0/465.0 | 36.97
129 | 385.0/285.0 | 17.88
130 | 385.0/305.0 | 16.56
131 | 385.0/320.0 | 18.72
132 | 385.0/330.0 | 18.65
133 | 385.0/445.0 | 88.59
134 | 385.0/470.0 | 27.7
135 | 385.0/480.0 | 27.65
136 | 390.0/255.0 | 15.78
137 | 390.0/275.0 | 17.12
138 | 390.0/315.0 | 15.06
139 | 390.0/450.0 | 75.86
140 | 390.0/490.0 | 23.98
141 | 395.0/305.0 | 15.52
142 | 395.0/455.0 | 70.48
143 | 400.0/255.0 | 16.42
144 | 400.0/290.0 | 15.79
145 | 400.0/320.0 | 12.83
146 | 400.0/465.0 | 59.87
147 | 405.0/285.0 | 15.45
148 | 405.0/340.0 | 13.97
149 | 405.0/470.0 | 46.78
150 | 405.0/490.0 | 20.83
151 | 410.0/295.0 | 14.48
152 | 410.0/315.0 | 11.55
153 | 410.0/345.0 | 15.4
154 | 410.0/355.0 | 15.23
155 | 410.0/475.0 | 42.57
156 | 415.0/270.0 | 15.12
157 | 415.0/325.0 | 13.66
158 | 415.0/350.0 | 13.98
159 | 415.0/485.0 | 39.65
160 | 420.0/285.0 | 13.38
161 | 420.0/300.0 | 13.34
162 | 420.0/330.0 | 11.35
163 | 420.0/375.0 | 17.23
164 | 420.0/490.0 | 34.25
165 | 425.0/275.0 | 12.34
166 | 425.0/470.0 | 20.2
167 | 430.0/280.0 | 12.76
168 | 430.0/310.0 | 15.9
169 | 430.0/345.0 | 10.55
170 | 435.0/260.0 | 10.03
171 | 435.0/290.0 | 12.35
172 | 435.0/320.0 | 12.88
173 | 435.0/360.0 | 10.1
174 | 440.0/385.0 | 11.8
175 | 440.0/485.0 | 16.28
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 74.66 | 92.65 | 66.36 | 66.94 | 86.47 | 108.1 | 62.49 | 55.8 | 104.4 | 3141 | 9379 | 2688 | 59.44 | 69.19 | 46.95 | 55.11 | 36.98 | 49.02 | 51.52 | 34.41 | 34.66 | 26.41 | 23.67 | 31.3 | 33.02 | 21.86 | 28.06 | 16.66 | 21.33 | 17.24 | 18.1 | 24.64 | 25.82 | 23.36 | 19.49 | 20.13 | 13.84 | 15.64 | 15.3 | 15.75 | 13.89 | 15.11 | 11.89 | 10.88 | 13.17 | 9.846 | 9.978 | 7.195 | 5.108 | 5.979 | 4.996
255 | 60.38 | 50.03 | 65.06 | 101.5 | 64.77 | 59.54 | 149.5 | 77.25 | 107.2 | 273.2 | 2583 | 9999.9 | 5088 | 175.5 | 47.26 | 40.88 | 44.79 | 44.72 | 45.01 | 42.43 | 39.06 | 44.97 | 28.94 | 25.93 | 20.77 | 25.58 | 20.44 | 21.12 | 15.05 | 23.36 | 16.75 | 23.9 | 14.5 | 21.03 | 25.46 | 18.14 | 14.82 | 14.36 | 15.78 | 13.21 | 16.42 | 10.75 | 12.32 | 12.59 | 10.83 | 9.364 | 9.884 | 9.226 | 7.048 | 6.621 | 5.348
260 | 98.43 | 84.4 | 62.65 | 62.15 | 62.13 | 78.42 | 82.34 | 85.73 | 98.53 | 90.01 | 226.4 | 3365 | 9999.9 | 7092 | 256.4 | 65.52 | 55.21 | 39.74 | 56.12 | 55.85 | 39.89 | 24.39 | 35.52 | 23.77 | 28.77 | 30.27 | 22.33 | 19.1 | 22.94 | 24.75 | 16.33 | 16.93 | 21.1 | 18.38 | 14.57 | 21.54 | 19.25 | 14.05 | 15.16 | 14.91 | 11.07 | 11.56 | 11.77 | 12.54 | 8.911 | 8.768 | 8.658 | 10.03 | 5.819 | 7.63 | 6.733
265 | 69.95 | 86.47 | 79.78 | 73.12 | 73.49 | 81.07 | 121.4 | 62.68 | 113.4 | 123 | 94.82 | 278.6 | 4379 | 9999.9 | 9865 | 287.5 | 64.37 | 50.4 | 40.54 | 53.97 | 38.67 | 33.12 | 27.02 | 37.28 | 26.28 | 19.21 | 17.81 | 21.06 | 20.43 | 21.77 | 16.23 | 12.57 | 19.13 | 14.8 | 13.78 | 17.62 | 22.87 | 19.64 | 13.88 | 16.27 | 13.57 | 14.3 | 12.37 | 12.46 | 10.64 | 9.056 | 9.553 | 8.721 | 9.319 | 8.943 | 6.635
270 | 111.8 | 88.25 | 92.03 | 71.26 | 85.28 | 53.81 | 82.27 | 77.68 | 85.91 | 102.8 | 94.78 | 114.8 | 346.6 | 6098 | 9999.9 | 9999.9 | 426.6 | 49.23 | 58.36 | 41.92 | 40.59 | 35.13 | 32.14 | 26.65 | 22.36 | 18.42 | 19.62 | 19.12 | 19.15 | 17.36 | 16.6 | 15.06 | 13.79 | 18.17 | 20.1 | 16.55 | 17.32 | 18.43 | 16.7 | 17.35 | 11.79 | 12.7 | 14.47 | 15.12 | 10.59 | 8.909 | 9.266 | 10.42 | 9.293 | 9.403 | 7.368
275 | 77.46 | 106.5 | 67.95 | 61.8 | 75.84 | 101 | 77.53 | 67.49 | 55.89 | 99.48 | 103.9 | 83.04 | 80.34 | 453.2 | 7918 | 9999.9 | 9999.9 | 448.5 | 49.46 | 45.3 | 29.95 | 36.28 | 38.2 | 33.09 | 25.13 | 28.39 | 38.08 | 28.94 | 24.9 | 19.81 | 17.77 | 18.64 | 15.78 | 22.88 | 17.17 | 16.22 | 12.81 | 14.58 | 17.12 | 12.61 | 10.71 | 12.28 | 13.2 | 10.45 | 11.5 | 12.34 | 11.51 | 11.73 | 9.204 | 7.503 | 9.362
280 | 84.66 | 98.21 | 64.97 | 65.72 | 98.07 | 67.35 | 57.42 | 73.38 | 84.85 | 90.94 | 83.32 | 162.3 | 130.4 | 117.4 | 577 | 9999.9 | 9999.9 | 9999.9 | 440.6 | 60.79 | 49.6 | 39.41 | 31.26 | 38.17 | 36.78 | 31.76 | 30.58 | 23.36 | 22.41 | 18.56 | 17.38 | 18 | 22.76 | 18.62 | 18.73 | 14.82 | 12.49 | 11.53 | 17.12 | 14.29 | 13.88 | 11.85 | 12.5 | 11.36 | 11.9 | 12.02 | 12.76 | 10.78 | 8.246 | 7.653 | 7.464
285 | 64.83 | 67.92 | 97.89 | 72.01 | 117.5 | 89.49 | 86.1 | 103.8 | 87.95 | 82.91 | 55.94 | 110.1 | 176.9 | 142.7 | 145.1 | 756.7 | 9999.9 | 9999.9 | 9999.9 | 616.1 | 82.15 | 58.17 | 33.82 | 35.13 | 28.43 | 34.29 | 19.96 | 25.37 | 21.54 | 25.94 | 20.78 | 16.63 | 19.42 | 18.38 | 14.88 | 10.95 | 15.39 | 17.88 | 10.28 | 13.45 | 11.4 | 15.45 | 12.57 | 11.79 | 13.38 | 9.805 | 11.5 | 10.93 | 9.592 | 7.997 | 5.774
290 | 58.84 | 89.24 | 124.8 | 99.61 | 88.46 | 77.95 | 141.7 | 126.3 | 86.22 | 82.79 | 81.15 | 66.11 | 130.6 | 230.6 | 184.5 | 311.2 | 939.6 | 9999.9 | 9999.9 | 9999.9 | 572.5 | 56.82 | 48.59 | 39.24 | 38.33 | 28.83 | 24.69 | 23.78 | 24.12 | 23.63 | 20.23 | 22.21 | 16.15 | 17.63 | 14.32 | 15.07 | 13.24 | 12.96 | 13.38 | 12.55 | 15.79 | 10.94 | 13.9 | 12.79 | 11.25 | 9.933 | 12.16 | 12.35 | 8.621 | 8.324 | 8.282
295 | 104.2 | 105 | 102.6 | 95.51 | 112.2 | 128.6 | 182.4 | 139.3 | 130.9 | 102.5 | 99.62 | 148.8 | 136.1 | 267.4 | 425.9 | 491.9 | 598.9 | 1182 | 9999.9 | 9999.9 | 9999.9 | 579.5 | 56.86 | 54.26 | 43.76 | 33.88 | 31.41 | 28.2 | 23.13 | 22.3 | 24.97 | 18.85 | 20.17 | 20.45 | 15.75 | 14.69 | 15.27 | 13.32 | 12.99 | 12.84 | 14.61 | 10.87 | 14.48 | 11.7 | 11.86 | 9.558 | 8.434 | 9.677 | 10.54 | 8.901 | 8.573
300 | 64.8 | 127.4 | 125.1 | 84.04 | 141.3 | 201.7 | 221 | 181.6 | 171.6 | 122.1 | 86.52 | 157.1 | 186 | 382.7 | 559.3 | 818.7 | 917.6 | 974.2 | 1292 | 9999.9 | 9999.9 | 9999.9 | 619.7 | 62.87 | 41 | 46.8 | 42.6 | 33.32 | 26.07 | 23.18 | 21.5 | 16.32 | 18.89 | 14.64 | 13.91 | 20.87 | 17.91 | 11.93 | 12.15 | 12.98 | 10.79 | 11.65 | 10.74 | 12.67 | 13.34 | 9.699 | 10.43 | 9.117 | 11.28 | 10.36 | 10.81
305 | 94.18 | 104.8 | 99.8 | 144.3 | 166.6 | 230 | 295.5 | 256.4 | 243.1 | 121.9 | 165.4 | 213.2 | 290.6 | 462.7 | 769.8 | 1263 | 1290 | 1353 | 1137 | 1293 | 9999.9 | 9999.9 | 9999.9 | 564.3 | 72.96 | 49.53 | 47.1 | 24.17 | 24.97 | 28.41 | 28.9 | 19.67 | 22.19 | 20.89 | 15.91 | 16.36 | 14.24 | 16.56 | 10.53 | 15.52 | 10.52 | 12.27 | 11.86 | 11.43 | 13.26 | 13.54 | 10.73 | 7.832 | 8.761 | 9.327 | 8.977
310 | 60.89 | 106.2 | 102.4 | 173.8 | 159.8 | 256.1 | 317 | 295.4 | 200.2 | 124.5 | 182.5 | 244.1 | 402 | 560.3 | 1014 | 1320 | 1794 | 1732 | 1559 | 916.2 | 1039 | 9999.9 | 9999.9 | 9999.9 | 549.1 | 62.34 | 50.95 | 52.26 | 30.51 | 23.35 | 28.44 | 23.62 | 18.7 | 18.79 | 19.87 | 15.72 | 12.85 | 16.12 | 10.27 | 12.73 | 10.97 | 9.957 | 9.977 | 10.28 | 10.86 | 13.73 | 15.9 | 9.887 | 10.75 | 10.2 | 9.749
315 | 78.11 | 85.98 | 121.1 | 135.3 | 183.9 | 271 | 369.5 | 357 | 257.3 | 157.4 | 200.2 | 285.1 | 458.3 | 690.1 | 1189 | 1586 | 2102 | 2625 | 2070 | 1207 | 522.7 | 893.4 | 9999.9 | 9999.9 | 9999.9 | 556.7 | 73.49 | 53.06 | 36.37 | 30.27 | 21.62 | 26.09 | 23.52 | 21.14 | 20.53 | 19 | 13.47 | 14.27 | 15.06 | 9.119 | 9.101 | 9.563 | 11.55 | 9.382 | 11 | 11.26 | 13.77 | 12.6 | 9.854 | 9.547 | 9.529
320 | 123 | 105.5 | 108 | 153 | 225.3 | 323 | 458 | 411.7 | 254.7 | 193.9 | 247.9 | 340.8 | 560 | 904.2 | 1349 | 1985 | 2547 | 2903 | 2634 | 1379 | 672.9 | 322.1 | 799.4 | 9999.9 | 9999.9 | 9999.9 | 494 | 67.46 | 54.49 | 34.42 | 34.99 | 32.12 | 22.23 | 24.5 | 20.5 | 24.02 | 14.3 | 18.72 | 12.3 | 11.5 | 12.83 | 11.45 | 10.98 | 9.262 | 10.98 | 9.06 | 10.38 | 12.88 | 11.67 | 8.521 | 10.48
325 | 116.5 | 103.9 | 139.5 | 181 | 228.6 | 411 | 484.7 | 385.8 | 306.6 | 221.2 | 229.2 | 340.9 | 550.2 | 1042 | 1385 | 2225 | 2821 | 2893 | 2775 | 1779 | 748.9 | 301 | 164.6 | 772.9 | 9999.9 | 9999.9 | 9999.9 | 540.8 | 59.36 | 55.77 | 36.37 | 30.44 | 26.12 | 26.55 | 20.17 | 18.55 | 21.12 | 13.7 | 14.78 | 11.58 | 11.18 | 9.557 | 8.64 | 13.66 | 8.739 | 7.838 | 9.492 | 11.77 | 11.86 | 12.53 | 9.751
330 | 99.42 | 125.8 | 97.63 | 153.8 | 207.6 | 390 | 476.5 | 383 | 225.1 | 211.8 | 261.5 | 373.8 | 586.4 | 1039 | 1432 | 2315 | 2853 | 3069 | 2673 | 1902 | 906.3 | 291.5 | 121.8 | 144.6 | 755.4 | 9999.9 | 9999.9 | 9999.9 | 520.3 | 73.45 | 52.91 | 41.74 | 28.37 | 28.32 | 23.68 | 16.25 | 18.58 | 18.65 | 15.1 | 15.33 | 12.39 | 11.26 | 9.615 | 8.477 | 11.35 | 10.37 | 10.82 | 9.977 | 11.26 | 13.22 | 12.6
335 | 133.1 | 108.1 | 119.1 | 172.6 | 265.9 | 428.7 | 444.4 | 402.7 | 233.5 | 292.9 | 270.1 | 372.8 | 681 | 955.6 | 1485 | 2215 | 2794 | 3097 | 2863 | 1852 | 1054 | 376 | 144.6 | 96.92 | 133.6 | 743.8 | 9999.9 | 9999.9 | 9999.9 | 493 | 74.91 | 56.51 | 38.4 | 33.04 | 22.71 | 26.84 | 19.19 | 16.44 | 15.49 | 12.93 | 11.74 | 13.28 | 9.963 | 7.801 | 9.163 | 9.791 | 10.53 | 8.489 | 10.46 | 12.03 | 12.76
340 | 91.02 | 104.4 | 102.5 | 138.9 | 213 | 356.8 | 495.9 | 392.2 | 328.7 | 215.3 | 263 | 380.9 | 622.8 | 911.1 | 1518 | 2111 | 2752 | 3052 | 2868 | 1758 | 811.6 | 510.7 | 186.2 | 84.69 | 69.13 | 123.8 | 755.4 | 9999.9 | 9999.9 | 9999.9 | 520 | 72.82 | 53.06 | 39.77 | 32.78 | 25.84 | 21.77 | 17.57 | 13.36 | 11.6 | 11.37 | 13.97 | 8.8 | 12.04 | 9.999 | 9.193 | 9.41 | 7.955 | 9.281 | 9.679 | 9.908
345 | 128.5 | 160.3 | 139.3 | 144.2 | 195.7 | 341.9 | 439.1 | 322.8 | 276.1 | 211.3 | 223.9 | 397.8 | 556.7 | 1011 | 1337 | 2021 | 2550 | 2800 | 2581 | 1615 | 795.1 | 395 | 270 | 98.23 | 67.04 | 78.55 | 125.8 | 749.6 | 9999.9 | 9999.9 | 9999.9 | 445.9 | 68.17 | 60.01 | 33.12 | 24.32 | 19.33 | 23.35 | 17.85 | 14.51 | 15.96 | 13.96 | 15.4 | 10.59 | 9.381 | 10.23 | 10.55 | 9.407 | 8.024 | 10.36 | 8.167
350 | 82.78 | 92.94 | 144.6 | 141.7 | 175.2 | 241.2 | 400.9 | 350.2 | 293.1 | 193.1 | 242.8 | 325 | 503.6 | 784.5 | 1288 | 1710 | 2161 | 2400 | 2426 | 1385 | 728.4 | 305.5 | 286.7 | 223.6 | 78.26 | 66.61 | 77.54 | 118.9 | 748.2 | 9999.9 | 9999.9 | 9999.9 | 447.3 | 68.85 | 51.39 | 32.44 | 31.16 | 26.29 | 17.07 | 12.24 | 15.2 | 13.78 | 12.21 | 13.98 | 10.43 | 9.111 | 8.611 | 6.502 | 8.674 | 11.95 | 8.583
355 | 65.45 | 101.9 | 112.2 | 116.9 | 161.5 | 284.1 | 376.2 | 321.1 | 267.3 | 191.2 | 199.9 | 281.5 | 361.5 | 689.5 | 1027 | 1550 | 1968 | 2096 | 2091 | 1296 | 620.6 | 273.8 | 149.8 | 248.4 | 151.3 | 74.1 | 69.24 | 65.09 | 126.8 | 750 | 9999.9 | 9999.9 | 9999.9 | 441.6 | 58.98 | 51.33 | 28.79 | 28.83 | 18.5 | 15.29 | 17.03 | 12.5 | 15.23 | 11.89 | 11.01 | 8.217 | 9.315 | 8.287 | 9.214 | 10.05 | 6.66
360 | 91.28 | 110.3 | 132.4 | 142.1 | 172.3 | 254.4 | 317.3 | 310.9 | 221.5 | 151.7 | 214.4 | 241.8 | 403.6 | 629.4 | 823.4 | 1320 | 1642 | 1911 | 1650 | 1116 | 528.8 | 219.8 | 109.7 | 109.1 | 251.6 | 129.7 | 60.46 | 62.39 | 62.08 | 114.3 | 747.5 | 9999.9 | 9999.9 | 9999.9 | 394 | 67.52 | 45.51 | 35.18 | 23.53 | 19.43 | 17.95 | 15.47 | 11.57 | 11.78 | 10.89 | 6.856 | 7.189 | 10.1 | 7.546 | 9.249 | 7.778
365 | 109 | 107.4 | 118.7 | 143.8 | 163.9 | 211.3 | 273.6 | 261.2 | 159 | 185 | 172 | 211.6 | 353.2 | 531.5 | 714.6 | 1119 | 1466 | 1490 | 1528 | 959.8 | 456.5 | 217.9 | 102.4 | 69.73 | 134.5 | 223.7 | 99.44 | 64.05 | 60.33 | 70.56 | 122.4 | 749.1 | 9999.9 | 9999.9 | 9999.9 | 372 | 57.62 | 44.25 | 28.54 | 24.14 | 19.59 | 15.84 | 16.18 | 10.21 | 11.91 | 8.31 | 8.712 | 8.511 | 10.15 | 8.782 | 9.445
370 | 143.7 | 81.69 | 103 | 154.1 | 139.7 | 178 | 262.5 | 200.2 | 145.3 | 155.5 | 140.6 | 201.9 | 271.3 | 378.3 | 576.7 | 942.2 | 1115 | 1275 | 1181 | 710.7 | 383.2 | 176.8 | 92.13 | 60.22 | 79.83 | 165.7 | 196.7 | 87.94 | 61.41 | 54.66 | 67.72 | 119.3 | 769.7 | 9999.9 | 9999.9 | 9999.9 | 327.6 | 56.99 | 39.43 | 29.57 | 19.72 | 15.1 | 15.84 | 13.36 | 11.32 | 10.26 | 9.76 | 8.105 | 8.9 | 8.732 | 8.485
375 | 87.81 | 98.2 | 83.99 | 118.5 | 136.6 | 190.2 | 198.7 | 222.3 | 144.3 | 158.8 | 175.9 | 193.6 | 266.3 | 392.1 | 583 | 773.9 | 859.5 | 1067 | 947.2 | 653.9 | 366.2 | 156.9 | 93.81 | 59.44 | 63.14 | 75.58 | 190.5 | 174.5 | 67.51 | 64.69 | 56.12 | 67.27 | 122.5 | 773.7 | 9999.9 | 9999.9 | 9999.9 | 312.1 | 45.69 | 40.18 | 25.79 | 18.15 | 15.77 | 13.92 | 17.23 | 10.77 | 11.07 | 8.683 | 9.622 | 9.422 | 8.155
380 | 101 | 118.3 | 128.9 | 117.7 | 86.13 | 195.5 | 244.4 | 149.2 | 174.5 | 121.4 | 105.2 | 147.1 | 218.5 | 270.8 | 425.1 | 608.5 | 858 | 941.6 | 873.6 | 599.3 | 295.5 | 139.8 | 88.95 | 68.85 | 57.23 | 67.87 | 93.01 | 202.7 | 140.4 | 66.5 | 55.24 | 58.62 | 61.64 | 117.7 | 749.6 | 9999.9 | 9999.9 | 9999.9 | 307.4 | 50.51 | 36.37 | 25.58 | 19.75 | 16.13 | 13.37 | 12.06 | 12.96 | 10.48 | 8.277 | 7.946 | 8.136
385 | 59.25 | 90.75 | 92.83 | 122.8 | 140 | 144.6 | 186.1 | 153.7 | 145.6 | 115.5 | 142.4 | 148.4 | 171.1 | 310.6 | 346.8 | 510.9 | 649.1 | 811.4 | 666.8 | 500 | 221.7 | 130.2 | 90.99 | 68.5 | 60.98 | 63.33 | 76.27 | 121.9 | 207.7 | 112.3 | 56.9 | 46.63 | 56.7 | 65.54 | 99.87 | 743.6 | 9999.9 | 9999.9 | 9999.9 | 253.7 | 42.04 | 32.87 | 22.64 | 16.85 | 14.45 | 13.01 | 12.44 | 8.706 | 11.8 | 10.41 | 8.55
390 | 93.66 | 74.55 | 124.6 | 140 | 105.4 | 122.3 | 176.8 | 135.8 | 136.9 | 115.2 | 124.3 | 120.3 | 147.6 | 262 | 358.4 | 414.1 | 550.5 | 558.7 | 510.3 | 367.1 | 183.3 | 125.3 | 79.7 | 51.87 | 57.17 | 57.29 | 60.76 | 67.59 | 135.6 | 174.4 | 77.11 | 55.04 | 53 | 53.31 | 67.24 | 97.53 | 746.4 | 9999.9 | 9999.9 | 9999.9 | 280.2 | 44.73 | 31.82 | 21.88 | 18.48 | 12.23 | 11.6 | 10.45 | 11.03 | 9.499 | 9.059
395 | 78.86 | 100.5 | 130.7 | 102.3 | 94.61 | 94.29 | 175.2 | 125.3 | 115.7 | 142.5 | 114.1 | 141 | 122.7 | 184 | 286 | 345.2 | 450.7 | 492 | 436.3 | 292.8 | 169.1 | 128.2 | 65.84 | 58.24 | 66.49 | 70.79 | 68.13 | 55.04 | 66.51 | 164.1 | 138.4 | 66.09 | 51.56 | 49.14 | 42.7 | 46.14 | 103.3 | 747.4 | 9999.9 | 9999.9 | 9999.9 | 225.7 | 47.01 | 29.31 | 18.49 | 17.9 | 12.53 | 11.89 | 10.23 | 10.29 | 8.502
400 | 84.02 | 94.3 | 86.19 | 126.2 | 113.5 | 126.4 | 115.8 | 148.2 | 98.45 | 125 | 125.9 | 102.7 | 84.23 | 185.3 | 222.9 | 285 | 437.6 | 366.5 | 388.9 | 238.9 | 149.4 | 103.3 | 58.39 | 68.39 | 65.44 | 66 | 70.4 | 56.28 | 67.97 | 77.27 | 156.2 | 127.8 | 63.13 | 49.61 | 40.12 | 55.02 | 54.83 | 102.4 | 727.4 | 9999.9 | 9999.9 | 9999.9 | 207.4 | 42.41 | 30.49 | 20.65 | 15.36 | 14.93 | 11.3 | 7.92 | 10.05
405 | 96.68 | 98.15 | 78.6 | 109.1 | 116.2 | 136.5 | 153.4 | 107.1 | 114.6 | 101.4 | 105.9 | 130.1 | 129.9 | 172.7 | 210.8 | 254.9 | 340.2 | 346.8 | 287.8 | 252 | 145.2 | 99.87 | 77.55 | 67.13 | 55.72 | 68.72 | 71.21 | 66.96 | 63.38 | 62.49 | 79.9 | 156.3 | 112.1 | 54.38 | 43.41 | 46.39 | 43.9 | 49.44 | 87.38 | 700.7 | 9999.9 | 9999.9 | 9999.9 | 218.8 | 38.87 | 28.07 | 18.76 | 15.7 | 11.88 | 10.63 | 11.47
410 | 61.27 | 102.1 | 98.36 | 130.4 | 93.68 | 94.82 | 110.5 | 89.19 | 128.3 | 103.7 | 121.4 | 114.4 | 119.4 | 103.5 | 173.3 | 186 | 244.7 | 236 | 267.9 | 178.4 | 118.5 | 68.6 | 67.88 | 71.27 | 84.09 | 69.5 | 58.84 | 63.91 | 61.6 | 55.08 | 58.04 | 94.32 | 141.7 | 75.08 | 40.2 | 39.41 | 43.66 | 37.41 | 37.94 | 86.73 | 717.8 | 9999.9 | 9999.9 | 9999.9 | 201.6 | 34.7 | 28.38 | 17.41 | 13.54 | 12.74 | 8.595
415 | 138.7 | 102.4 | 183.4 | 127.7 | 129 | 127.5 | 131.6 | 112.4 | 117.7 | 105.8 | 115.4 | 124.5 | 108.9 | 133 | 145 | 198.6 | 250.6 | 224.6 | 211.1 | 165.9 | 116.4 | 85.74 | 75.33 | 58.92 | 72.02 | 65.76 | 60.83 | 53.59 | 60.67 | 76.62 | 58.5 | 65.48 | 124.6 | 142 | 65.7 | 42.31 | 37.45 | 33.46 | 38.16 | 36.48 | 88.4 | 719.7 | 9999.9 | 9999.9 | 9999.9 | 206 | 34.38 | 27.34 | 19.68 | 15.03 | 12.02
420 | 91.18 | 85.37 | 217.4 | 154 | 136.6 | 92.24 | 77.8 | 108.3 | 101.2 | 108 | 86.61 | 125.3 | 87.77 | 142.7 | 145.9 | 148.2 | 184.7 | 222.8 | 207.6 | 143.1 | 88.78 | 86.62 | 77.5 | 64.92 | 61.64 | 59.54 | 56.91 | 67.52 | 54.05 | 67.83 | 63.87 | 54.56 | 73.89 | 141.2 | 117.7 | 55.01 | 43.07 | 37.85 | 31.5 | 33.57 | 36.21 | 82.22 | 712.2 | 9999.9 | 9999.9 | 9999.9 | 186.4 | 34.16 | 25.12 | 16.41 | 11.59
425 | 59.35 | 114.4 | 182.1 | 212.3 | 87.79 | 129 | 109.4 | 80.17 | 106.3 | 94.78 | 80.36 | 108.4 | 94.86 | 125.3 | 114.8 | 151.2 | 185.3 | 145.9 | 176 | 138.3 | 92.27 | 75.37 | 74.9 | 62.88 | 54.02 | 61.75 | 75.17 | 60.88 | 71.55 | 57.36 | 61.23 | 51.38 | 50.7 | 76.99 | 121.4 | 91.83 | 38.02 | 31.64 | 30.67 | 34.05 | 27.65 | 32.24 | 80.38 | 705.1 | 9999.9 | 9999.9 | 9999.9 | 162.5 | 36.29 | 25.47 | 15.48
430 | 93.44 | 114.3 | 104.8 | 287.7 | 195.2 | 101.1 | 101.9 | 103 | 106.2 | 70.05 | 85.71 | 87.35 | 90.05 | 99.27 | 107.9 | 154.3 | 183.5 | 161.2 | 138.5 | 115.4 | 91.87 | 70.55 | 52.02 | 53.03 | 60.33 | 66.58 | 50.08 | 57.97 | 71.5 | 60.75 | 49.61 | 63.6 | 54.83 | 54.07 | 81.37 | 115.8 | 55.11 | 37.9 | 31.06 | 23.35 | 27.69 | 26.3 | 32.98 | 80.43 | 701 | 9999.9 | 9999.9 | 9999.9 | 162.6 | 38.91 | 24.27
435 | 109.6 | 87.22 | 98.3 | 179.4 | 334.3 | 101.5 | 103.7 | 131.9 | 145.3 | 93.42 | 88.18 | 101.4 | 81.79 | 106.5 | 100.4 | 127.7 | 111.9 | 130.3 | 134.7 | 99.75 | 101.1 | 68.47 | 66.37 | 60.4 | 54.67 | 60.47 | 56.27 | 73.13 | 68.75 | 55.98 | 55.39 | 48.61 | 51.35 | 46.66 | 49.84 | 86.62 | 101.1 | 46.36 | 27.85 | 28.04 | 25.74 | 24.57 | 24.01 | 32.75 | 75.1 | 712.1 | 9999.9 | 9999.9 | 9999.9 | 171.3 | 31.68
440 | 87.6 | 95 | 97.09 | 113.1 | 411.7 | 208.1 | 90.32 | 109 | 90.43 | 97.18 | 79.93 | 69.8 | 81.52 | 114.5 | 104.3 | 115.9 | 106.2 | 165.2 | 151.3 | 85.62 | 103.9 | 67.32 | 72.05 | 59.11 | 47.56 | 57.38 | 64.02 | 71.14 | 62.41 | 55.1 | 55.53 | 58.78 | 47.61 | 51.22 | 48.1 | 49.15 | 92.69 | 78.02 | 36.4 | 25.93 | 24.25 | 25 | 23.25 | 25.88 | 32.61 | 75.74 | 706.9 | 9999.9 | 9999.9 | 9999.9 | 138
445 | 103.2 | 98.95 | 108.2 | 134.1 | 299.7 | 391 | 154.2 | 117 | 123.5 | 83.31 | 60.69 | 91.08 | 86.91 | 89.2 | 112.2 | 118.1 | 102.3 | 154.3 | 122.9 | 86.69 | 60.69 | 58.49 | 59.34 | 50.69 | 53.65 | 58.16 | 60.88 | 65.01 | 57.28 | 59.71 | 53.55 | 58.65 | 50.58 | 58.44 | 44.28 | 42.33 | 47.58 | 88.59 | 55.56 | 28.81 | 20.5 | 23.69 | 20.86 | 18.83 | 25.23 | 31.63 | 78.7 | 705.2 | 9999.9 | 9999.9 | 9999.9
450 | 119.4 | 119.2 | 64.94 | 98.34 | 156.6 | 674.7 | 315.4 | 85.81 | 126.9 | 115.7 | 133.2 | 86.66 | 86.11 | 110.5 | 119.4 | 123.7 | 111 | 100.5 | 118.6 | 86.8 | 71.44 | 62.83 | 59.91 | 63 | 52.73 | 55.13 | 54.82 | 57.81 | 55.58 | 62.59 | 58.33 | 54.3 | 51.11 | 48.87 | 42.51 | 49.04 | 38.22 | 55.02 | 75.86 | 42.13 | 21.61 | 20.12 | 20.99 | 20.43 | 23.65 | 27.92 | 28.11 | 76.42 | 707.5 | 9999.9 | 9999.9
455 | 125.3 | 112.9 | 96.23 | 131.1 | 109.1 | 380.9 | 835.1 | 150.9 | 145.9 | 90.72 | 100.6 | 121.9 | 86.76 | 88.31 | 97.34 | 117.4 | 131.9 | 99.11 | 117 | 86.67 | 63.24 | 58.77 | 60.79 | 52.16 | 51.08 | 47.48 | 50.25 | 56.81 | 53.82 | 47.22 | 50.44 | 47.92 | 50.55 | 44.34 | 45.93 | 38.67 | 34.04 | 35.28 | 54.33 | 70.48 | 34.87 | 17.5 | 18.01 | 19.21 | 18.98 | 19.98 | 23.45 | 26.8 | 73.91 | 717.5 | 9999.9
460 | 91.8 | 109 | 92.43 | 98.47 | 91.95 | 173.1 | 1147 | 435.3 | 143 | 118.7 | 101.5 | 105.7 | 103.4 | 86.27 | 88.84 | 111.7 | 126 | 101.6 | 110 | 79.24 | 78.98 | 63.99 | 57.99 | 46.33 | 57.35 | 51.94 | 65.25 | 46.82 | 44.91 | 49.8 | 50.56 | 53.12 | 51.34 | 44.87 | 44.38 | 35.82 | 32.61 | 32.01 | 34.98 | 57.34 | 55.64 | 29.6 | 18.31 | 19.01 | 20.54 | 18.82 | 18.63 | 23.1 | 27.2 | 76.24 | 690.6
465 | 93.83 | 92.52 | 125.8 | 112 | 103.8 | 108.7 | 737.5 | 1260 | 166.9 | 147.5 | 117.3 | 102.4 | 90.88 | 113.8 | 78.6 | 107 | 112.3 | 98.94 | 106.7 | 84.93 | 70.32 | 57.93 | 65.15 | 58.54 | 58.65 | 58.65 | 48.53 | 45.08 | 49.77 | 50.91 | 48.68 | 43.17 | 48.12 | 51.23 | 35.12 | 34.89 | 36.97 | 26.09 | 29.71 | 35.06 | 59.87 | 44.87 | 22.68 | 19.38 | 16.42 | 19.65 | 21.04 | 20.25 | 23.39 | 26.5 | 70.88
470 | 124.8 | 85.3 | 141.1 | 86.27 | 104.8 | 99.7 | 229 | 1664 | 770.4 | 96.49 | 111.6 | 71.04 | 73.93 | 113.5 | 97.31 | 125.3 | 121.3 | 93.3 | 79.55 | 74.99 | 57.56 | 55.36 | 61.7 | 63.34 | 53.71 | 48.5 | 48.27 | 42.35 | 50.74 | 45.92 | 49.21 | 51.21 | 50.92 | 40.92 | 35.41 | 41.74 | 25.92 | 27.7 | 26.62 | 25.64 | 34.26 | 46.78 | 32.85 | 17.24 | 17.58 | 20.2 | 17.82 | 16.6 | 20.05 | 22 | 25.82
475 | 94.3 | 122.3 | 90.46 | 106.8 | 124.8 | 81.01 | 116.7 | 1095 | 1933 | 195.6 | 79.11 | 91.07 | 127.9 | 70.84 | 81.83 | 115.8 | 88.33 | 84.32 | 64.93 | 77.57 | 48.96 | 65.8 | 65.07 | 58.13 | 53.16 | 40.71 | 56.98 | 44.4 | 43.23 | 49.01 | 46.16 | 35.24 | 39.81 | 45.38 | 37.36 | 34.88 | 31.41 | 26.57 | 28.97 | 21.89 | 23.48 | 37.95 | 42.57 | 24.49 | 17.96 | 15.04 | 15.95 | 15.32 | 15.99 | 20.7 | 17.14
480 | 109.9 | 93.35 | 108 | 117.2 | 107.5 | 73.1 | 110.5 | 276.2 | 2054 | 860.6 | 78.42 | 128.1 | 85.27 | 89.49 | 89.79 | 71.72 | 92.94 | 96.39 | 84.12 | 62.23 | 63.1 | 42.33 | 52.92 | 43.42 | 46.71 | 53.39 | 45.27 | 45.53 | 40.6 | 44.43 | 34.85 | 46.53 | 42.67 | 36.18 | 38.31 | 31.22 | 24.03 | 27.65 | 23.43 | 18.93 | 21.57 | 18.62 | 40.92 | 35.13 | 21.54 | 17.38 | 15.8 | 15.8 | 14.65 | 16.27 | 14.51
485 | 96.2 | 109.7 | 85.02 | 114.4 | 87.26 | 132.2 | 116.5 | 101.9 | 1740 | 2370 | 179.8 | 125.7 | 84.05 | 64.94 | 70.8 | 81.43 | 76.85 | 81.36 | 87.14 | 69.94 | 47.87 | 61.34 | 53.5 | 48.06 | 49.06 | 45.58 | 47.23 | 46.38 | 40.6 | 38.25 | 41.01 | 32.48 | 36.93 | 29.64 | 33.54 | 28.4 | 24.48 | 25.5 | 22.15 | 20.89 | 18.32 | 15.92 | 27.94 | 39.65 | 28.11 | 18.96 | 13.44 | 14.48 | 16.28 | 13.04 | 15.14
490 | 74.06 | 120.6 | 140.4 | 90.61 | 101.9 | 106.1 | 104.7 | 94.35 | 384.2 | 2852 | 798.6 | 73.5 | 81.69 | 93.24 | 78 | 78.97 | 72.66 | 77.74 | 85.26 | 57.51 | 55.47 | 50.66 | 44.91 | 47.08 | 40.91 | 34.9 | 46.11 | 46.67 | 41.49 | 42.26 | 37.32 | 36.99 | 33.52 | 32.71 | 28.64 | 25.66 | 29.43 | 19.94 | 23.98 | 19.31 | 19.22 | 20.83 | 18.86 | 25.63 | 34.25 | 18.54 | 15.53 | 14.3 | 13.25 | 15.8 | 14.52
495 | 62.18 | 129.8 | 78.26 | 100.3 | 83.34 | 85.18 | 85.21 | 120.2 | 88.11 | 2079 | 2276 | 150.5 | 76.27 | 83.56 | 70.89 | 89.43 | 77 | 96.15 | 95.32 | 57.47 | 63.86 | 51.89 | 56.86 | 47.79 | 38.86 | 45.98 | 42.32 | 36.94 | 36.92 | 41.97 | 33.27 | 35.52 | 27.62 | 33.38 | 31.08 | 29.5 | 30 | 19.28 | 22.22 | 18.64 | 15.52 | 16.98 | 15.34 | 16.59 | 28.69 | 33.54 | 19.23 | 15.2 | 17.55 | 15.7 | 13.61
500 | 105.6 | 95.85 | 99.45 | 97.75 | 103.3 | 90.9 | 125.1 | 82.59 | 176.5 | 563.2 | 3108 | 593 | 69.59 | 53.77 | 64.72 | 90.81 | 80.49 | 81.2 | 85.91 | 51.33 | 52.8 | 53.68 | 53.74 | 45.85 | 46.39 | 56.45 | 40.22 | 35.87 | 35.12 | 53.18 | 28.52 | 34.8 | 36.42 | 29.31 | 35.27 | 27.81 | 24.16 | 20.3 | 17.78 | 20.34 | 17.16 | 18.46 | 17.16 | 15.57 | 21.43 | 34.98 | 22.6 | 18.55 | 16.3 | 13.85 | 12.48