## Sheet1
Report date: | 13:47:13, 04/09/2024
Sample: | 1
File name:
Run date: | 13:44:16, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/295.0 | 22.71
2 | 205.0/340.0 | 50.72
3 | 205.0/355.0 | 27.87
4 | 205.0/380.0 | 31.52
5 | 205.0/450.0 | 15.93
6 | 205.0/485.0 | 20.19
7 | 210.0/280.0 | 27.45
8 | 210.0/315.0 | 36.94
9 | 210.0/330.0 | 21.15
10 | 210.0/370.0 | 44.65
11 | 210.0/385.0 | 52.71
12 | 210.0/395.0 | 38.11
13 | 210.0/455.0 | 26.94
14 | 210.0/495.0 | 17.87
15 | 215.0/260.0 | 25.36
16 | 215.0/270.0 | 40.04
17 | 215.0/290.0 | 43.35
18 | 215.0/305.0 | 37.82
19 | 215.0/340.0 | 42.49
20 | 215.0/360.0 | 32.28
21 | 215.0/400.0 | 32.64
22 | 215.0/460.0 | 54.48
23 | 220.0/255.0 | 25.82
24 | 220.0/275.0 | 25.61
25 | 220.0/310.0 | 36.43
26 | 220.0/335.0 | 48.42
27 | 220.0/480.0 | 28.92
28 | 220.0/490.0 | 35.1
29 | 225.0/290.0 | 22.23
30 | 225.0/305.0 | 48.68
31 | 225.0/320.0 | 38.41
32 | 225.0/340.0 | 46.33
33 | 225.0/350.0 | 48.88
34 | 225.0/365.0 | 26.36
35 | 225.0/375.0 | 37.41
36 | 225.0/390.0 | 28.49
37 | 225.0/485.0 | 31.55
38 | 230.0/280.0 | 32.75
39 | 230.0/300.0 | 74.93
40 | 230.0/335.0 | 54.04
41 | 230.0/360.0 | 28.07
42 | 230.0/380.0 | 41.53
43 | 230.0/395.0 | 35.87
44 | 230.0/405.0 | 36.82
45 | 235.0/255.0 | 68.47
46 | 235.0/315.0 | 32.95
47 | 235.0/325.0 | 42.27
48 | 235.0/365.0 | 32.91
49 | 235.0/435.0 | 54.69
50 | 240.0/260.0 | 93.49
51 | 240.0/305.0 | 34.19
52 | 240.0/355.0 | 38.67
53 | 240.0/370.0 | 37.68
54 | 240.0/385.0 | 28.76
55 | 240.0/415.0 | 48.41
56 | 240.0/430.0 | 42.55
57 | 245.0/265.0 | 95.54
58 | 245.0/290.0 | 31.63
59 | 245.0/350.0 | 40.16
60 | 245.0/405.0 | 42.69
61 | 245.0/420.0 | 48.55
62 | 250.0/315.0 | 27.92
63 | 250.0/325.0 | 40.75
64 | 250.0/355.0 | 47.72
65 | 250.0/380.0 | 37.86
66 | 250.0/395.0 | 35.42
67 | 250.0/455.0 | 26.4
68 | 255.0/280.0 | 166.4
69 | 255.0/310.0 | 35.21
70 | 255.0/340.0 | 54.61
71 | 255.0/425.0 | 33.56
72 | 255.0/440.0 | 34.27
73 | 255.0/465.0 | 16.69
74 | 260.0/285.0 | 186.9
75 | 260.0/405.0 | 48.48
76 | 260.0/420.0 | 39.81
77 | 265.0/390.0 | 46.34
78 | 265.0/440.0 | 32.5
79 | 265.0/455.0 | 64.7
80 | 265.0/470.0 | 31.01
81 | 265.0/480.0 | 22.29
82 | 270.0/300.0 | 240.5
83 | 270.0/350.0 | 102.8
84 | 270.0/405.0 | 38.53
85 | 270.0/435.0 | 37.78
86 | 270.0/475.0 | 23.17
87 | 270.0/485.0 | 27.37
88 | 275.0/305.0 | 373.6
89 | 275.0/395.0 | 51.62
90 | 275.0/415.0 | 52.87
91 | 275.0/425.0 | 52.58
92 | 275.0/440.0 | 35.5
93 | 275.0/455.0 | 38.31
94 | 275.0/480.0 | 32.81
95 | 280.0/310.0 | 374.4
96 | 280.0/335.0 | 113.2
97 | 280.0/355.0 | 126.7
98 | 280.0/365.0 | 90.14
99 | 280.0/385.0 | 66.58
100 | 280.0/420.0 | 48.16
101 | 280.0/450.0 | 31.32
102 | 285.0/315.0 | 361.6
103 | 285.0/340.0 | 124.2
104 | 285.0/375.0 | 74.28
105 | 285.0/465.0 | 29.63
106 | 285.0/490.0 | 20.18
107 | 290.0/255.0 | 18.2
108 | 290.0/325.0 | 366.1
109 | 290.0/370.0 | 69.38
110 | 290.0/380.0 | 64.32
111 | 290.0/410.0 | 56.08
112 | 290.0/425.0 | 33.55
113 | 290.0/445.0 | 29.59
114 | 290.0/455.0 | 27.05
115 | 290.0/475.0 | 17
116 | 295.0/330.0 | 330.1
117 | 295.0/400.0 | 48.65
118 | 295.0/460.0 | 22.8
119 | 295.0/480.0 | 15.15
120 | 300.0/255.0 | 9.508
121 | 300.0/335.0 | 330.1
122 | 300.0/450.0 | 21.31
123 | 300.0/485.0 | 24.92
124 | 305.0/265.0 | 7.838
125 | 305.0/280.0 | 16.37
126 | 305.0/340.0 | 282.5
127 | 305.0/385.0 | 34.04
128 | 305.0/395.0 | 35.23
129 | 305.0/420.0 | 36.89
130 | 305.0/440.0 | 35.81
131 | 305.0/465.0 | 24.37
132 | 310.0/345.0 | 234
133 | 310.0/390.0 | 36.45
134 | 310.0/425.0 | 32.33
135 | 310.0/435.0 | 24.04
136 | 315.0/260.0 | 4.719
137 | 315.0/355.0 | 264.4
138 | 315.0/405.0 | 33.08
139 | 315.0/445.0 | 26.92
140 | 315.0/480.0 | 17.09
141 | 320.0/360.0 | 253.8
142 | 320.0/410.0 | 33.48
143 | 320.0/425.0 | 29.96
144 | 320.0/450.0 | 24.84
145 | 320.0/465.0 | 25.66
146 | 320.0/490.0 | 15.81
147 | 325.0/260.0 | 5.967
148 | 325.0/290.0 | 5.941
149 | 325.0/365.0 | 218.4
150 | 325.0/390.0 | 32.61
151 | 325.0/400.0 | 34.77
152 | 330.0/375.0 | 176.8
153 | 330.0/420.0 | 31.04
154 | 330.0/445.0 | 25.16
155 | 335.0/255.0 | 3.662
156 | 335.0/280.0 | 8.384
157 | 335.0/290.0 | 4.626
158 | 335.0/305.0 | 7.514
159 | 335.0/380.0 | 171.4
160 | 335.0/410.0 | 31.54
161 | 335.0/435.0 | 25.84
162 | 335.0/455.0 | 19.03
163 | 335.0/470.0 | 16.67
164 | 340.0/260.0 | 4.985
165 | 340.0/385.0 | 166.1
166 | 345.0/300.0 | 6.692
167 | 345.0/315.0 | 5.825
168 | 345.0/370.0 | 19.19
169 | 345.0/390.0 | 161.9
170 | 345.0/445.0 | 24.43
171 | 345.0/475.0 | 17.3
172 | 350.0/260.0 | 6.395
173 | 350.0/275.0 | 4.816
174 | 350.0/310.0 | 6.652
175 | 350.0/400.0 | 134.3
176 | 350.0/435.0 | 27.98
177 | 350.0/455.0 | 24.99
178 | 355.0/325.0 | 6.632
179 | 355.0/405.0 | 130.4
180 | 355.0/485.0 | 13.46
181 | 360.0/260.0 | 5.381
182 | 360.0/285.0 | 3.544
183 | 360.0/410.0 | 121.8
184 | 360.0/440.0 | 23
185 | 360.0/480.0 | 14.71
186 | 365.0/275.0 | 3.552
187 | 365.0/300.0 | 4.005
188 | 365.0/415.0 | 103.1
189 | 365.0/460.0 | 19.37
190 | 365.0/490.0 | 16.03
191 | 370.0/255.0 | 3.02
192 | 370.0/330.0 | 4.723
193 | 370.0/425.0 | 97.59
194 | 370.0/450.0 | 20.92
195 | 375.0/320.0 | 4.872
196 | 375.0/340.0 | 4.046
197 | 375.0/430.0 | 98.22
198 | 380.0/435.0 | 78.3
199 | 380.0/495.0 | 10.77
200 | 385.0/260.0 | 3.318
201 | 385.0/270.0 | 4.975
202 | 385.0/305.0 | 3.393
203 | 385.0/445.0 | 63.44
204 | 385.0/485.0 | 10.98
205 | 390.0/315.0 | 3.01
206 | 390.0/450.0 | 56.8
207 | 395.0/330.0 | 3.184
208 | 395.0/455.0 | 43.47
209 | 400.0/285.0 | 2.265
210 | 400.0/355.0 | 2.945
211 | 400.0/465.0 | 40.92
212 | 405.0/280.0 | 2.845
213 | 405.0/345.0 | 4.41
214 | 405.0/470.0 | 35.8
215 | 410.0/350.0 | 2.223
216 | 410.0/475.0 | 32.79
217 | 415.0/285.0 | 2.672
218 | 415.0/485.0 | 27.47
219 | 420.0/310.0 | 2.651
220 | 420.0/490.0 | 23.43
221 | 425.0/355.0 | 3.071
222 | 430.0/270.0 | 2.202
223 | 435.0/285.0 | 2.128
224 | 445.0/320.0 | 2.175
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 6.9 | 6.696 | 26.18 | 4.385 | 19.68 | 45.44 | 52.59 | 39.32 | 30 | 2035 | 5789 | 1985 | 24.07 | 6.076 | 19.98 | 9.832 | 18.82 | 5 | 7.209 | 4.875 | 5.638 | 9.261 | 4.172 | 1.587 | 4.075 | 2.719 | 5.435 | 2.849 | 1.771 | 2.391 | 3.679 | 2.295 | 2.682 | 1.872 | 1.438 | 2.78 | 2.695 | 1.047 | 1.402 | 2.409 | 0.602 | 1.143 | 1.075 | 1.355 | 1.689 | 1.424 | 1.68 | 1.045 | 1.192 | 1.4 | 0.707
255 | 3.769 | 20.28 | 5.185 | 19.7 | 25.82 | 2.652 | 60.32 | 68.47 | 34.28 | 149 | 2031 | 6723 | 3234 | 90.82 | 11.52 | 15.82 | 6.879 | 2.386 | 18.2 | 6.197 | 9.508 | 8.584 | 0.868 | 4.642 | 1.856 | 3.61 | 1.121 | 3.662 | 2.384 | 3.026 | 3.726 | 2.398 | 0.723 | 2.178 | 3.02 | 2.493 | 2.429 | 2.946 | 2.888 | 2.297 | 1.02 | 2.302 | 1.638 | 1.765 | 1.515 | 1.834 | 0.902 | 1.285 | 1.626 | 1.308 | 0.399
260 | 19.21 | 17.69 | 19.45 | 25.36 | 15.88 | 41.15 | 25.91 | 29.07 | 93.49 | 59.35 | 168.2 | 2344 | 7449 | 3416 | 112.2 | 25.69 | 11.15 | 6.569 | 5.55 | 11.73 | 8.748 | 4.529 | 2.35 | 4.719 | 2.81 | 5.967 | 5.513 | 1.594 | 4.985 | 2.667 | 6.395 | 4.069 | 5.381 | 2.935 | 2.27 | 3.131 | 2.016 | 3.318 | 1.435 | 1.661 | 1.706 | 2.215 | 1.378 | 1.163 | 1.397 | 1.785 | 1.245 | 0.971 | 1.113 | 1.145 | 1.015
265 | 27.04 | 13.49 | 18.22 | 2.328 | 7.029 | 26.79 | 7.531 | 31.5 | 51.72 | 95.54 | 21.8 | 171.4 | 2765 | 9079 | 3984 | 109 | 18.42 | 11.62 | 16.37 | 11.88 | 4.367 | 7.838 | 2.038 | 2.686 | 2.039 | 2.688 | 4.057 | 3.892 | 4.091 | 2.261 | 2.45 | 3.089 | 3.982 | 1.805 | 2.339 | 2.346 | 1.989 | 2.052 | 1.723 | 1.177 | 2.03 | 1.326 | 1.377 | 1.095 | 1.686 | 1.454 | 0.999 | 1.911 | 1.514 | 1.132 | 1.099
270 | 12.61 | 19.92 | 12.3 | 40.04 | 19.56 | 15.04 | 31.79 | 34.47 | 35.8 | 90.17 | 104.4 | 41.89 | 199.1 | 3121 | 9999.9 | 4474 | 133.8 | 15.97 | 12.9 | 12.36 | 2.927 | 5.13 | 1.777 | 2.721 | 5.769 | 0.6 | 2.679 | 2.08 | 1.599 | 2.965 | 2.975 | 2.373 | 0.997 | 2.724 | 2.609 | 3.188 | 2.362 | 4.975 | 2.297 | 1.19 | 1.45 | 1.83 | 1.748 | 1.651 | 1.243 | 1.566 | 2.202 | 0.736 | 1.905 | 1.146 | 0.891
275 | 7.35 | 2.449 | 17.67 | 10.11 | 25.61 | 16.74 | 19.7 | 30.42 | 19.38 | 32.1 | 120.2 | 126.6 | 39.94 | 230.4 | 3796 | 9999.9 | 5030 | 109.9 | 20.78 | 6.262 | 4.238 | 2.751 | 8.685 | 3.967 | 4.992 | 6.684 | 3.669 | 6.71 | 4.204 | 2.35 | 4.816 | 1.783 | 2.557 | 3.552 | 1.981 | 2.294 | 0.839 | 2.754 | 2.204 | 1.535 | 1.693 | 2.075 | 0.733 | 1.109 | 1.456 | 0.944 | 1.193 | 0.977 | 2.042 | 1.657 | 1.273
280 | 16.73 | 9.719 | 27.45 | 11 | 20.65 | 5.885 | 32.75 | 13.7 | 4.629 | 35.92 | 27.51 | 166.4 | 76.71 | 38.18 | 275 | 4258 | 9999.9 | 4923 | 131.4 | 8.888 | 12.02 | 16.37 | 15.09 | 7.249 | 7.071 | 7.188 | 1.027 | 8.384 | 2.951 | 2.501 | 2.258 | 2.509 | 3.244 | 0.984 | 2.8 | 2.148 | 2.404 | 2.003 | 2.161 | 2.588 | 1.719 | 2.845 | 1 | 1.707 | 1.136 | 1.411 | 1.948 | 1.628 | 1.55 | 1.944 | 1.14
285 | 15.74 | 13.64 | 21.43 | 5.511 | 5.213 | 8.295 | 14.45 | 10.18 | -1.627 | 14.02 | 22.75 | 71.19 | 186.9 | 97.9 | 42.96 | 304.7 | 4893 | 9999.9 | 5329 | 141.2 | 9.863 | 5.866 | 10.29 | 9.785 | 7.181 | 3.677 | 3.378 | 3.227 | 3.755 | 4.382 | 1.828 | 2.749 | 3.544 | 2.467 | 2.548 | 2.254 | 1.043 | 1.212 | 1.689 | 0.89 | 2.265 | 1.233 | 1.75 | 2.672 | 0.52 | 1.814 | 1.778 | 2.128 | 0.717 | 0.964 | 1.241
290 | 38.36 | 19.64 | 27.15 | 43.35 | 14.31 | 22.23 | 14.8 | 8.837 | 11.59 | 31.63 | 16.48 | 22.8 | 149.6 | 158.5 | 74.08 | 62.43 | 356.7 | 6508 | 9999.9 | 5331 | 118.4 | 10.91 | 5.917 | 5.408 | 4.138 | 5.941 | 1.246 | 4.626 | 1.604 | 4.563 | 1.785 | 1.086 | 1.939 | 2.35 | 1.881 | 2.712 | 1.964 | 1.525 | 1.424 | 1.26 | 1.908 | 1.504 | 2.171 | 1.347 | 1.188 | 1.104 | 0.837 | 1.63 | 1.344 | 1.368 | 1.24
295 | 16.57 | 22.71 | 18.59 | 12.55 | 0.591 | 16.2 | 30.84 | 26.6 | 32.68 | 13.94 | 19.62 | 23.99 | 57.71 | 174.5 | 210.4 | 86.18 | 72.87 | 459.7 | 5567 | 9999.9 | 5199 | 124.1 | 8.961 | 10.24 | 7.258 | 5.685 | 1.139 | 3.058 | 3.58 | 4.739 | 2.611 | 2.167 | 0.935 | 2.69 | 0.949 | 2.706 | 0.603 | 1.089 | 2.21 | 1.165 | 1.699 | 0.852 | 1.827 | 1.129 | 0.717 | 1.436 | 1.331 | 1.605 | 1.195 | 1.521 | 0.922
300 | 20.72 | 1.293 | 10.45 | 19.35 | 16.54 | 26.78 | 74.93 | 13.7 | 28.51 | 26.71 | 20.38 | 27.93 | 24.2 | 41.87 | 240.5 | 200.5 | 78.56 | 87 | 375.9 | 5470 | 9999.9 | 5064 | 117.9 | 5.657 | 11.2 | 4.581 | 2.985 | 4.678 | 4.414 | 6.692 | 3.38 | 4.031 | 1.794 | 4.005 | 1.05 | 2.889 | 2.7 | 2.908 | 1.362 | 2.237 | 1.248 | 2.606 | 1.464 | 1.465 | 1.686 | 1.362 | 1.658 | 2.024 | 0.844 | 1.003 | 1.581
305 | 21.47 | 15.22 | 16.64 | 37.82 | 14.9 | 48.68 | 12.82 | 9.498 | 34.19 | 20.63 | 24.92 | 23.57 | 51.52 | 56.87 | 129.5 | 373.6 | 195.2 | 56.89 | 60.5 | 368.5 | 5441 | 9999.9 | 4896 | 79.58 | 10.01 | 8.592 | 4.268 | 7.514 | 3.085 | 3.606 | 2.224 | 2.526 | 3.082 | 1.475 | 1.072 | 3.474 | 1.298 | 3.393 | 1.157 | 1.594 | 1.679 | 2.068 | 1.211 | 1.539 | 2.314 | 1.08 | 2.078 | 1.995 | 1.522 | 1.125 | 1.335
310 | 15.73 | 14.31 | 12.49 | 18.67 | 36.43 | 14.22 | 5.782 | 16 | 8.622 | 19.28 | 16.81 | 35.21 | 35.18 | 33.59 | 57.37 | 149.1 | 374.4 | 134.2 | 47.48 | 65.39 | 371.6 | 5308 | 9999.9 | 4736 | 88.6 | 8.357 | 4.682 | 4.9 | 1.972 | 2.064 | 6.652 | 1.162 | 3.058 | 3.193 | 2.267 | 3.596 | 1.823 | 2.116 | 1.584 | 2.018 | 2.123 | 2.685 | 1.472 | 2.467 | 2.651 | 0.755 | 1.835 | 2.037 | 2.466 | 1.363 | 1.518
315 | 20.73 | 10.56 | 36.94 | 1.864 | 19.93 | 8.553 | 19.84 | 32.95 | 29.28 | 14.01 | 27.92 | 14.63 | 39.59 | 60.32 | 67.04 | 88.81 | 242.2 | 361.6 | 107.2 | 28 | 47.89 | 362.9 | 4888 | 9999.9 | 4317 | 80.46 | 7.02 | 6.66 | 4.525 | 5.825 | 4.519 | 2.506 | 2.15 | 2.907 | 1.529 | 3.164 | 1.425 | 2.125 | 3.01 | 1.76 | 1.619 | 1.832 | 1.917 | 0.575 | 1.285 | 1.086 | 1.428 | 0.732 | 1.326 | 1.207 | 1.709
320 | 10.2 | 4.696 | 16.01 | 26.64 | 33.47 | 38.41 | 21.54 | 20.96 | 16.04 | 17.36 | 17.66 | 22.33 | 43.9 | 65.23 | 70.72 | 82.89 | 116.4 | 292.5 | 301.6 | 66.27 | 24.2 | 40.8 | 329.3 | 4827 | 9999.9 | 4164 | 80.95 | 5.973 | 6.294 | 4.8 | 4.94 | 2.917 | 1.558 | 2.418 | 4.321 | 4.872 | 1.854 | 2.588 | 1.894 | 0.894 | 2.19 | 1.766 | 1.397 | 1.443 | 1.152 | 0.741 | 1.686 | 1.255 | 1.885 | 2.175 | 0.877
325 | 25.53 | 17.13 | 3.744 | 15.03 | 11.81 | 23.93 | 8.731 | 42.27 | 14.8 | 16.2 | 40.75 | 25.26 | 42.43 | 72.85 | 66.92 | 94.46 | 90.32 | 96.37 | 366.1 | 207.8 | 34.32 | 22.43 | 36.83 | 323.7 | 4220 | 9999.9 | 3932 | 72.46 | 7.135 | 6.103 | 2.745 | 6.632 | 0.932 | 2.672 | 3.108 | 1.986 | 1.827 | 1.649 | 1.617 | 1.115 | 1.277 | 2.073 | 1.726 | 0.601 | 1.115 | 2.058 | 1.836 | 0.48 | 1.092 | 1.61 | 0.847
330 | 14.95 | 19.24 | 21.15 | 10.52 | 44.95 | 21.56 | 24.56 | 29.79 | 28.42 | 15.66 | 36.23 | 39.3 | 34.38 | 50.75 | 61.77 | 93.1 | 97.24 | 89.62 | 113.8 | 330.1 | 148.9 | 31.8 | 21.5 | 39.53 | 286.6 | 4071 | 9999.9 | 3733 | 60.94 | 7.345 | 4.8 | 4.986 | 2.242 | 3.521 | 4.723 | 1.764 | 1.356 | 1.454 | 2.275 | 3.184 | 1.609 | 1.743 | 1.216 | 0.84 | 1.325 | 2.021 | 1.674 | 1.338 | 1.643 | 1.4 | 0.975
335 | 6.671 | 18.19 | 14.85 | 19.98 | 48.42 | 31.01 | 54.04 | 25.97 | 18.3 | 39.5 | 40.49 | 36.8 | 35.14 | 70.69 | 58.4 | 91.45 | 113.2 | 92.52 | 104.9 | 129.4 | 330.1 | 78.03 | 27.97 | 25.1 | 38.87 | 278.2 | 3892 | 9999.9 | 3476 | 63.44 | 6.808 | 5.085 | 4.299 | 4.377 | 2.5 | 2.458 | 3.259 | 1.166 | 1.426 | 1.236 | 2.298 | 2.257 | 1.392 | 1.34 | 1.266 | 1.79 | 1.431 | 1.811 | 1.203 | 1.113 | 0.976
340 | 26.57 | 50.72 | 15.61 | 42.49 | 18.54 | 46.33 | 27.41 | 23.97 | 5.202 | 40.59 | 40.9 | 54.61 | 43.4 | 63.54 | 69.88 | 105.9 | 103.6 | 124.2 | 80.11 | 34.54 | 181 | 282.5 | 70.85 | 27.97 | 26.35 | 37.49 | 262.5 | 3685 | 9999.9 | 3380 | 58.39 | 5.795 | 5.39 | 2.74 | 3.395 | 4.046 | 2.302 | 2.84 | 1.407 | 1.268 | 2.047 | 2.011 | 1.23 | 1.587 | 0.778 | 1.388 | 1.617 | 1.613 | 1.162 | 1.069 | 1.672
345 | 18.37 | 7.541 | 18.26 | 21.83 | 42.02 | 42.48 | 38.88 | 13.83 | 16.37 | 32.17 | 34.49 | 39.6 | 41.93 | 40.23 | 82.62 | 89.2 | 88.75 | 106.2 | 69.59 | 43.79 | 49.11 | 195.1 | 234 | 46.7 | 22.78 | 21.58 | 37.53 | 249 | 3388 | 9999.9 | 3357 | 56.21 | 7.011 | 5.962 | 3.117 | 3.231 | 2.605 | 1.887 | 2.541 | 1.707 | 2.905 | 4.41 | 1.446 | 1.726 | 1.104 | 1.523 | 1.672 | 0.913 | 2.501 | 1.161 | 1.807
350 | 19.36 | 16.67 | 21.54 | 16.23 | 41.96 | 48.88 | 14.48 | 23.93 | 21 | 40.16 | 13.9 | 23.23 | 55.46 | 72.67 | 102.8 | 87.49 | 111.9 | 98.08 | 68.27 | 49.13 | 31.29 | 51.77 | 205.2 | 171.3 | 28.48 | 19.14 | 17.78 | 26.65 | 229.8 | 3735 | 9999.9 | 2758 | 46.58 | 6.406 | 3.349 | 3.004 | 3.839 | 2.812 | 2.701 | 2.144 | 2.269 | 0.911 | 2.223 | 1.184 | 1.178 | 2.034 | 0.998 | 0.781 | 1.412 | 1.785 | 1.423
355 | 10.76 | 27.87 | 14.76 | 14.71 | 16.1 | 22 | 27.74 | 18.06 | 38.67 | 29.15 | 47.72 | 29.12 | 48.55 | 55.05 | 68.71 | 110.6 | 126.7 | 92.02 | 76.96 | 50.85 | 42.38 | 33.39 | 59.94 | 264.4 | 121.9 | 26.17 | 15.19 | 16.71 | 25.55 | 252 | 4309 | 9453 | 2842 | 40.37 | 4.413 | 3.934 | 2.6 | 3.731 | 3.332 | 1.608 | 2.945 | 0.449 | 1.655 | 1.783 | 1.614 | 3.071 | 1.909 | 1.034 | 0.973 | 1.35 | 1.214
360 | 21.92 | 17.03 | 29.73 | 32.28 | 15.64 | 13.68 | 28.07 | 21.32 | 21.72 | 23.2 | 36.12 | 38.57 | 38.09 | 62 | 82.68 | 87.59 | 74.64 | 92.98 | 67.49 | 72.95 | 29.85 | 22.64 | 23.45 | 87.1 | 253.8 | 79.54 | 19.69 | 14.15 | 12.9 | 29.75 | 292 | 3100 | 9741 | 2480 | 38.58 | 3.253 | 2.575 | 4.262 | 3.119 | 1.982 | 1.437 | 1.292 | 1.445 | 1.185 | 1.648 | 1.308 | 1.638 | 1.622 | 1.799 | 1.989 | 1.899
365 | 28.28 | 26.84 | 38.82 | 1.301 | 21.89 | 26.36 | 17.17 | 32.91 | 23.37 | 15.86 | 24.29 | 27.5 | 28.75 | 66.05 | 68.79 | 69.14 | 90.14 | 82.65 | 68.24 | 36.27 | 18.51 | 19.3 | 24.2 | 26.58 | 126.7 | 218.4 | 66.17 | 16.68 | 14.56 | 13.86 | 31.44 | 213.2 | 3363 | 9295 | 2344 | 30.48 | 4.511 | 3.563 | 1.707 | 2.134 | 1.625 | 1.899 | 1.728 | 1.422 | 0.998 | 1.6 | 0.914 | 1.632 | 1.725 | 1.901 | 1.348
370 | 21.41 | 15.88 | 44.65 | 3.183 | 11.11 | 16.93 | 33.18 | 29.81 | 37.68 | 8.887 | 21.68 | 28.76 | 37.39 | 51.38 | 60.44 | 61.32 | 73.18 | 58.81 | 69.38 | 37.53 | 24.22 | 23.86 | 24.04 | 24.34 | 34.84 | 152.2 | 148 | 35.63 | 11.5 | 19.19 | 13.32 | 24.17 | 225.8 | 3258 | 8283 | 2115 | 29.11 | 5.951 | 4.278 | 3.392 | 1.842 | 1.908 | 1.18 | 2.181 | 1.375 | 2.199 | 0.965 | 1.516 | 1.741 | 0.617 | 1.15
375 | 18.33 | 25.29 | 23.93 | 13 | 25.25 | 37.41 | 14.07 | 21.55 | 31.84 | 26.26 | 25.5 | 42.05 | 52.36 | 58.92 | 66.62 | 66.75 | 73.18 | 74.28 | 55.15 | 47.29 | 36.59 | 25.79 | 30.51 | 18.29 | 27.9 | 47.99 | 176.8 | 140.9 | 25.08 | 13.1 | 11.61 | 15.2 | 23.98 | 216.9 | 3067 | 8181 | 1920 | 26.32 | 3.458 | 3.039 | 2.549 | 1.868 | 1.663 | 1.456 | 1.803 | 1.316 | 1.863 | 1.453 | 1.977 | 1.694 | 1.313
380 | 17.76 | 31.52 | 22.08 | 11.07 | 16.71 | 16.11 | 41.53 | 20.95 | 9.306 | 20.12 | 37.86 | 33.08 | 41.83 | 59.72 | 62.42 | 53.24 | 51 | 51.7 | 64.32 | 31.34 | 37.61 | 28.13 | 27.97 | 24.88 | 24.96 | 29.61 | 55.51 | 171.4 | 104.5 | 24.37 | 15.99 | 13.91 | 16.88 | 24.12 | 203.7 | 2899 | 7542 | 1893 | 23.33 | 4.265 | 3.641 | 3.211 | 1.603 | 2.775 | 1.274 | 1.233 | 1.295 | 2.023 | 1.673 | 0.792 | 1.478
385 | 36.39 | 24.65 | 52.71 | 28.23 | -0.537 | 26.69 | 22.47 | 22.52 | 28.76 | 26.99 | 18.72 | 32.13 | 37.29 | 36.17 | 63.14 | 62.35 | 66.58 | 59.17 | 58.89 | 45.8 | 25.22 | 34.04 | 29.84 | 27.39 | 27.45 | 28.84 | 30.57 | 85.97 | 166.1 | 70.04 | 19.13 | 15.9 | 12.32 | 13.81 | 21.12 | 201.4 | 2677 | 6792 | 1579 | 18.15 | 3.632 | 2.456 | 1.575 | 3.133 | 1.637 | 1.356 | 1.892 | 0.624 | 1.332 | 0.606 | 1.55
390 | 3.84 | 22.16 | 14.13 | 10.4 | 15.76 | 28.49 | 19.75 | 17.69 | 21.41 | 11.15 | 26.35 | 28.44 | 34.83 | 46.34 | 32.17 | 34.82 | 43.11 | 42.76 | 56.8 | 41.63 | 27.83 | 29.71 | 36.45 | 29.37 | 31.59 | 32.61 | 28.03 | 33.04 | 95 | 161.9 | 44.68 | 15.88 | 18.29 | 15.01 | 10.62 | 23.78 | 184.1 | 2466 | 5930 | 1244 | 15.96 | 4.298 | 2.567 | 2.142 | 1.625 | 1.647 | 1.856 | 2.015 | 1.33 | 1.051 | 1.449
395 | 73.1 | 12.55 | 38.11 | 17.54 | 16.31 | 26.09 | 35.87 | 20.58 | 19.84 | 22.4 | 35.42 | 28.31 | 30.76 | 42.48 | 24.65 | 51.62 | 50.56 | 49.38 | 42.65 | 35.76 | 26.94 | 35.23 | 32.47 | 28.03 | 29.76 | 27.93 | 21.7 | 18.35 | 31.75 | 111.6 | 133.4 | 30.92 | 13.82 | 14.64 | 14.98 | 16 | 21.88 | 168.6 | 2179 | 5502 | 1353 | 15.07 | 3.284 | 3.007 | 1.818 | 1.417 | 1.635 | 1.64 | 0.913 | 1.388 | 1.143
400 | 91.66 | 53.59 | 24.37 | 32.64 | 22.69 | 18.71 | 9.822 | 6.961 | 9.342 | 21.86 | 22.59 | 13.9 | 16.96 | 41.81 | 18.98 | 41.92 | 46.22 | 39.73 | 28.46 | 48.65 | 33.11 | 27.71 | 23.73 | 23.58 | 32.04 | 34.77 | 30.6 | 27.43 | 29.67 | 40.3 | 134.3 | 86.7 | 21.66 | 18.24 | 11.64 | 13.13 | 12.37 | 19.29 | 145.7 | 1934 | 4942 | 1156 | 13.52 | 3.173 | 2.241 | 2.784 | 1.467 | 2.028 | 1.877 | 0.73 | 1.273
405 | 31.89 | 172.1 | 13.89 | 10.24 | 12.89 | 24.17 | 36.82 | 19.06 | 19.8 | 42.69 | 31.77 | 18.78 | 48.48 | 29.65 | 38.53 | 33.72 | 33.64 | 36.93 | 30.99 | 32.86 | 20.87 | 25.81 | 29.15 | 33.08 | 23.06 | 27.7 | 22.56 | 23.29 | 23.8 | 27.38 | 55.29 | 130.4 | 66.62 | 17.12 | 14.46 | 11.77 | 9.495 | 10.07 | 17.53 | 131.7 | 1646 | 4272 | 1122 | 15.56 | 1.79 | 1.904 | 2.263 | 1.642 | 1.167 | 2.662 | 1.021
410 | 15.11 | 257 | 48.19 | 4.099 | 18.05 | 20.78 | 26.61 | 16.01 | 26.12 | 14.35 | 20.28 | 28.88 | 32.72 | 32.57 | 23.25 | 39.33 | 37.88 | 39.38 | 56.08 | 40.6 | 26.27 | 26.99 | 22.59 | 23.25 | 33.48 | 30.7 | 21.28 | 31.54 | 27.02 | 23.49 | 25.8 | 68.46 | 121.8 | 47.92 | 14.24 | 13.29 | 10.83 | 9.248 | 7.577 | 14.66 | 108.7 | 1645 | 4190 | 977 | 13.66 | 3.412 | 1.854 | 1.637 | 1.258 | 1.633 | 2.284
415 | 12.14 | 88.78 | 191.8 | 16.39 | 5.65 | 13.36 | 20.75 | 29.13 | 48.41 | 42.32 | 14.98 | 24.62 | 25.34 | 22.64 | 33.32 | 52.87 | 28.46 | 29.19 | 34.41 | 24.58 | 29.28 | 31.18 | 25.98 | 26.86 | 29.68 | 23.56 | 22.26 | 24.55 | 28.27 | 27.09 | 29.71 | 24.73 | 82.69 | 103.1 | 30.62 | 15.77 | 13.86 | 8.756 | 8.62 | 7.617 | 11.6 | 109.5 | 1555 | 3780 | 870.8 | 10.22 | 2.108 | 1.946 | 2.689 | 1.081 | 1.387
420 | 3.028 | 17.06 | 256.3 | 111.2 | 8.535 | 12.16 | 21.45 | 13.6 | 20.51 | 48.55 | 14.43 | 8.187 | 39.81 | 33.85 | 19.83 | 26.03 | 48.16 | 26.46 | 19.7 | 24.86 | 28.61 | 36.89 | 27.46 | 23.11 | 21.46 | 25.77 | 31.04 | 22.68 | 17.44 | 18.4 | 24.6 | 22.22 | 34.72 | 99.38 | 87.39 | 22.32 | 11.33 | 9.261 | 6.661 | 8.16 | 5.792 | 12.44 | 105.4 | 1397 | 3472 | 785.7 | 11.19 | 1.841 | 2.154 | 1.86 | 1.304
425 | 18.41 | 11.24 | 212.5 | 317.3 | 42.56 | 25.45 | 13.52 | 6.475 | 5.606 | 26.77 | 13.53 | 33.56 | 18.76 | 25.15 | 20.65 | 52.58 | 24.38 | 28.27 | 33.55 | 16.87 | 24.06 | 22.3 | 32.33 | 18.72 | 29.96 | 24.87 | 29.8 | 24.48 | 24.4 | 23.19 | 23.6 | 21.37 | 27.34 | 52.31 | 97.59 | 57.7 | 17.86 | 13.73 | 7.367 | 5.68 | 5.653 | 4.993 | 9.627 | 96.25 | 1274 | 3249 | 751 | 9.105 | 2.603 | 2.067 | 1.166
430 | 29.31 | 10.74 | 77.16 | 435.8 | 165.9 | 12.77 | 29.36 | 22.11 | 42.55 | 24.67 | 9.6 | 21.85 | 18.08 | 19.17 | 27.21 | 32.49 | 32.26 | 20.97 | 30.44 | 23.61 | 26.79 | 16.42 | 18.3 | 15.31 | 28.82 | 22.18 | 28.89 | 21.74 | 20.73 | 21.16 | 24.73 | 21.32 | 28.23 | 23.1 | 54.16 | 98.22 | 36.9 | 9.623 | 7.82 | 8.441 | 4.984 | 5.021 | 4.111 | 10.94 | 85.22 | 1169 | 3041 | 688.2 | 7.922 | 1.811 | 1.694
435 | 13.21 | 15.27 | 33.98 | 290.1 | 519.1 | 42.29 | 40.48 | 54.69 | 16.05 | 20.89 | 20.16 | 21.42 | 15.63 | 28.88 | 37.78 | 31.49 | 29.39 | 24.73 | 30.75 | 17.14 | 21.38 | 18.03 | 24.04 | 19.8 | 28.68 | 23.07 | 19.86 | 25.84 | 21.58 | 21.56 | 27.98 | 18.19 | 20.51 | 28.45 | 22.5 | 62.77 | 78.3 | 26.74 | 8.991 | 5.04 | 5.344 | 5.473 | 5.834 | 5.11 | 10.82 | 79.8 | 1218 | 2877 | 644.2 | 6.402 | 3.148
440 | -2.769 | 36.21 | 5.207 | 52.63 | 833.8 | 266.7 | 20.19 | 39.55 | 8.701 | 20.36 | 21.16 | 34.27 | 13.89 | 32.5 | 22.82 | 35.5 | 27.1 | 23.01 | 22.76 | 16.53 | 27.44 | 35.81 | 18.02 | 22.09 | 23.48 | 18.54 | 20.11 | 16.33 | 15.08 | 23.19 | 27.87 | 17.21 | 23 | 19.39 | 21.35 | 23.34 | 64.04 | 58.25 | 15.19 | 10.74 | 5.594 | 5.021 | 5.479 | 3.889 | 3.303 | 9.057 | 82.04 | 1185 | 2752 | 601.4 | 7.477
445 | 16.24 | 3.315 | 15.24 | 19.8 | 543.9 | 781.6 | 57.74 | 6.336 | 28.45 | 15.37 | 20.17 | 22.67 | 11.41 | 31.8 | 23.94 | 25.54 | 24.02 | 29.17 | 29.59 | 22.58 | 15.27 | 30.1 | 18.71 | 26.92 | 20.2 | 19.46 | 25.16 | 20.43 | 20.71 | 24.43 | 21.27 | 13.21 | 20.84 | 21.34 | 17.64 | 17.56 | 32.49 | 63.44 | 39.04 | 11.84 | 5.192 | 5.824 | 5.56 | 4.761 | 3.755 | 4.473 | 9.812 | 79.44 | 1055 | 2533 | 509.2
450 | 15.84 | 15.93 | 2.835 | 10.4 | 72.68 | 1267 | 434.6 | 6.335 | 34.12 | 0.692 | 21.89 | 16.94 | 13.21 | 21.18 | 24.44 | 23.4 | 31.32 | 18.88 | 21.89 | 18.88 | 21.31 | 20.89 | 17.73 | 17.91 | 24.84 | 21.2 | 20.71 | 16.5 | 15.74 | 23.73 | 19.59 | 15.56 | 20.53 | 15.87 | 20.92 | 13.76 | 16.05 | 34.86 | 56.8 | 27.42 | 7.851 | 6.057 | 4.676 | 5.412 | 4.515 | 3.175 | 4.665 | 8.357 | 71.26 | 1003 | 2370
455 | 10.28 | 1.206 | 26.94 | 21.73 | 13.97 | 899.4 | 1206 | 33.03 | -0.338 | 21.86 | 26.4 | 7.606 | 21.16 | 64.7 | 10.64 | 38.31 | 25.37 | 16.45 | 27.05 | 20.54 | 17.4 | 15.22 | 9.996 | 13.78 | 17.59 | 17.68 | 12.44 | 19.03 | 17.1 | 14.17 | 24.99 | 17.07 | 19.57 | 16.76 | 20.54 | 17.14 | 11 | 12.35 | 37.05 | 43.47 | 15.08 | 5.471 | 5.662 | 6.09 | 4.015 | 4.489 | 4.363 | 3.227 | 8.634 | 67.45 | 901
460 | 16.07 | 9.769 | 25.84 | 54.48 | 18.22 | 144.6 | 1817 | 462.1 | 29.16 | 40.25 | 10.03 | 11.14 | 8.803 | 17.77 | 22.63 | 25.15 | 15.16 | 26.69 | 8.738 | 22.8 | 11.61 | 19.29 | 12.14 | 16.72 | 23.3 | 18.51 | 17.42 | 13.9 | 16.49 | 16.48 | 21.22 | 15.71 | 16.77 | 19.37 | 18.3 | 12.74 | 13.22 | 9.228 | 14.6 | 39.49 | 36.02 | 9.198 | 3.48 | 4.22 | 3.665 | 4.135 | 3.834 | 3.442 | 3.942 | 7.314 | 62.07
465 | 11.7 | 4.034 | 10.76 | 22.08 | 3.111 | 33.12 | 1441 | 1698 | 49.94 | 21.19 | 10.39 | 16.69 | 10.05 | 9.881 | 6.05 | 14.15 | 26.28 | 29.63 | 11.31 | 20.83 | 16.11 | 24.37 | 8.108 | 15.96 | 25.66 | 11.43 | 9.922 | 16.11 | 15.36 | 17.2 | 18.64 | 16.52 | 18.03 | 16.32 | 15.91 | 11.95 | 10.2 | 11.09 | 11.66 | 19.05 | 40.92 | 27.92 | 7.49 | 3.25 | 4.202 | 3.889 | 3.433 | 2.401 | 3.382 | 3.135 | 6.98
470 | 5.575 | 10.97 | 17.14 | 9.556 | 25.41 | 54.24 | 227.7 | 2907 | 588.4 | 13.33 | 18.02 | 10.21 | 24.12 | 31.01 | 14.47 | 10.01 | 26.14 | 20.13 | 7.859 | 13.93 | 9.238 | 15.89 | 5.183 | 16.56 | 14.9 | 11.52 | 13.4 | 16.67 | 13.05 | 15.67 | 19.23 | 10.67 | 13.92 | 13.64 | 11.89 | 11.76 | 9.344 | 7.197 | 8.994 | 9.603 | 19.29 | 35.8 | 19.43 | 4.313 | 3.08 | 3.181 | 2.941 | 3.502 | 3.172 | 2.86 | 3.2
475 | -2.088 | 18.75 | -0.098 | 16.63 | 21.96 | 20.52 | 14.55 | 1793 | 2312 | 70.35 | 14.42 | 16.04 | 4.924 | 17.8 | 23.17 | 13.89 | 25.52 | 11.1 | 17 | 7.716 | 14.68 | 8.805 | 13.1 | 12.1 | 16.52 | 9.137 | 12.46 | 12.89 | 10.99 | 17.3 | 16.61 | 13.22 | 13.61 | 11.94 | 13.2 | 12.59 | 8.177 | 7.892 | 5.771 | 7.805 | 10.64 | 21.25 | 32.79 | 11.64 | 4.923 | 3.167 | 2.482 | 1.939 | 3.152 | 2.678 | 2.582
480 | 7.521 | 3.193 | -1.251 | 6.559 | 28.92 | 24.42 | 30.45 | 315.4 | 3411 | 640.2 | 41.5 | 16.67 | 13.74 | 22.29 | 16.35 | 32.81 | 28.94 | 13.18 | 10.95 | 15.15 | 14.47 | 10.7 | 6.934 | 17.09 | 11.03 | 7.716 | 12.59 | 13.25 | 9.51 | 17.26 | 9.881 | 11.54 | 14.71 | 12.93 | 13.81 | 11.21 | 10.48 | 6.997 | 7.277 | 6.562 | 5.05 | 11.59 | 28.37 | 24.09 | 7.587 | 3.202 | 4.562 | 4.195 | 3.853 | 2.564 | 2.241
485 | 6.735 | 20.19 | -4.582 | 13.62 | 16.07 | 31.55 | 12.03 | 34.9 | 2770 | 2397 | 61.71 | 20.6 | 5.434 | 17.53 | 27.37 | 6.171 | 9.494 | 16.32 | 13.69 | 11.95 | 24.92 | 13.31 | 12.3 | 13.84 | 15.27 | 10.27 | 13.16 | 7.004 | 13.19 | 14.89 | 12.07 | 13.46 | 10.72 | 11.27 | 12.68 | 8.187 | 10.32 | 10.98 | 8.793 | 7.351 | 5.764 | 7.282 | 12.68 | 27.47 | 21.43 | 4.037 | 4.338 | 3.976 | 2.985 | 2.953 | 1.365
490 | 5.481 | -1.379 | 15.91 | 12.19 | 35.1 | 7.789 | 17.75 | 9.58 | 398.8 | 4628 | 646.5 | 16.02 | 14.99 | 13.88 | 10.84 | 18.49 | 16.25 | 20.18 | 16.12 | 17.32 | 8.321 | 10.43 | 8.09 | 9.757 | 15.81 | 7.153 | 12.85 | 6.626 | 11.75 | 12.87 | 12.86 | 11.31 | 11.54 | 16.03 | 10.51 | 8.976 | 9.864 | 7.383 | 5.438 | 7.157 | 4.157 | 5.926 | 6.317 | 12.5 | 23.43 | 11.38 | 3.757 | 3.28 | 2.259 | 2.877 | 1.71
495 | 25.12 | 6.771 | 17.87 | 16.2 | 13.16 | 10.37 | 23.48 | 8.64 | 59.96 | 3397 | 2681 | 78.39 | 19.46 | 15.64 | 12.18 | 16.11 | 21.99 | 19.44 | 8.181 | 4.902 | 8.492 | 7.05 | 6.574 | 8.642 | 12.58 | 8.954 | 9.928 | 9.478 | 8.816 | 9.906 | 7.75 | 9.053 | 8.322 | 11.92 | 8.642 | 8.257 | 10.77 | 8.166 | 7.884 | 6.861 | 5.658 | 6.094 | 5.161 | 5.998 | 18.44 | 16.85 | 9.075 | 3.495 | 2.793 | 2.272 | 1.523
500 | 10.32 | 13.28 | 7.576 | 10.88 | 11.35 | 12.24 | 30.51 | 17.53 | 14.01 | 874.5 | 4497 | 318.7 | 12.18 | 14.07 | 12.35 | 21.42 | 24.5 | 12.7 | 18.98 | 6.577 | 3.516 | 9.066 | 8.567 | 11.46 | 10.34 | 7.709 | 7.782 | 7.084 | 10.77 | 11.46 | 8.928 | 8.516 | 8.403 | 10 | 8.424 | 10.14 | 6.422 | 8.013 | 5.681 | 7.095 | 5.868 | 4.467 | 3.712 | 3.755 | 11 | 21.19 | 13.11 | 3.594 | 2.312 | 2.088 | 2.572